## CAMBODIA
ASEAN Rubber Testing Laboratories (Rubber Vulcanizates)
CAMBODIA
To be updated

## INDONESIA
ASEAN Rubber Testing Laboratories (Rubber)
No. | Laboratories | Address/ | Website/Email/ | Owner |  | Rubber-Based Products (please specify) | Testing Items | Method |  | Accredited to ISO/IEC 17025
|  | Telephone/Fax | Contact Person | Government | Private |  |  | International Standard | Others
INDONESIA
1 | UPTD Balai Pengujian dan Sertifikasi Mutu Barang Provinsi Sumatera Barat (BPSMB) | JL. Belibis, Air Tawar Selatan, Air Tawar Bar., Kec. Padang Utara, Kota Padang, Sumatera Barat 25131 Tel: (0751) 7054202 | bpmb.padang@yahoo.co.id | P |  | Rubber (SIR) | impurity content |  | SNI 8383:2017 | P
[7 empty] | ash content |  | SNI ISO 247: 2012 | P
[7 empty] | levels of substance evaporates |  | SNI 8356: 2017 | P
[7 empty] | nitrogen |  | SNI ISO 1656: 2016 | P
[7 empty] | plasticity retention index (PRI) |  | SNI ISO 2007 2016, ISO 2007:2007 | P
2 | Balai Pengujian dan Sertifikasi Mutu Barang Provinsi Kalimantan Selatan | L. Pangeran Batur, Banjarbaru, Martapura, South Kalimantan, Loktabat Utara, Banjarbaru Utara, Banjarbaru City, South Kalimantan 70714 Tel: (0511) 4772237 | bpsmprovkalsel@gmail.com | P |  | Conventional rubber | visual test |  | SNI 06-0001-1987 | P
[6 empty] | Rubber (SIR) | plasticity retention index (PRI) |  | IK UJI/01 (plastimeter) | P
[7 empty] | levels of substance yawning |  | IK UJI/01 (oven) | P
[7 empty] | abu kadar |  | IK UJI/01 (muffle furnace) | P
[7 empty] | nitrogen levels |  | IK UJI/01 (destilasi) | P
[7 empty] | levels of impurities |  | IK UJI/01 (penyaringan) | P
3 | Balai Pengujian Mutu Barang | Jalan Raya Bogor No.km No. 26, RT.2/RW.8, Ciracas, Kec. Ciracas, Kota Jakarta Timur, Daerah Khusus Ibukota Jakarta 13740 Tel: (021) 87721002, (021) 8703881 | spjp_bpmb@yahoo.co.id oka_22@yahoo.com noviempi@yahoo.com pelayanan@bpmb.go.id | P |  | Standard Indonesian Rubber | Dirt |  | SNI 06-1903-2000 | P
[7 empty] | Ash |  | SNI 06-1903-2000 | P
[7 empty] | Volatile |  | SNI 06-1903-2000 | P
[7 empty] | Plasticity |  | SNI 06-1903-2000 | P
[7 empty] | Plasticity retention index (PRI) |  | SNI 06-1903-2000 | P
[7 empty] | nitrogen |  | SNI 06-1903-2000 | P
[7 empty] | accelerated storage hardening test (ASHT) |  | SNI 06-1903-2000 | P
[7 empty] | Mooney viscosity |  | SNI 06-1903-2000 | P
[7 empty] | gel content |  | SNI 06-1903-2000 | P
[7 empty] | visual test |  | SNI 06-1903-2000 | P
[7 empty] | curing |  | SNI 06-1903-2000 | P
[7 empty] | plastic thickness |  | SNI 06-1903-2000 | P
[7 empty] | melting point |  | SNI 06-1903-2000 | P
[7 empty] | relative density |  | SNI 06-1903-2000 | P
[6 empty] | Conventional rubber (RSS 1/ RSS2/ RSS3/RSS4/ TPC/ TBC) | visual test |  | SNI 06-001-1987 section 1 | P
[7 empty] | mould |  | SNI 06-001-1987 section 1 | P
[7 empty] | dry |  | SNI 06-001-1987 section 1 and 5 | P
[7 empty] | clean |  | SNI 06-001-1987 section 1 | P
[7 empty] | strong |  | SNI 06-001-1987 section 1 | P
[7 empty] | colour |  | SNI 06-001-1987 section 1 | P
[7 empty] | no defect |  | SNI 06-001-1987 section 1 | P
[7 empty] | oxidized spot of streaks |  | SNI 06-001-1987 section 1 | P
[7 empty] | weak |  | SNI 06-001-1987 section 1 | P
[7 empty] | rubber high heating |  | SNI 06-001-1987 section 2 | P
[7 empty] | under cured |  | SNI 06-001-1987 section 1 | P
[7 empty] | opaque |  | SNI 06-001-1987 section 1 | P
[7 empty] | burn |  | SNI 06-001-1987 section 1 | P
[7 empty] | specs |  | SNI 06-001-1987 section 1 | P
[7 empty] | rust |  | SNI 06-001-1987 section 1 | P
[7 empty] | sand |  | SNI 06-001-1987 section 1 | P
[7 empty] | blister |  | SNI 06-001-1987 section 1 | P
[7 empty] | bacparticles |  | SNI 06-001-1987 section 1 | P
[7 empty] | serbuk dari kulit pohon |  | SNI 06-001-1987 section 1 | P
[7 empty] | other foreign matter |  | SNI 06-001-1987 section 1 | P
[7 empty] | other foreign bubble |  | SNI 06-001-1987 section 1 | P
4 | Pusat Penelitian Karet Bogor | Jl. Salak No.1, Babakan, Kecamatan Bogor Tengah, Kota Bogor, Jawa Barat 16151 Tel: (0251) 8319817 | lapkaret@bptkbgr.com http://www.puslitkaret.co.id/ |  | P | Natural latex | total alkalinity | ASTM D 1076-15 | SNI ISO 125-2014 | P
[7 empty] | KOH number | ASTM D 1076-15 |  | P
[7 empty] | determination of pH |  |  | P
[7 empty] | volatile fatty acid (VFA) | ASTM D 1076-15 |  | P
[7 empty] | total solid content | ASTM D 1076-15 | SNI ISO 124-2014 | P
[7 empty] | dry rubber content | ASTM D 1076-15 |  | P
[7 empty] | coagulum content | ASTM D 1076-15 | SNI ISO 706-2012 | P
[7 empty] | sludge content | ASTM D 1076-15 |  | P
[7 empty] | mechanical stability time | ASTM D 1076-15 |  | P
[7 empty] | density | ASTM D 1076-15 |  | P
[6 empty] | SIR / raw rubber / rubber technical specifications | SIR/ rubber/ engineering rubber |  | SNI 06-1903-2000, SNI 1903 2000 | P
[7 empty] | Dirt content |  | SNI 06 1903 2000 clause 8.2, SNI ISO 249 2015 | P
[7 empty] | ash content | ISO 247:2006 | SNI 06 1903 2000 clause 8.3, SNI ISO 247 2012 | P
[7 empty] | volatile matter content | ISO 248-1 2011 | SNI 06 1903 2000 clause 8.4, SNI 248-1: 2013 | P
[7 empty] | Plasticity retention index (PRI) |  | SNI 06 1903 2000 clause 8.5, SNI ISO 2930 2013 | P
[7 empty] | colour | ISO 4660:2011 | SNI 06 1903 2000 clause 8.6, SNI ISO 4660 - 2013 | P
[7 empty] | accelerated storage hardening test (ASHT) |  | SNI 06 1903 2000 clause 8.7, SNI ISO 2007 2007 | P
[7 empty] | nitrogen |  | SNI 06 1903 2000 clause 8.8, SNI ISO 1656 2016 | P
5 | UPT Pengujian dan Sertifikasi Mutu Barang Provinsi Riau | Jl. Dr. Sutomo No.108, Suka Mulia, Kec. Sail, Kota Pekanbaru, Riau 28156 Tel: (0761) 22173 | lapkaret@bptkbgr.com http://www.puslitkaret.co.id/ |  |  | Rubber (SIR) | impurity content |  | SNI 06-1903-2000 butir 8.2 | P
[7 empty] | ash content |  | SNI 06-1903-2000 butir 8.3 | P
[7 empty] | Levels of substance evaporates |  | SNI 06-1903-2000 butir 8.4 | P
[7 empty] | Plasticity Retention Index (PRI) |  | SNI 06-1903-2000 butir 8.5 | P
[7 empty] | Color (visual) |  | SNI 06-1903-2000 butir 8.6 | P
[7 empty] | Accelerated Storage Hardening Test (Asht) |  | SNI 06-1903-2000 butir 8.7 | P
[7 empty] | nitrogen |  | SNI 06-1903-2000 butir 8.8 | P
[7 empty] | Mooney viscosity |  | SNI 06-1903-2000 butir 8.9 | P
[7 empty] | Thickness |  | SNI 06-1903-2000 butir 8.10.4 | P
[7 empty] | Melting point |  | SNI 06-1903-2000 butir 8.10.5 | P
6 | UPT Pengujian dan Sertifikasi Mutu Barang - Lembaga Tembakau Surabaya | Jl. Gayung Kebonsari Dalam No.12A Surabaya 60235 Tel: (031) 8280762 | labujibpsmb@yahoo.co.id isprobpsmbet@gmail.com |  |  | Conventional rubber | Skin blemishes or particle |  | SNI 06-0001-1987 VI.01 | P
[7 empty] | rubber lesions |  | SNI 06-0001-1987 VI.02 | P
[7 empty] | Defect |  | SNI 06-0001-1987 VI.03 | P
[7 empty] | Blisters |  | SNI 06-0001-1987 VI.04 | P
[7 empty] | Bubbles |  | SNI 06-0001-1987 VI.05 | P
[7 empty] | sheet scorched |  | SNI 06-0001-1987 VI.06 | P
[7 empty] | Clean |  | SNI 06-0001-1987 VI.07 | P
[7 empty] | Contamination by substances copper and manganese |  | SNI 06-0001-1987 VI.08 | P
[7 empty] | Packaging gross |  | SNI 06-0001-1987 VI.09 | P
[7 empty] | Discoloration |  | SNI 06-0001-1987 VI.10 | P
[7 empty] | Dry rubber |  | SNI 06-0001-1987 VI.11 | P
[7 empty] | sturdy rubber |  | SNI 06-0001-1987 VI.12 | P
[7 empty] | Ingredients / Foreign objects |  | SNI 06-0001-1987 VI.13 | P
[7 empty] | sheet bubbly |  | SNI 06-0001-1987 VI.14 | P
[7 empty] | High rubber heating |  | SNI 06-0001-1987 VI.15 | P
[7 empty] | rubber stripes |  | SNI 06-0001-1987 VI.16 | P
[7 empty] | Sheet cloudy translucent |  | SNI 06-0001-1987 VI.17 | P
[7 empty] | Rubber Smoked excessive |  | SNI 06-0001-1987 VI.18 | P
[7 empty] | The oxidized rubber |  | SNI 06-0001-1987 VI.19 | P
[7 empty] | The materials are as resin |  | SNI 06-0001-1987 VI.20 | P
[7 empty] | (Kekarat-rusty) |  |  | P
[7 empty] | Sand |  | SNI 06-0001-1987 VI.21 | P
[7 empty] | Skim latex |  | SNI 06-0001-1987 VI.22 | P
[7 empty] | Skimmings |  | SNI 06-0001-1987 VI.23 | P
[7 empty] | Mud |  | SNI 06-0001-1987 VI.24 | P
[7 empty] | Rubber good |  | SNI 06-0001-1987 VI.25 | P
[7 empty] | Sour smell and stench |  | SNI 06-0001-1987 VI.26 | P
[7 empty] | Sticky rubber |  | SNI 06-0001-1987 VI.27 | P
[6 empty] | Conventional rubber (advanced) | sturdy rubber |  | SNI 06-0001-1987 VI.28 | P
[7 empty] | The type and quality level |  | SNI 06-0001-1987 VI.29 | P
[7 empty] | Rubber underdone |  | SNI 06-0001-1987 VI.30 | P
[7 empty] | Raw rubber |  | SNI 06-0001-1987 VI.31 | P
[7 empty] | soft rubber |  | SNI 06-0001-1987 VI.32 | P
7 | UPTD Balai Pengawasan dan Sertifikasi Mutu Barang Provinsi Lampung | Jalan Cut Meutia No.36, Gulak Galik, Kec. Tlk. Betung Utara, Kota Bandar Lampung, Lampung 35124 Tel: (0721) 480410 | bpsmb_lampung@yahoo.com |  |  | Indonesia Standard Ruber (SIR) | levels of Impurities |  | SNI 06-1903-2000 Butir 8.2 | P
[7 empty] | Abu Kadar |  | SNI 06-1903-2000 Butir 8.3 | P
[7 empty] | Levels of substance evaporates |  | SNI 06-1903-2000 Butir 8.4 | P
[7 empty] | Plasticity Retention Index Pa, Po and PRI |  | SNI 06-1903-2000 Butir 8.5 | P
[7 empty] | Nitrogen levels |  | SNI 06-1903-2000 Butir 8.9 | P
[6 empty] | Conventional rubber (RSS) | Determining the Quality RSS |  | SNI 06-0001-1988 | P
8 | UPTD Balai Pengawasan dan Sertifikasi Mutu Barang Provinsi Sumatera Selatan | Jl. Demang Lebar Daun No.2610, Bukit Baru, Kec. Ilir Bar. I, Kota Palembang, Sumatera Selatan 30139 Tel: (0711) 441646 | disperindag@sumbarprov.go.id |  |  | Standard Indonesian Rubber (SIR) | Levels of Dirt (Dirt) |  | SNI 06-1903-2000 butir 8.2 | P
[7 empty] | Levels Abu (Ash) |  | SNI 06-1903-2000 butir 8.3 | P
[7 empty] | Yawning Substance Content (Volatile Matter) |  | SNI 06-1903-2000 butir 8.4 | P
[7 empty] | Plasticity after pengusangan (Po) |  | SNI 06-1903-2000 butir 8.5 | P
[7 empty] | PRI (Plasticity Retention Index) |  | SNI 06-1903-2000 butir 8.5 | P
[7 empty] | Nitrogen levels |  | SNI 06-1903-2000 butir 8.8 | P
[6 empty] | Conventional rubber | Mold, Dry, Clean, Strong, Color, blemishes, Oxidized Spots or Streaks |  | SNI 06-0001-1987 | P
[7 empty] | Oxidized Spots or Streaks, Weak, Heated, |  |  | P
[7 empty] | Undercured, Opaque, Burnt, Specks, Rust, |  |  | P
[7 empty] | Blister, Sand, Dirty Packing, Small Bubbles, |  |  | P
[7 empty] | Other Foreign Matter. |  |  | P
9 | Laboratorium Besar Perbenihan dan Proteksi Tanaman Perkebunan (BBP2TP) Medan | Jalan Asrama 124 Helvetia, Sei Sikambing B, Kec. Medan Helvetia, Kota Medan, Sumatera Utara 20123 Tel: (061) 8458008 | http://balaimedan.ditjenbun.pertanian.go.id/ bbpptp.medan@pertanian.go.id |  |  | Rubber seed | Water content |  | IK-B 5.4.1-3 (oven) | P
[7 empty] | Freshness |  | IK-B 5.4.1-6 (visual) | P
10 | PT Melakim Inti Perkasa | Jl. Prof. Dr. Latumeten B No.30, Jelambar, Kec. Grogol petamburan, Kota Jakarta Barat, Daerah Khusus Ibukota Jakarta 11460 Tel: (021) 56982110 | http://www.melakim.co.id/ marketing@melakim.co.id |  |  | Rubber SIR | homogenization Example | ISO 1795-2013 | SNI 06-1903-2000 butir 8.1: ISO 1795-2013 | P
[7 empty] | Levels of Dirt (dirt content) | ISO 249-2013 | SNI 06-1903-2000 butir 8.2: ISO 249-2013 | P
[7 empty] | Abu levels (ash content) | ISO 247-2012 | SNI 06-1903-2000 butir 8.3: ISO 247-2012 | P
[7 empty] | Levels of Substance Yawning (volatile matter content) | ISO 248.1-2013 | SNI 06-1903-2000 butir 8.4: ISO 248.1-2013 | P
[7 empty] | PRI value (plasticity retention index) | ISO 2930-2013 | SNI 06-1903-2000 butir 8.5: ISO 2930-2013 | P
[7 empty] | Levels of nitrogen (nitrogen content) | ISO 1656-2013 | SNI 06-1903-2000 butir 8.8: ISO 1656-2013 | P
11 | UPTD Balai Pembinaan dan Pengawasan Mutu Barang | Jl. Mangga V, Lingkar Timur, Bengkulu 38229 Tel: (0736) 20189 | bppmbbengkulu@gmail.com |  |  | SIR | impurity content |  | SNI 06-1903-2000 | P
[7 empty] | ash content |  |  | P
[7 empty] | Levels of substance evaporates |  |  | P
[7 empty] | PRI |  |  | P
[7 empty] | nitrogen |  |  | P
[6 empty] | Conventional rubber | mushrooms, dry, clean kekear, color, not disabled, oxidizedsport or Streak - freckles due to oxidation, mushy, heated, less mature, opaque frosted, charred, stains, rust, blisters, sand, bark particles, particles of bark, speak of brark, powdered bark of the tree, translucent, stain, free of materials - other materials, dirty packing, wrapping dirty, other foreign objects foreigh bub |  | SNI 06-0001-1987 | P

## LAO PDR
ASEAN Rubber Testing Laboratories (Rubber)
LAO PDR
To be updated

## MALAYSIA
ASEAN Rubber Testing Laboratories (Rubber)
NO. | ORGANIZATION / LABORATORY | Address/ Telephone/Fax | Website/Email/ Contact Person | OWNERSHIP |  | SCOPE OF TESTING | MATERIALS / PRODUCT TESTED | TYPE OF TEST / PROPERTIES MEASURED / RANGE OF MEASUREMENT | STANDARD TEST METHODS / EQUIPMENT / TECHNIQUES | SCOPE DETAIL (LINK)
|  |  |  | GOVERNMENT | PRIVATE
MALASIA (MS ISO/IEC 17025: 2017 - RUBBER TESTING ACCREDITED LABORATORIES IN MALAYSIA)
1 | GLOBAL TESTING AND CONSULTANCY FOR RUBBER (G-TACR) SAMM 008 | LEMBAGA GETAH MALAYSIA JALAN SUNGAI BULOH, SEKSYEN U4, 47000 SUNGAI BULOH, SELANGOR MALAYSIA Tel: 03-6145 9471 Fax: 03-6141 2907 | Contact: Dr Kartini Abdol Rahim Email: kartini@lgm.gov.my Website:- www.lgm.gov.my/gtacr | Y |  | Chemical | Rubber Processing and Palm Oil Mill Effluent | Ammoniacal Nitrogen | DOE, (M)(REF) (2011) | http://www.jsm.gov.my/documents/11396/300433/SAMM0008
[8 empty] | Biochemical Oxygen Demand (BOD3) | DOE, (M)(ALT) (2011)
[8 empty] | Chemical Oxygen Demand (COD) | DOE, (M)(REF) (2011)
[8 empty] | pH | APHA 4500-H+ B (2005)
[8 empty] | Suspended Solids | DOE, (M)(ALT) (2011)
[8 empty] | Total Nitrogen | DOE, (M)(REF) (2011)
[8 empty] | Total Solids | APHA 2540 B (2005)
[8 empty] | Total Dissolved Solids | APHA 2540 C (2005)
[8 empty] | Volatile Solids | APHA 2540 E (2005)
[8 empty] | Volatile Suspended Solids | APHA 2540 D & 2540 E (2005)
| GLOBAL TESTING AND CONSULTANCY FOR RUBBER (G-TACR) LEMBAGA GETAH MALAYSIA 260 JALAN AMPANG 50450 KUALA LUMPUR MALAYSIA SAMM 008 | LEMBAGA GETAH MALAYSIA 260 JALAN AMPANG 50450 KUALA LUMPUR MALAYSIA Tel: 03-6145 9471 Fax: 03-6141 2907 | Contact: Dr Kartini Abdol Rahim Email: kartini@lgm.gov.my Website:- www.lgm.gov.my/gtacr |  |  | Chemical | Latex (Field Latex) | Dry Rubber Content (DRC) | MS 466: 1987 Sec. 4 RRIM In house Method (Ref. No. UPB/L/001)
[8 empty] | Total Solid Content (TSC) | MS 466: 1987 Sec. 3 RRIM In house Method (Ref. No. UPB/L/002)
[8 empty] | Alkalinity | MS 466: 1987 Sec. 5 RRIM In house Method (Ref. No. UPB/L/003)
[8 empty] | Volatile Fatty Acid number (VFA No.) | MS 466: 1987 Sec. 6 RRIM In house Method (Ref. No. UPB/L/006)
[7 empty] | Latex (Concentrate Latex) | Dry Rubber Content (DRC) | ASTM D1076-15 (2020): Sec.9 ISO 126: 2020 MS 281: 2009 Part 3 RRIM In house Method (Ref. No. UPB/L/001)
[8 empty] | Total Solid Content (TSC) | ASTM D1076-15 (2020): Sec.8 ISO 124: 2008 ISO 124: 2014 Clause 6.2: Natural and Synthetic Rubber Latex MS 281: Part 2: 1998 RRIM In house Method (Ref. No. UPB/L/002)
[8 empty] | Alkalinity | ASTM D1076-15 (2020): Sec 11 ISO 125: 2020 MS 281: 1999 Part 4 RRIM In house Method (Ref. No. UPB/L/003)
[8 empty] | Mechanical Stability Time | ASTM D1076-15 (2020): Sec 17 ISO 35: 2004 MS 281: Part 5: 2010 RRIM In house Method (Ref. No. UPB/L/005)
[8 empty] | pH | ASTM D1076-15 (2020): Sec 16 ISO 976: 2013 MS 281:2012 Part 16 RRIM In house Method (Ref. No. UPB/L/004A)
[8 empty] | Potassium Hydroxide Number (KOH No.) | ASTM D1076-15 (2020): Sec 15 ISO 127: 2018 MS 281: 2011 Part 11 RRIM In house Method (Ref. No. UPB/L/004B)
[8 empty] | Volatile Fatty Acid Number (VFA No.) | ASTM D1076-15 (2020): Sec 32-36 ISO 506: 2020 MS 281: 1999 Part 10 RRIM In house Method (Ref. No. UPB/L/006)
[8 empty] | Boric Acid | ASTM D1076-15 (2020): Sec 37 ISO 1802: 1992 MS 281:2001 Part 12 RRIM In house Method (Ref. No. UPB/L/008)
[8 empty] | Coagulum Content | ASTM D1076-15 (2020): Sec 14 ISO 706: 2004 MS 281: 1998 Part 6 RRIM In house Method (Ref. No. UPB/L/007)
[8 empty] | Sludge Content | ASTM D1076-15 (2020): Sec 13 ISO 2005: 2014 MS 1541: 2002 RRIM In house Method (Ref. No. UPB/L/009)
[8 empty] | Viscosity of latex | ASTM D1076-15 (2020): Sec 12 RRIM In House Method (Ref. No. UPB/L/015)
[8 empty] | Determination of Zinc Stability Time (ZST) | RRIM In house Method (Ref. No. UPB/L/016)
[8 empty] | Determination of Zinc Oxide Viscosity (ZOV) | RRIM In house Method (Ref. No. UPB/L/017)
[8 empty] | Chemical Stability Time | RRIM In House Method (Ref. No. UPB/L/019)
[8 empty] | Determination of Apparent Viscosity by the Brookfield Test Method | ISO 1652:2011
[8 empty] | Zinc Oxide Stability Time | MS 281: part 17: 2007
[8 empty] | Zinc Oxide Viscosity | MS 281: part 18: 2007
[7 empty] | Dry Natural Rubber | Determination of Dry Rubber Content (DRC) | RRIM In house Method (Ref. No. UPB/R/007)
[8 empty] | Rubber, raw natural – Determination of dry rubber content (DRC) | MS 2531: 2013
| GLOBAL TESTING AND CONSULTANCY FOR RUBBER (G-TACR) SAMM 008 | LEMBAGA GETAH MALAYSIA LOT PT 71847, PUSAT BANDAR AMAN JAYA 08000 SUNGAI PETANI KEDAH, MALAYSIA Tel: 03-6145 9471 Fax: 03-6141 2907 | Contact: Dr Kartini Abdol Rahim Email: kartini@lgm.gov.my Website:- www.lgm.gov.my/gtacr |  |  | Chemical | Latex (Field Latex) | Dry Rubber Content (DRC) | MS 466: 1987 Sec. 4 RRIM In house Method (Ref. No. UPB/L/001)
[8 empty] | Total Solid Content (TSC) | MS 466: 1987 Sec. 3 RRIM In house Method (Ref. No. UPB/L/002)
[8 empty] | Alkalinity | MS 466: 1987 Sec. 5 RRIM In house Method (Ref. No. UPB/L/003)
[7 empty] | Latex (Concentrate Latex) | Coagulum Content | ISO 126: 2005
MS 281: 2009 Part 3
RRIM In house Method
(Ref. No. UPB/L/001)
[8 empty] | Total Solid Content (TSC) | ISO 124:2008
Clause 6.2;Natural and synthetic
rubber latex
MS 281:1998 Part 2
RRIM In house Method
(Ref. No. UPB/L/002)
[8 empty] | Alkalinity | ISO 125:2003 (E)
MS 281:1999 Part 4
RRIM In house Method
(Ref. No. UPB/L/003)
[8 empty] | *Mechanical Stability Time | ISO 35: 2004
[8 empty] | pH | ISO 976: 1996 (E)
[8 empty] | Potassium Hydroxide Number (KOH No.) | ISO 127: 1995 (E)
[8 empty] | Volatile Fatty Acid Number (VFA No.) | ISO 506: 1992 (E)
[8 empty] | Sludge Content | ISO 2005: 2014
[8 empty] | Coagulum Content | ISO 706: 2004
[7 empty] | Dry Natural Rubber | Dry Rubber Content (DRC) | MS 2531: 2013 RRIM In House Method (Ref. No. UPB/R/007)
[8 empty] | Determination of DRC of Field Coagula using Near Infrared Spectrometer | RRIM In house Method (Ref. No. LGM/GTACR/R/01)
2 | KOTA TRADING (TAMPIN) CO. SDN. BHD. SMR TESTING LABORATORY SAMM 119 | SMR FACTORY, 5TH MILES JALAN TAMPIN/ SEREMBAN 73009 TAMPIN NEGERI SEMBILAN MALAYSIA Tel: 606-438 1105 Fax: 606-438 1885 | Contact: Lee Teng Chuan Email: kotadr33@gmail.com |  | Y | Chemical | Rubber Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B.4, Revised Edition 1992 | http://www.jsm.gov.my/documents/11396/300433/SAMM0119
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B.5, Revised Edition 1992
[8 empty] | Ash | SMR Bulletin No. 7, B.6, Revised Edition 1992
[8 empty] | Nitrogen | SMR Bulletin No. 7, B.7, Revised Edition 1992
[8 empty] | Acetone Extract | SMR Bulletin No. 7, D.3, Revised Edition 1992
[6 empty] | Mechanical | Rubber Raw, Dry Natural Rubber | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, B.6, Revised Edition 2018
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B.7, Revised Edition 2018
[8 empty] | Wallace Accelerated Storage- Hardening Test (WASHT) | SMR Bulletin No. 7, C.1, Revised Edition 2018
3 | KUALA LUMPUR KEPONG BERHAD (TECHNOLOGY & QUALITY CONTROL CENTRE) 11, SAMM 083 | JALAN TEKNOLOGI 3/6 TAMAN SAINS SELANGOR 1 KOTA DAMANSARA 47810 PETALING JAYA SELANGOR MALAYSIA Tel: 03-61410812 / 0816/ 0817 | Contact: Ms. Chong Lai Shien Email: tqccoff@klk.com.my |  |  | Chemical | Palm Oil Mill & Rubber Factory Effluent | Biochemical Oxygen Demand (BOD) | DOE (M'sia, 1995) (REF) DOE (M'sia, 1995) (ALT) | http://www.jsm.gov.my/documents/11396/300433/SAMM0083
[8 empty] | Chemical Oxygen Demand (COD) | DOE (M'sia, 1995) (ALT) APHA (5220 D, 1995)
[8 empty] | Total Nitrogen (TN) | DOE (M'sia, 1995) (ALT)
[8 empty] | Ammoniacal Nitrogen (AN) | DOE (M'sia, 1995) (REF)
[8 empty] | Suspended Solids (SS) | DOE (M'sia, 1995) (REF) DOE (M'sia, 1995) (ALT)
[8 empty] | Oil and Grease (O&G) | DOE (M'sia, 1995) (REF) (Treated POME) DOE (M'sia, 1995) (REF) (Raw POME)
[8 empty] | pH Value | APHA (4500-H+B, 1995)
[8 empty] | Total Alkalinity (TA) | APHA (2320 B, 1995)
[8 empty] | Total Solids (TS) | APHA (2540 B, 1995)
[8 empty] | Volatile Fatty Acids (VFA) Ratio of VFA / TA | APHA (5560 C, 1995) By Calculation
[7 empty] | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7 (B.2), Revised Edition 2018
[8 empty] | Volatile Matter | SMR Bulletin No. 7 (B.3), Revised Edition 2018
[8 empty] | Ash | SMR Bulletin No. 7 (B.4), Revised Edition 2018
[8 empty] | Nitrogen | SMR Bulletin No. 7 (B.5), Revised Edition 2018
[8 empty] | Rapid Plasticity and Plasticity Retention Index | SMR Bulletin No. 7 (B.6), Revised Edition 2018
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7 (B.7), Revised Edition 2018
[8 empty] | Colour (Lovibond) | SMR Bulletin No. 7 (B 8), Revised Edition 2018
[8 empty] | Wallace Accelerated Storage Hardening Test (W.A.S.H.T.) | SMR Bulletin No. 7 (C.1), Revised Edition 2018
[8 empty] | Mooney Accelerated Storage Hardening Test (M.A.S.H.T.) | SMR Bulletin No. 7 (C.2), Revised Edition 2018
[8 empty] | Rheometric Cure (Oscillating Disc) | SMR Bulletin No. 7 (C.3), Revised Edition 2018
4 | EUROFINS NORTH MALAYA LABORATORY SDN. BHD. SAMM 090 | 67, LEBUH KURAU 5 TAMAN CHAI LENG 13700 PERAI, PULAU PINANG MALAYSIA Tel: 604-390 2085 Fax: 604-390 2086 | Contact: Mr. Kung Beng Teik Email: yeapcm@nmlab.com.my Website:- www.nmlab.com.my |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B4, 1992 | http://www.jsm.gov.my/documents/11396/300433/SAMM0090
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B5, 1992
[8 empty] | Ash | SMR Bulletin No. 7, B6, 1992
[8 empty] | Nitrogen | SMR Bulletin No. 7, B7, 1992
[8 empty] | Rapid Plasticity and Plasticity Retention Index | SMR Bulletin No. 7, B8, 1992
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B9, 1992
[8 empty] | Colour (Lovibond) | SMR Bulletin No. 7, B10, 1992
[8 empty] | Wallace Accelerated Storage Hardening Test | SMR Bulletin No. 7, C1, 1992
[8 empty] | Mooney Accelerated Storage Hardening Test | SMR Bulletin No. 7, C2, 1992
[8 empty] | Rheometric Cure (Oscillating Disc) | SMR Bulletin No. 7, C3, 1992
5 | KDC LABORATORY SAMM 094 | KL-KEPONG (SABAH) SDN BHD LOCKED BAG NO. 3 91009 TAWAU SABAH MALAYSIA Tel: 6089-975 016 Fax: 6089-975 017 | Contact: Mr. Thien Jing Wen Email: kdclab@klk.com.my |  |  | Chemical | Rubber & Palm Oil Mill Effluents | Biochemical Oxygen Demand | DOE (M’sia 2011) (ALT) DOE (M’sia 2011) (REF) | http://www.jsm.gov.my/documents/11396/300433/SAMM0094
[8 empty] | Chemical Oxygen Demand | DOE (M’sia 2011) (ALT)
[8 empty] | Total Nitrogen | DOE (M’sia 2011) (ALT)
[8 empty] | Ammoniacal Nitrogen | DOE (M’sia 2011) (REF)
[8 empty] | Suspended Solids | DOE (M’sia 2011) (ALT) DOE (M’sia 2011) (REF)
[8 empty] | Oil and Grease | DOE (M’sia 2011) (REF)
[8 empty] | pH Value | APHA 4500H+-B (2005)
[8 empty] | Total Alkalinity (TA) | APHA 2320-B (2005)
[8 empty] | Total Solids | APHA 2540-B (2005)
[8 empty] | Volatile Fatty Acids (VFA) VFA/TA | APHA 5560-C (2005) By Calculation (APHA 5560-C (2005) and APHA 2320-B (2005)
6 | JABATAN KIMIA MALAYSIA SAMM 133 | CAWANGAN PULAU PINANG JALAN TULL 10450 PULAU PINANG MALAYSIA Tel: 604-222 8300 Fax: 604-222 8333 | Contact: Mr. Sukhairi Shamsudin Email: sukhairi@kimia.gov.my |  |  | Chemical | Palm Oil & Rubber Effluents and Surface Water | Cyanide | JKM E 007 based on APHA 4500- CN-C. Total Cyanide After Distillation; and APHA 4500-CN-D. Titrimetric Method. APHA 21st Edition 2005. | http://www.jsm.gov.my/documents/11396/300433/SAMM0133
[8 empty] | Oil and Grease | JKM E 0205 based on DOE Revised Standard Methods (1985) For Analysis of Rubber and Palm Oil Mill Effluent, 3rd Edition 2011, Oil and Grease; and APHA 5520 B. Liquid-liquid, Partition-Gavimetric Method. APHA 21st Edition 2005.
[8 empty] | BOD (Reference Method) | DOE Revised Standard Methods (1985) For Analysis of Rubber and Palm Oil Mill Effluent, 3rd Edition 2011.
[8 empty] | COD (Reference Method) | DOE Revised Standard Methods (1985) For Analysis of Rubber and Palm Oil Mill Effluent, 3rd Edition 2011.
[8 empty] | Total Nitrogen (Reference Method) | DOE Revised Standard Methods (1985) For Analysis of Rubber and Palm Oil Mill Effluent, 3rd Edition 2011.
[8 empty] | Ammoniacal Nitrogen (Reference Method) | DOE Revised Standard Methods (1985) For Analysis of Rubber and Palm Oil Mill Effluent, 3rd Edition 2011.
7 | JABATAN KIMIA MALAYSIA SAMM 135 | MAKMAL CAWANGAN BINTULU JALAN TUN RAZAK, P.O. BOX 1346 97008 BINTULU, SARAWAK MALAYSIA Tel: 6082-313011 / 443960 / 443966 Fax: 6082-44 4623 | Contact: Ms. Nancy Lai Siew Joon Email: nancylai@kimia.gov.my |  |  | Chemical | Environmental Rubber & Palm Oil Effluent (Prescribed Premises) | BOD 3 days incubation at 30 oC | Revised Standard Methods (1985) for Analysis of Rubber and Palm Oil Mill Effluent, 3rd Edition, Dec 2011 | http://www.jsm.gov.my/documents/11396/300433/SAMM0135
COD
Total Nitrogen Ammoniacal Nitrogen Suspended Solids
Oil & Grease
8 | LEE RUBBER CO. (PTE) LTD. BENTONG SAMM 144 | SMR TESTING LABORATORY BATU 5, JALAN TRAS 28700 BENTONG, PAHANG MALAYSIA Tel: 609-223 3883 Fax: 609-223 2366 | Contact: Lee Chee Bin Email: leebtg@live.com / leebtg@gmail.com |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B4, Revised Edition 1992 | http://www.jsm.gov.my/documents/11396/300433/SAMM0144
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B5, Revised Edition 1992
[8 empty] | Ash | SMR Bulletin No. 7, B6, Revised Edition 1992
[8 empty] | Nitrogen | SMR Bulletin No. 7, B7, Revised Edition 1992
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Mooney Viscosity | SMR Bulletin No. 7, B9, Revised Edition 1992
[8 empty] | Wallace Accelerated Storage- Hardening Test (WASHT) | SMR Bulletin No. 7, C1, Revised Edition 1992
[8 empty] | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, B8, Revised Edition 1992
[8 empty] | Mooney Accelerated Storage- Hardening Test (MAHST) | SMR Bulletin No. 7, C2, Revised Edition 1992
9 | MECH CHEM LABORATORY SDN. BHD. SAMM 163 | NO. 1, LOT 1752, LORONG SG. RASAU 27C SG. RASA LIGHT INDUSTRIAL ESTATE 41300 KLANG, SELANGOR MALAYSIA Tel: 603-3344 8028 Fax: 603-3344 7168 | Contact: Mr. Kok Peng Wai Email: mclabsb@gmail.com Website:- www.mwch-chem-lab.com |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B4, Revised Edition 1992 | http://www.jsm.gov.my/documents/11396/300433/SAMM0163
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B5, Revised Edition 1992
[8 empty] | Ash | SMR Bulletin No. 7, B6, Revised Edition 1992
[8 empty] | Nitrogen | SMR Bulletin No. 7, B7, Revised Edition 1992
[8 empty] | Acetone Extract | SMR Bulletin No. 7, D3, Revised Edition 1992
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, B8, Revised Edition 1992
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B9, Revised Edition 1992
[8 empty] | Colour (Lovibond) | SMR Bulletin No. 7, B10, Revised Edition 1992
[8 empty] | Wallace Accelerated Storage- Hardening Test (WASHT) | SMR Bulletin No. 7, C1, Revised Edition 1992
[8 empty] | Mooney Accelerated Storage- Hardening Test (MASHT) | SMR Bulletin No. 7, C2, Revised Edition 1992
[8 empty] | Rheometric Cure (Oscillating Disc) | SMR Bulletin No. 7, C3, Revised Edition 1992
10 | LEE RUBBER CO. (PTE) LTD SAMM 164 | SMR TESTING LABORATORY LOT 133, JALAN YONG PENG 85300 LABIS JOHOR, MALAYSIA Tel: 607-925 1211/2 Fax: 607-925 2982 | Contact: Tan Choon Mong Email: smrlabis@gmail.com |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B4, Revised Edition 1992 | http://www.jsm.gov.my/documents/11396/300433/SAMM0164
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B5, Revised Edition 1992
[8 empty] | Ash | SMR Bulletin No. 7, B6, Revised Edition 1992
[8 empty] | Nitrogen | SMR Bulletin No. 7, B7, Revised Edition 1992
[8 empty] | Acetone Extract | SMR Bulletin No. 7, D3, Revised Edition 1992
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, B8, Revised Edition 1992
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B9, Revised Edition 1992
[8 empty] | Wallace Accelerated Storage- Hardening Test (WASHT) | SMR Bulletin No. 7, C1, Revised Edition 1992
11 | LRG RUBBER SDN. BHD. SAMM 166 | LOT 3949, KAWASAN PERINDUSTRIAN SG. NAL JALAN STIPUNAL, BATU JONG 18000 KUALA KRAI KELANTAN, MALAYSIA Tel: 609-960 6818 Fax: 609-960 5218 | Contact: Loh Koh Oon Email: leekualakrai@gmail.com |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B2, Issue No. 1/2008 | http://www.jsm.gov.my/documents/11396/300433/SAMM0166
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B3, Issue No. 1/2008
[8 empty] | Ash | SMR Bulletin No. 7, B4, Issue No. 1/2008
[8 empty] | Nitrogen | SMR Bulletin No. 7, B5, Issue No. 1/2008
[8 empty] | Acetone Extract | SMR Bulletin No. 7, D1, Issue No. 1/2008
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, B6, Issue No. 1/2008
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B7, Issue No. 1/2008
[8 empty] | Wallace Accelerated Storage- Hardening Test (WASHT) | SMR Bulletin No. 7, C1, Issue No. 1/2008
[8 empty] | Rheometric Cure (Oscillating Disc) | SMR Bulletin No. 7, C3, Issue No. 1/2008
12 | LEE RUBBER CO. (PTE) LTD SAMM 168 | SMR TESTING LABORATORY) 880, KUBANG ULU, PENANTI 14400 BUKIT MERTAJAM PENANG, MALAYSIA Tel: 604-521 3033 Fax: 604-521 4658 | Contact: Chew Chee Bing Email: leerubberbm@gmail.com |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B4, Revised Edition 1992 | http://www.jsm.gov.my/documents/11396/300433/SAMM0168
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B5, Revised Edition 1992
[8 empty] | Ash | SMR Bulletin No. 7, B6, Revised Edition 1992
[8 empty] | Nitrogen | SMR Bulletin No. 7, B7, Revised Edition 1992
[8 empty] | Acetone Extract | SMR Bulletin No. 7, D3, Revised Edition 1992
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, B8, Revised Edition 1992
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B9, Revised Edition 1992
[8 empty] | Wallace Accelerated Storage- Hardening Test (WASHT) | SMR Bulletin No. 7, C1, Revised Edition 1992
[8 empty] | Mooney Accelerated Storage- Hardening Test (MASHT) | SMR Bulletin No. 7, C2, Revised Edition 1992
13 | EUROFINS NM LABORATORY SDN. BHD. SAMM 188 | 32, 66, 78 & 80, LORONG PERDA SELATAN 1 BANDAR PERDA 14000 BUKIT MERTAJAM PULAU PINANG MALAYSIA Tel: 604-538 8081 Fax: 604-537 8084 | Contact: Ms. Yeap Cheo Mooi Email: yeapcm@nmlab.com.my |  |  | Chemical | • Palm Oil Mill Effluents • Rubber Effluents | pH | APHA 4500-H+. B | http://www.jsm.gov.my/documents/11396/300433/SAMM0188
[8 empty] | Chemical Oxygen Demand (COD) | DOE Standard Method (Reference & Alternative Method)
[8 empty] | Suspended Solids | DOE Standard Method (Reference Method)
[8 empty] | Total Solids | APHA 2540. B
[8 empty] | Ammoniacal Nitrogen | DOE Standard Method (Reference Method)
[8 empty] | Total Nitrogen | DOE Standard Method (Reference Method)
DOE Standard Method (Alternative Method)
[8 empty] | Oil and Grease | DOE Standard Method (Reference Method)
[8 empty] | BOD at 30ºC for 3 days | DOE Standard Method (Reference & Alternative Method)
[7 empty] | Solid and Semisolid Waste- Siliceous and Organically based matrices (e.g.: plastic, wood, rubber, paper, pigment, ink, paint, foam, hardener, glue, etc.) (continued) | Sample pre-treatment for determination of: Aluminium Antimony Arsenic Aurum Barium Beryllium Boron Cadmium Calcium Chromium Cobalt Copper Iron Lead Magnesium Manganese Mercury Molybdenum Nickel Palladium Platinum Potassium Selenium Silver Sodium Strontium Tellurium Thallium Thorium Tin Titanium Vanadium Zinc | USEPA 3052
[7 empty] | Solid and Semisolid Waste, Sediments, Sludge and Soils - siliceous and organically based matrices (e.g.: plastic, wood, rubber, paper, pigment, ink, paint, foam, hardener, glue, etc.), ground water, other aqueous samples, EP extracts etc. | Aluminium | USEPA 6010C (ICP-OES)
Antimony
Arsenic
Aurum
Barium
Beryllium
Boron
Cadmium
Calcium
Chromium
Cobalt
Copper
Iron
Lead
Lithium
Magnesium
Manganese
Mercury
Molybdenum
Nickel
Palladium
Phosphorus
Platinum
Potassium
Selenium
Silica
Silver
Sodium
Strontium
Tellurium
Thallium
Thorium
Tin
Titanium
Vanadium
Zinc
[8 empty] | Lead | USEPA 7420 (AAS)
[7 empty] | Metal, plastic, wood, rubber, paper, pigment, ink, paint, foam, hardener, glue, etc. | Sample pre-treatment for: Hexavalent Chromium | USEPA 3060A
[7 empty] | Metal, plastic, wood, rubber, paper, pigment, ink, paint, foam, hardener, glue, ground water and TCLP/EP extracts etc. | Hexavalent Chromium | USEPA 7196A
[7 empty] | Rubber, Plastic materials, Lacquer and Coating | Acenaphthene | AfPS GS 2014:01
Acenaphthylene
Anthracene
Benzo(a)anthracene
Benzo(a)pyrene
Benzo(b)fluoranthene
Benzo(g,h,i)perylene
Benzo(k)fluoranthene
Chrysene Dibenzo(a,h)anthracene
Fluoranthene
Fluorene
Indeno(1,2,3-cd)pyrene
Naphthalene
Phenanthrene
Pyrene
Benzo(e)pyrene
Benzo(j)fluoranthene
[7 empty] | Rubber | Myristic Acid (C-14) | In-house method EUBM.SOP.TM.IP.16 (GC-MS, GC- FID)
Pentadecylic Acid (C-15)
Palmitic Acid (C-16)
Margaric Acid (C-17)
Stearic Acid (C-18)
Oleic Acid (C-18:1)
Linoleic Acid (C-18:2)
Arachidic Acid (C-20)
[7 empty] | Polymer material (Plastic, rubber, polyolefin resins and other plastics) | Oxidation Induction Time (OIT) | MS ISO 11357-6: 2004 DSC
14 | FGV ANALYTICAL LABORATORY FGV AGRI SERVICES SDN.BHD. SAMM 190 | PUSAT PENYELIDIKAN PERTANIAN TUN RAZAK, JENGKA, 26400 PAHANG, MALAYSIA. Tel: 609-471 8301 Fax: 609-471 8253 | Contact: Mr. Sapudin Shukor Email: sapudin.s@felda.net.my |  |  | Chemical | Environmental Monitoring Palm Oil & Rubber Mill Effluent | Biochemical Oxygen Demand A. Reference Method | DOE Method (1985) : 2nd Edition 1995 (Reference Method) (Ref: FGVLAB-LTM-B01A) | http://www.jsm.gov.my/documents/11396/300433/SAMM0190
[8 empty] | B. Alternative Method | DOE Method (1985) : 2nd Edition 1995 (Alternative Method) (Ref: FGVLAB-LTM-B01B)
[8 empty] | Chemical Oxygen Demand A. Reference Method | DOE Method (1985) : 2nd Edition 1995 (Reference Method) (Ref: FGVLAB-LTM-B02A)
[8 empty] | B. Alternative Method | DOE Method (1985) : 2nd Edition 1995 Alternative Method) (Ref: FGVLAB-LTM-B02B)
[8 empty] | Total Nitrogen A. Reference Method | DOE Method (1985): 2nd Edition 1995 (Reference Method) (Ref: FGVLAB-LTM-B03A)
[8 empty] | B. Alternative Method | DOE Method (1985): 2nd Edition 1995 (Alternative Method) (Ref: FGVLAB-LTM-B03B)
[8 empty] | Ammoniacal Nitrogen A. Reference Method | DOE Method (1985) : 2nd Edition 1995
(Reference Method) (Ref: FGVLAB-LTM-B04A)
[8 empty] | B. Alternative Method | DOE Method (1985) : 2nd Edition 1995
(Alternative Method) (Ref: FGVLAB-LTM-B04B)
[8 empty] | Total Solids | APHA 2540 B, 21st Edition 2005 (Ref: FGVLAB-LTM-B05A)
[8 empty] | Suspended Solids A. Reference Method | DOE Method (1985): 2nd Edition 1995 (Reference Method) (Ref: FGVLAB-LTM-B06A)
[8 empty] | B. Alternative Method | DOE Method (1985): 2nd Edition 1995 Alternative Method) (Ref: FGVLAB-LTM-B06B)
[8 empty] | C. Reference Method (Raw Palm Oil Mill Effluent) | DOE Method (1985): 2nd Edition 1995 (Reference Method) (Ref: FGVLAB-LTM-B06C)
[8 empty] | Oil & Grease A. Treated Effluent (Reference Method) | DOE Method (1985) : 2nd Edition 1995 (Reference Method) (Ref: FGVLABLTM-B07A)
[8 empty] | B. Raw Palm Oil Mill Effluent (Reference Method) | DOE Method (1985) : 2nd Edition1995 (Reference Method) (Ref: FGVLAB-LTM-B07B)
[8 empty] | pH | APHA 4500 H+ B 21st Edition 2005 (Ref: FGVLAB-LTM-B08)
15 | EFFLUENT TESTING LABORATORY SAMM 199 | LEE RUBBER GROUP C/O KOTA TRADING CO. SDN BHD 5TH MILES, JALAN TAMPIN, SEREMBAN 73009 TAMPIN, NEGERI SEMBILAN MALAYSIA Tel: 606-4381051 Fax: 606-4381885 | Contact : Muhamad Pauzi b. Haji Yasin |  |  | Chemical | Rubber & Palm Oil Effluent & Mill | 1. pH value | APHA 4500 - H+B (2005) | http://www.jsm.gov.my/documents/11396/300433/SAMM0190
[8 empty] | 2. Chemical Oxygen Demand (C.O.D.) | DOE - (M) (REF) (3rd Edition, 2011)
[8 empty] | 3. Biological Oxygen Demand (B.O.D.) 3 days @ 30OC | DOE - (M) (REF) (3rd Edition, 2011)
[8 empty] | 4. Total Suspended Solids | DOE - (M) (Alt) (3rd Edition, 2011)
[8 empty] | 5. Ammoniacal Nitrogen | DOE - (M) (REF) (3rd Edition, 2011)
[8 empty] | 6. Total Nitrogen | DOE - (M) (Alt) (3rd Edition, 2011)
16 | LEE RUBBER CO. (PTE) LTD. SAMM 206 | SMR TESTING LABORATORY KM 5, JALAN TAIPING 33000 KUALA KANGSAR, PERAK MALAYSIA Tel: 605-776 1545 / 1103 Fax: 605-776 3833 | Contact: Yeap Soon Whey Email: leerubkk@gmail.com |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B4, Revised Edition 1992 | http://www.jsm.gov.my/documents/11396/300433/SAMM0206
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B5, Revised Edition 1992
[8 empty] | Ash | SMR Bulletin No. 7, B6, Revised Edition 1992
[8 empty] | Nitrogen | SMR Bulletin No. 7, B7, Revised Edition 1992
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, B8, Revised Edition 1992
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B9, Revised Edition 1992
[8 empty] | Wallace Accelerated Storage- Hardening Test (WASHT) | SMR Bulletin No. 7, C1, Revised Edition 1992
17 | SYARIKAT CHUAN LEE RUBBER SDN. BHD. SAMM 229 | CHUAN LEE TESTING LABORATORY LOT 1405, MUKIM PEDAH BATU 59, JALAN KUANTAN 27000 JERANTUT, PAHANG MALAYSIA Tel: 609-266 3522 Fax: 609-266 4254 | Contact: Mr. Eng See Tuan / Mr Raymond Eng Sai Soon Email: sclr2828@yahoo.com |  |  | Chemical | Raw, dry natural rubber | Dirt | SMR Bulletin No.7, B4, Revised Edition 1992 | http://www.jsm.gov.my/documents/11396/300433/SAMM0229
[8 empty] | Volatile Matter | SMR Bulletin No.7, B5, Revised Edition 1992
[8 empty] | Ash | SMR Bulletin No.7, B6, Revised Edition 1992
[8 empty] | Nitrogen | SMR Bulletin No.7, B7, Revised Edition 1992
[8 empty] | Acetone Extract | SMR Bulletin No.7, D3, Revised Edition 1992
[6 empty] | Mechanical | Raw, dry natural rubber | Rapid Plastivity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, B8, Revised Edition 1992
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B9, Revised Edition 1992
[8 empty] | Wallace Accelerated Storage Hardening Test (WASHT) | SMR Bulletin No. 7, C1, Revised Edition 1992
[8 empty] | Rheometric Cure (Oscillating Disc) | SMR Bulletin No. 7, C3, Revised Edition 1992
18 | FGV RUBBER INDUSTRIES SDN. BHD. SAMM 241 | KAMPUNG AWAH LABORATORY KAMPUNG AWAH RUBBER FACTORY 28100 CHENOR PAHANG MALAYSIA Tel: 609-290 5530 Fax: 609-298 6472 | Contact: Mrs. Nurul Widani Mohamad Email: nurulwidani.m@fgvholdings.com |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Buletin No. 7, B2, 2018 | http://www.jsm.gov.my/documents/11396/300433/SAMM0241
[8 empty] | Volatile matter | SMR Buletin No. 7, B3, 2018
[8 empty] | Ash | SMR Buletin No. 7, B4, 2018
[8 empty] | Nitrogen | SMR Buletin No. 7, B5, 2018
[8 empty] | Acetone Extract (Difference Method) | SMR Buletin No. 7, D1,2018
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Rapid Plasticity and Plasticity Retention Index (PRI) Mooney Viscosity Wallace Accelerated Storage Hardenng Test (WASHT) | SMR Bulletin No. 7, B6, 2018 SMR Bulletin No. 7, B7, 2018 SMR Bulletin No. 7, C1, 2018
19 | FGV RUBBER INDUSTRIES SDN. BHD. SAMM 242 | PASIR BESAR LABORATORY KILANG GETAH PASIR BESAR 73420 GEMAS NEGERI SEMBILAN, MALAYSIA Tel: 606-457 6231 Fax: 606-4576521 | Contact: Ms. Nurshazwani Jalil Email: shazwani.j@felda.net.my |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B.2, Revised Edition 2018 | http://www.jsm.gov.my/documents/11396/300433/SAMM0242
[8 empty] | Volatile matter | SMR Bulletin No. 7, B.3, Revised Edition 2018
[8 empty] | Ash | SMR Bulletin No. 7, B.4, Revised Edition 2018
[8 empty] | Nitrogen | SMR Bulletin No. 7, B.5, Revised Edition 2018
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, B.6, Revised Edition 2018
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B.7, Revised Edition 2018
[8 empty] | Wallace Accelerated Storage Hardenng Test (WASHT) | SMR Bulletin No. 7, C.1, Revised Edition 2018
20 | FGV PALM INDUSTRIES SDN BHD SAMM 247 | MAKMAL ANALISA BUKIT GOH 26050 KUANTAN, PAHANG, MALAYSIA. Tel: 609-547 8585 Fax: 609-547 8989 | Contact: Mr. Mohd Zuhan Ab. Rahman Email: zuee2306@yahoo.com |  |  | Chemical | Palm Oil Mill and Rubber Factory Effluent | BOD 3 | DOE (Malaysia,1985) - 4th. Edition 2019 (Reference Method) | http://www.jsm.gov.my/documents/11396/300433/SAMM0247
[8 empty] | BOD 3 | DOE (Malaysia,1985) - 4th. Edition 2019 (Alternative Method)
[8 empty] | COD | DOE (Malaysia,1985) - 4th Edition 2019 (Reference Method)
[8 empty] | Total Nitrogen | DOE (Malaysia,1985) - 4th Edition 2019 (Reference Method)
[8 empty] | Ammonical Nitrogen | DOE (Malaysia,1985) - 4th. Edition 2019 (Reference Method)
[8 empty] | Suspended Solids  Treated Effluent  Raw Effluent | DOE (Malaysia,1985) - 4th. Edition 2019 (Reference Method)
[8 empty] | Oil and Grease  Treated Effluent  Raw Effluent | DOE (Malaysia,1985) - 4th. Edition 2019 (Reference Method)
[8 empty] | Total Solids | APHA Method-2540B, 21st.Edition 2005
[8 empty] | pH Value | APHA Method 4500HB – 21st. Edition 2005
21 | MALAYAN TESTING LABORATORY SDN. BHD. SAMM 268 | LOT 46, KAWASAN MIEL FASA 111 BAKAR ARANG 08000 SG. PETANI, KEDAH MALAYSIA Tel: 604-421 5741 Fax: 604-421 4237 | Contact: Ms. Rohaida Bt Saad Email: info@malayantesting.com |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B4, Revised Edition 1992 | http://www.jsm.gov.my/documents/11396/300433/SAMM0268
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B5, Revised Edition 1992
[8 empty] | Ash | SMR Bulletin No. 7, B6, Revised Edition 1992
[8 empty] | Nitrogen | SMR Bulletin No. 7, B7, Revised Edition 1992
[8 empty] | Acetone Extract | SMR Bulletin No. 7, D3, Revised Edition 1992
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Rapid Plasticity and Plasticity Retention Index | SMR Bulletin No. 7, B8, Revised Edition 1992
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B9, Revised Edition 1992
[8 empty] | Colour (Lovibond) | SMR Bulletin No. 7, B10, Revised Edition 1992
[8 empty] | Wallace Accelerated Storage Hardening Test | SMR Bulletin No. 7, C1, Revised Edition 1992
[8 empty] | Mooney Accelerated Storage Hardening Test | SMR Bulletin No. 7, C2, Revised Edition 1992
[8 empty] | Rheometric Cure (Oscillating Disc) | SMR Bulletin No. 7, C3, Revised Edition 1992
[6 empty] | Chemical | Field Latex | Dry Rubber Content (DRC) | MS 466:1987 Sec 4
[7 empty] | Latex Concentrate | Dry Rubber Content (DRC) | ISO 126: 2005 (E) ASTM D1076-15, Clause 9
[8 empty] | Total Solids Content (TSC) | ISO 124: 2014 ASTM D1076-15, Clause 8
[8 empty] | Alkalinity (i) As % of water (ii) As NH3 | ISO 125: 2011 (E) ASTM D1076-15, Clause 11
[8 empty] | Mechanical Stability Time | ISO 35: 2004 (E) Amendment 1:2006 (E) ASTM D1076-15, Clause 17
[8 empty] | pH Value | ISO 976: 2003
[8 empty] | Potassium Hydroxide Number (KOH No.) | ISO 127: 2012
[8 empty] | Volatile Fatty Acid Number (VFA No.) | ISO 506: 1992 (E)
22 | SMR TESTING LABORATORY HOCK HIN (MUAR) RUBBER CO. SDN. BHD. SAMM 279 | KM 8, JALAN BAKRI 84200 MUAR JOHOR MALAYSIA Tel: 606-9864930 Fax: 606-9864930 / 986751 | Contact: Ms. Junita Bt. Abdullah Email: hhrsmr@yahoo.com |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B.2 Revised Edition 2018 | http://www.jsm.gov.my/documents/11396/300433/SAMM0268
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B.3 Revised Edition 2018
[8 empty] | Ash | SMR Bulletin No. 7, B.4 Revised Edition 2018
[8 empty] | Nitrogen | SMR Bulletin No. 7, B.5 Revised Edition 2018
[6 empty] | Mechanical |  | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, B.6 Revised Edition 2018
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B.7 Revised Edition 2018
[8 empty] | Wallace Accelerated Storage Hardening Test (WASHT) | SMR Bulletin No. 7, C.1 Revised Edition 2018
23 | UNIT PUSAT UJIAN SMR LEMBAGA INDUSTRI GETAH SABAH SAMM 281 | NO. 12, PHASE 1 LOK KAWI INDUSTRIAL ESTATE 88100 KOTA KINABALU, SABAH MALAYSIA Tel: 6088-755429 / HQ 088212311 Fax: 6088-764151 | Contact: Ms. Liau An Chuan / Ms.Robinetta Malangkig Email: robyn_jm@yahoo.com |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, Part B.4, Revised Edition 1992 | http://www.jsm.gov.my/documents/11396/300433/SAMM0281
[8 empty] | Volatile Matter | SMR Bulletin No. 7, Part B.5, Revised Edition 1992
[8 empty] | Ash | SMR Bulletin No. 7, Part B.6, Revised Edition 1992
[8 empty] | Nitrogen | SMR Bulletin No. 7, Part B.7, Revised Edition 1992
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, Part B.8, Revised Edition 1992
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, Part B.9, Revised Edition 1992
[8 empty] | Colour (Lovibond) | SMR Bulletin No. 7, Part B.10, Revised Edition 1992
24 | SMR TESTING LABORATORY SENG HIN RUBBER (M) SDN BHD SAMM 283 | KAWASAN PERINDUSTRIAN SUNGAI NAL JALAN STAPUNAL 18000 KUALA KRAI, KELANTAN MALAYSIA Tel: 609-960 6898 Fax: 609-960 6188 | Contact: Mr. Kua Kim Hong Email: shr58@streamyx.com.my |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B2 Revised Edition Issue No. 1, 2018 | http://www.jsm.gov.my/documents/11396/300433/SAMM0283
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B3 Revised Edition Issue No. 1, 2018
[8 empty] | Ash | SMR Bulletin No. 7, B4 Revised Edition Issue No. 1, 2018
[8 empty] | Nitrogen | SMR Bulletin No. 7, B5 Revised Edition Issue No. 1, 2018
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Buletin No.7, B6, Revised Edition Issue No. 1, 2018
[8 empty] | Mooney Viscosity | SMR Buletin No.7, B7, Revised Edition Issue No. 1, 2018
[8 empty] | Wallace Accelerated Storage-Hardening Test (WASHT) | SMR Bulletin No. 7, C1, Revised Edition Issue No. 1, 2018
25 | HEVEA KB SDN. BHD. SAMM 286 | PT 187940-PT187942 OFF PERSIARAN KANTHAN 1 KAWASAN PERINDUSTRIAN KANTHAN 31200 CHEMOR PERAK MALAYSIA Tel: 05-2012 211 Fax: 05-2012 744 | Contact: Ms. Wong Pei Wen Email: peiwen@halcyonagri.com |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B4 Revised Edition 1992 | http://www.jsm.gov.my/documents/11396/300433/SAMM0286
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B5 Revised Edition 1992
[8 empty] | Ash | SMR Bulletin No. 7, B6 Revised Edition 1992
[8 empty] | Nitrogen | SMR Bulletin No. 7, B7 Revised Edition 1992
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Rapid Plasticity and Plasticity | SMR Bulletin No. 7, B8 Revised Edition 1992
[8 empty] | Retention Index (PRI) | SMR Bulletin No. 7, B9 Revised Edition 1992
[8 empty] | Mooney Viscosity Color (Lovibond) | SMR Bulletin No. 7, B10 Revised Edition 1992
[8 empty] | Wallace Accelerated Storage- Hardening Test (WASHT) | SMR Bulletin No. 7, C1 Revised Edition 1992
26 | MALAYAN TESTING LABORATORY SDN BHD SAMM 290 | 33 JALAN 6/89B, BATU 3 ½, JALAN SG. BESI, SEKSYEN 92A 57100 KUALA LUMPUR MALAYSIA Tel: 603-7980 8042 Fax: 603-7980 3982 | Contact: Mr. Chong June Sang Email: info@malayantesting.com |  |  | Chemical | Raw, Dry Natural Rubber | Dirt | SMR Bulletin No. 7, B4, Revised Edition 1992 ISO 249-1995 (E) | http://www.jsm.gov.my/documents/11396/300433/SAMM0290
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B5, Revised Edition 1992 ISO 248-2011 (E)
[8 empty] | Ash | SMR Bulletin No. 7, B6, Revised Edition 1992 ISO 247-2006 (E)
[8 empty] | Nitrogen | SMR Bulletin No. 7, B7, Revised Edition 1992 ISO 1656-2019 (E)
[6 empty] | Mechanical | Raw, Dry Natural Rubber | Rapid Plasticity (Po) and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, B8, Revised Edition 1992 ISO 2930-2017 ISO 2007: 2018 (E)
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B9, Revised Edition 1992 ISO 289-1:2005 (E) -inoperative
[8 empty] | Colour (Lovibond) | SMR Bulletin No. 7, B10, Revised Edition 1992 ISO 4660-2011 (E)
[8 empty] | Wallace Accelerated Storage-Hardening Test (WASHT) | SMR Bulletin No. 7, C1, Revised Edition 1992
[6 empty] | Chemical | Latex Concentrate | Dry Rubber Content (DRC) | ISO 126: 2005
[8 empty] | Total Solids Content (TSC) | ISO 124: 2014
[8 empty] | Alkalinity | ISO 125: 2011
[8 empty] | Mechanical Stability Time (MST) | ISO 35: 2004 Amd 1: 2006
[8 empty] | pH Value | ISO 976: 2013
[8 empty] | Potassium Hydroxide Number (KOH No.) | ISO 127: 2018
[8 empty] | Volatile Fatty Acid Number (VFA No.) | ISO 506: 1992
27 | ENVILAB SDN. BHD. SAMM 298 | NO. 38B, JALAN PINGAI TAMAN PELANGI 80400 JOHOR BAHRU JOHOR MALAYSIA Tel: 607-332 6277 Fax: 607-331 9357 | Contact: Ms. Voon Wan Sin Email: wsvoon@its-envilab.com |  |  | Chemical | Rubber Effluents Palm Oil Mill Effluents | pH value Total Solids | APHA 4500 - H+ B APHA 2540 B | http://www.jsm.gov.my/documents/11396/300433/SAMM0298
[8 empty] | BOD at 300C for 3 days COD Suspended Solids | DOE (M) Alternative Method
[8 empty] | Ammoniacal Nitrogen Total Nitrogen Oil and Grease | DOE (M) Reference Method
28 | UTCL LABORATORY MAHAMURNI PLANTATIONS SDN. BHD SAMM 307 | LOT 2135 BATU 23½ JALAN KOTA TINGGI-JOHOR BAHRU 81900 KOTA TINGGI, JOHOR MALAYSIA Tel: 607-882 1145 ext 2211 Fax: 607-863 1519 | Contact: Mr. Kamaruddin Jaffar Email: mdkamaruddin@kulim.com.my |  |  | Chemical | Palm Oil Mill and Rubber Factory Effluent | Biochemical Oxygen Demand (BOD3) | DOE (Msia, 1995) REF | http://www.jsm.gov.my/documents/11396/300433/SAMM0307
DOE (Msia, 1995) ALT
[8 empty] | Chemical Oxygen Demand (COD) | DOE (Msia, 1995) ALT
[8 empty] | Suspended Solids (SS) | DOE (Msia, 1995) REF
[8 empty] | Oil & Grease (O & G) | DOE (Msia, 1995) REF
[8 empty] | Ammoniacal Nitrogen (AN) | In-house Method TP-EFF-03 Based on DOE (Msia, 1985) REF
[8 empty] | Total Nitrogen (TN) | DOE (Msia, 1995) ALT
[8 empty] | Total Solids | APHA 2540B, 19th Edition 1995
[8 empty] | pH | APHA Method 4500-H+B 22nd Edition 2012
[7 empty] | Field Latex | Dry Rubber Content (DRC) | MS 466:1987
29 | NALCO INDUSTRIAL SERVICES MALAYSIA SDN. BHD. SAMM 354 | NO. 13-2, JALAN PEGAGA B U12/B, DESA ALAM 40170 SHAH ALAM SELANGOR MALAYSIA Tel: 603 3359 5228 Fax: - | Contact: Ms. Zaharah Shafini Ahmad Email: szaharah@ecolab.com Website:- www.nalco.com |  |  | Chemical | Industrial effluent (Rubber & Palm Oil Effluents) | Ammonical Nitrogen | DOE Reference Method | http://www.jsm.gov.my/documents/11396/300433/SAMM0354
[8 empty] | Biological Oxygen Demand (BOD) | DOE Alternative Method
[8 empty] | Chemical Oxygen Demand (COD) | DOE Reference Method
[8 empty] | Oil and Grease | DOE Reference Method
[8 empty] | pH | APHA 4500 – H+ B
[8 empty] | Suspended Solid | DOE Reference Method
[8 empty] | Total Solids | APHA 2540 B
[8 empty] | Total Nitrogen | DOE Reference Method
30 | MALAYAN TESTING LABORATORY SDN BHD SAMM 401 | NO. 62, JALAN SEANG TEK 10400 PENANG MALAYSIA Tel: 604-228 2043 / 016-495 7756 Fax: | Contact: Ms. Ong Yu May Email: info@malayantesting.com |  |  | Chemical | Rubber Effluent | pH value | APHA 4500 H+ | http://www.jsm.gov.my/documents/11396/300433/SAMM0401
[8 empty] | Biochemical Oxygen Demand (BOD-3 Days) | DOE Standard Method (1985), 3rd ed. (Reference Method)
[8 empty] | Chemical Oxygen Demand (COD) | DOE Standard Method (1985), 3rd ed. (Reference Method)
[8 empty] | Total Suspended Solid (TSS) | DOE Standard Method (1985), 3rd ed. (Reference Method)
[8 empty] | Total Solid (TS) | APHA 2540 B
[8 empty] | Ammonical Nitrogen (AN) | DOE Standard Method (1985), 3rd ed. (Reference Method)
[8 empty] | Total Nitrogen (TN) | DOE Standard Method (1985), 3rd ed. (Alternative Method)
31 | LABORATORY DEPARTMENT LAHAD DATU EDIBLE OILS SDN. BHD. SAMM 439 | KM 2, JALAN KASTAM BARU LOCKED BAG NO. 16 91109 LAHAD DATU SABAH MALAYSIA Tel: 089-882222 / 089-883245 Fax: 6089-884428 | Contact: Ms. Carolyn Sara anak Langgong Email: carolyn@ldeo.com.my |  |  | Chemical | Palm oil & rubber effluent | B.O.D. C.O.D. Ammonical Nitrogen Total Nitrogen Suspended Solid Oil and Grease pH value Total Solid Total Alkalinity Volatile Fatty Acid (VFA) | DOE method:1995, reference method DOE method:1995, reference method DOE method:1995, reference method DOE method:1995, alternative method DOE method:1995, alternative method DOE method:1995, reference method APHA 4500-H+, 21st Edition 2005 APHA 2540B, 21st Edition 2005 APHA 2320B, 21st Edition 2005 APHA 5560C, 21st Edition 2005 | http://www.jsm.gov.my/documents/11396/300433/SAMM0439
32 | SYARIKAT TENAGA (GEMAS) LABORATORY SYARIKAT TENAGA(GEMAS) SDN. BHD. SAMM 472 | LOT 13240, SUNGAI GEMAS INDUSTRIAL ESTATE KUALA GEMAS 73400 GEMAS NEGERI SEMBILAN MALAYSIA Tel: 607-9483673 / 3954 Fax: 607-9483689 | Contact: Ms. Ivy Bang Email: syarikattenaga@gmail.com / ivydewi@yahoo.com |  |  | Chemical | Raw, Dry Natural Rubber Compound Rubber | Dirt | SMR Bulletin No. 7, B4 Revised Edition 1992 | http://www.jsm.gov.my/documents/11396/300433/SAMM0472
[8 empty] | Volatile Matter | SMR Bulletin No. 7, B5 Revised Edition 1992
[8 empty] | Ash | SMR Bulletin No. 7, B6 Revised Edition 1992
[8 empty] | Nitrogen | SMR Bulletin No. 7, B7 Revised Edition 1992
[6 empty] | Mechanical | Raw, Dry Natural Rubber Compound Rubber | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, B8 Revised Edition 1992
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B9 Revised Edition 1992
33 | JOHOR TOYYIBAN LABORATORIES SDN. BHD. (JTLab) SAMM 580 | BLOCK 1-2, 1-3 AND 6-1 UTM-MTDC TECHNOLOGY CEACNTRE TECHNOLOGY PARK UNIVERSITI TEKNOLOGI MALAYSIA 81300 SKUDAI, JOHOR MALAYSIA Tel: 6010-562 0361 Fax: 607-520 7811 | Contact: Mohd Rezuwan Shah b Zakaria / Erna Hany Musa Email: rezuwanzakaria.jtlab@gmail.com / ernahany.jtlab@gmail.com Website:- https://jtlab.com.my |  |  | Chemical | Industrial Effluents (including Palm oil & Rubber Effluent) | pH Value | APHA 4500 H+ B | http://www.jsm.gov.my/documents/11396/300433/SAMM0580
[8 empty] | Biochemical Oxygen Demand (BOD) at 20°C for 5 Days | APHA 5210 B / APHA 4500 O G
[8 empty] | Chemical Oxygen Demand (COD) | APHA 5220 B
[8 empty] | Dissolved Oxygen (DO) Total Suspended Solid (TSS) Oil & Grease | APHA 4500 O G APHA 2540 D APHA 5520 B
[8 empty] | Ammonia Nitrogen | APHA 4500-NH3 B & C
[8 empty] | Turbidity | APHA 2130 B
[8 empty] | Conductivity | APHA 2510 B
[8 empty] | Total Dissolved Solid (TDS) | In-house method, Ref No. WI/TM/16, based on APHA 2510B
[8 empty] | Salinity | APHA 2520 B
34 | EUROFINS NM LABORATORY SDN. BHD. SAMM 612 | NO. 27, JALAN IMPIAN EMAS 5 TAMAN IMPIAN EMAS 81300 SKUDAI JOHOR MALAYSIA Tel: 607-558 8153 Fax: 607-558 8154 | Contact: Ms. Helen Choo Hui Siang Email: HuiSiangChoo@eurofins.com Website:- www.nmlab.com.my |  |  | Chemical | Palm Oil Mill Effluents / Rubber Effluents | pH | APHA 4500-H+. B | http://www.jsm.gov.my/documents/11396/300433/SAMM0612
[8 empty] | Chemical Oxygen Demand (COD) | DOE Standard Method (Reference Method)
[8 empty] | Suspended Solids | DOE Standard Method (Reference Method)
[8 empty] | Total Solids | APHA 2540. B
[8 empty] | Ammoniacal Nitrogen | DOE Standard Method (Reference Method)
[8 empty] | Total Nitrogen | DOE Standard Method (Reference and Alternative Method)
[8 empty] | Oil and Grease | DOE Standard Method (Reference Method)
[8 empty] | BOD3 at 30ºC | DOE Standard Method (Reference and Alternative Method)
35 | MAKMAL ANALISA BUKIT BESAR, FGV PALM INDUSTRIES SDN. BHD. SAMM 644 | FELDA BUKIT BESAR, 81450 KULAI, JOHOR, MALAYSIA. Tel: 607-896 1231 Fax: 607-896 2907 | Contact: Ms. Iriena Yusop Email: iriena.yu@feldaglobal.com |  |  | Chemical | Palm Oil and Rubber Effluent | pH Value BOD3 | APHA Method – 4500 H B DOE-Reference Method | http://www.jsm.gov.my/documents/11396/300433/SAMM0644
[8 empty] | COD | DOE-Reference Method
[8 empty] | Total Solids | APHA Method – 2540 B
[8 empty] | Suspended Solids | DOE-Reference Method
[8 empty] | Oil & Grease | DOE-Reference Method
[8 empty] | Ammoniacal Nitrogen | DOE-Reference Method
[8 empty] | Total Nitrogen | DOE-Reference Method
[8 empty] | BOD 3 | DOE-Alternative Method
36 | JABATAN KIMIA MALAYSIA SAMM 781 | CAWANGAN NEGERI KELANTAN LOT 2436, JALAN KAMPUNG TELOK, PANJI 16100 KOTA BHARU KELANTAN MALAYSIA Tel: 609-764 7632 Fax: 609-764 7639 | Contact: Ms. Hashimah Yahya Email: shimah@kimia.gov.my Webs |  |  | Chemical | Effluent (Palm Oil Mill and Rubber Factory) | Biochemical Oxygen Demand (BOD3) | DOE Reference Method 3rd Edition | http://www.jsm.gov.my/documents/11396/300433/SAMM0781
[8 empty] | Chemical Oxygen Demand (COD) | DOE Reference Method 3rd Edition
[8 empty] | Total Suspended Solids (TSS) Except Raw POME | DOE Reference Method 3rd Edition
[8 empty] | Total Kjeldahl Nitrogen | DOE Reference Method 3rd Edition
[8 empty] | Ammoniacal Nitrogen | DOE Reference Method 3rd Edition
37 | MARDEC RUBBER AND EFFLUENT TESTING LABORATORY SAMM 803 | MARDEC PROCESSING SDN BHD BATU 5, PETI SURAT 6 28407 MENTAKAB PAHANG MALAYSIA Tel: 609-277 9055 Fax: 609-277 5679 | Contact: Mr. Mohd Marzwan Rashidi B. Marzuki Email: MMarzwanRM@mardec.com.my |  |  | Chemical | Rubber processing effluent | Ammoniacal Nitrogen | DOE (M) (REF) (2011, 3rd Edition) | http://www.jsm.gov.my/documents/11396/300433/SAMM0803
[8 empty] | Biochemical Oxygen Demand (BOD3) | DOE (M) (REF) (2011, 3rd Edition) DOE (M) (ALT) (2011, 3rd Edition)
[8 empty] | Chemical Oxygen Demand (COD) | DOE (M) (REF) (2011, 3rd Edition)
[8 empty] | Suspended Solids | DOE (M) (ALT) (2011, 3rd Edition)
[8 empty] | Total Nitrogen | DOE (M) (REF) (2011, 3rd Edition)
[8 empty] | pH | APHA 4500-H+ B (2005, 21st Edition)
[8 empty] | Total solids | APHA 2540 B (2005, 21st Edition)
[8 empty] | Volatile Suspended Solids | APHA 2540 D (2005, 21st Edition) APHA 2540 E (2005, 21st Edition)
[7 empty] | Raw, Dry Natural Rubber Compound Rubber | Acetone extract | SMR Bulletin No. 7, Revised Edition 2018, Part D.1
[8 empty] | Dirt | SMR Bulletin No. 7, Revised Edition 2018, Part B.2
[8 empty] | Ash | SMR Bulletin No. 7, Revised Edition 2018, Part B.4
[8 empty] | Nitrogen | SMR Bulletin No. 7, Revised Edition 2018, Part B.5
[8 empty] | Volatile Matter | SMR Bulletin No. 7, Revised Edition 2018, Part B.3
[6 empty] | Mechanical | Raw, Dry Natural Rubber Compound Rubber | Rapid Plasticity and Plasticity Retention Index (PRI) | SMR Bulletin No. 7, Revised Edition 2018, Part B.6
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, Revised Edition 2018, Part B.7
38 | REHPRO SCIENTIFIC SDN. BHD. SAMM 812 | LOT. 19, GROUND FLOOR BLOCK D, SADONG JAYA JALAN IKAN JUARA 2 KARAMUNSING 88846 KOTA KINABALU SABAH, MALAYSIA Tel: 6088-22320 Fax: 6088-222420 | Contact: Ms. Suzanna J Rice Oxley Email: rehprogroup@gmail.com |  |  | Chemical | Wastewater from Rubber and Palm Oil Mills | Biochemical Oxygen Demand 3 days @ 300C | DOE 1995, Alternative Method | http://www.jsm.gov.my/documents/11396/300433/SAMM0812
[8 empty] | Chemical Oxygen Demand | DOE 1995, Reference Method
[8 empty] | Suspended Solids | DOE 1995, Reference Method
[8 empty] | Oil and Grease | DOE 1995, Reference Method
[8 empty] | Ammoniacal Nitrogen | DOE 1995, Reference Method
[8 empty] | Total Nitrogen, Kjeldahl | DOE 1995, Reference Method
39 | JABATAN KIMIA MALAYSIA CAWANGAN TAWAU SAMM 906 | BLOK A2, LOT 264 & 265 BANDAR SRI INDAH BATU 10 ½, JALAN APAS 91000 TAWAU, SABAH MALAYSIA Tel: 6089-775 143 Fax: 6089-775 134 | Contact: Mr. Abdul Razak bin Mohd Iman Email: abdrazak@kimia.gov.my |  |  | Chemical | Rubber and Palm Oil Mill Effluent | Suspended Solids Reference Method (Except for Raw Palm Oil Mill Effluent) Ammoniacal Nitrogen Reference Method Biochemical Oxygen Demand Reference Method | Revised Standard Method 1985 for Analysis of Rubber and Palm Oil Mill Effluent, 3rd Edition DOE 2011. | http://www.jsm.gov.my/documents/11396/300433/SAMM0906
40 | EUROMA SMR LABORATORY, EUROMA RUBBER INDUSTRIES SDN BHD, SAMM 925 | LOT 45 & 46, MUKIM BAGAN SENA, 09010 LABU BESAR, KULIM KEDAH, MALAYSIA Tel: 04-403 2046 / 012-408 6731 Fax: 04-403 2267 | Contact: Mr. Joshua Chong Weng Kin Email: joshua@halcyonagri.com |  |  | Chemical | Raw & Dry Natural Rubber | 1) Determination of Dirt 2) Determination of Volatile Matter 3) Determination of Ash 4) Determination of Nitrogen | SMR Bulletin No.7, B4, Revised Edition 1992. SMR Bulletin No.7, B5, Revised Edition 1992. SMR Bulletin No.7, B6, Revised Edition 1992. SMR Bulletin No.7, B7, Revised Edition 1992. | http://www.jsm.gov.my/documents/11396/300433/SAMM0925
[6 empty] | Mechanical | Raw & Dry Natural Rubber | 1) Determination of Rapid Plasticity and Plasticity Retention Index (PRI) 2) Determination of Mooney Viscosity | SMR Bulletin No.7, B8, Revised Edition 1992. SMR Bulletin No.7, B9, Revised Edition 1992.
41 | SGS (MALAYSIA) SDN. BHD. SAMM 077 | LOT 4, PERSIARAN JUBLI PERAK SEKSYEN 22, 40300 SHAH ALAM, SELANGOR MALAYSIA Tel: 603 7627 0080 (ext. 8005) Fax: 603-7627 0082 | Contact: Ms. Lee Shei Meih Email: SheiMeih.Lee@sgs.com Website:- www.sgs.com |  |  | Chemical | POME & Rubber Effluent | BOD3 | DOE (Malaysia, 1995), Alternative Method | http://www.jsm.gov.my/documents/11396/300433/SAMM0077
[8 empty] | Total Kjeldahl Nitrogen | In-house method, SGS-TM-02-083, based on APHA 4500-NOrg B
42 | SIME DARBY PLANTATION RESEARCH SDN. BHD. LS LABORATORIES-CAREY ISLAND SAMM 030 | LOT 2664, JALAN PULAU CAREY 42960 PULAU CAREY, KUALA LANGAT SELANGOR MALAYSIA Tel: 03-3326 6903 Fax: 03-3326 6884 | Contact: Mr. Ahmad Sarwani Hj Adni Email: sarwani.adni@simedarbyplantation.com |  |  | Chemical | Latex | Total Solids Content | ISO 124 : 2014, Ed. 7 | http://www.jsm.gov.my/documents/11396/300433/SAMM0030
[8 empty] | Dry Rubber Content | ISO 126 : 2005, Ed. 5
[8 empty] | Alkalinity (as NH3) | ISO 125 : 2011, Ed. 6
[8 empty] | Volatile Fatty Acid Number | ISO 506 : 1992, Ed. 3
[8 empty] | Mechanical Stability Time | ISO 35 : 2004, Ed. 5
[8 empty] | Coagulum Content | ISO 706 : 2004, Ed. 4
[8 empty] | Sludge Content | ISO 2005 : 1992, Ed. 3
[8 empty] | Potassium Hydroxide Number | ISO 127 : 2012, Ed. 4
[8 empty] | Density | ISO 705 : 1994, Ed. 2
[8 empty] | Viscosity | ISO 1652 : 2011, Ed. 4
[8 empty] | pH | ISO 976 : 2013, Ed. 4
[8 empty] | Zinc | MS 1449 : PART 1: 1999
[8 empty] | Manganese | MS 1449 : PART 4: 1999
[8 empty] | Iron | MS 1449 : PART 5: 1999
[8 empty] | Magnesium | MS 1449 : PART 6: 1999
[8 empty] | Copper | MS 1449 : PART 3: 1999
[8 empty] | Determination of Volatile Fatty Acid Number | In-house Method, Ref. No. L1, Based on ISO 506 : 1992, Ed. 3
[6 empty] | Chemical And Physical | SMR and Block Rubbers | Chemical Dirt | SMR Bulletin No. 7, B4, 1992
[8 empty] | Volatile Matter (VM) | SMR Bulletin No. 7, B5, 1992
[8 empty] | Ash | SMR Bulletin No. 7, B6, 1992
[8 empty] | Nitrogen | SMR Bulletin No. 7, B7, 1992
[8 empty] | Mechanical Rapid Plasticity and Plasticity Retention Index (Po ; PRI) | SMR Bulletin No. 7, B8, 1992
[8 empty] | Mooney Viscosity | SMR Bulletin No. 7, B9, 1992
[8 empty] | Wallace Accelerated Storage- Hardening Test (WASHT) | SMR Bulletin No. 7, C1, 1992
43 | LABORATORY ANALYTICAL SECTION GENTING PLANTATIONS BERHAD SAMM 635 | GENTING PLANTATIONS RESEARCH CENTRE TEBONG, ALOR GAJAH, 75990 MELAKA MALAYSIA Tel: 606-448 6421 / 143 Fax: 606-448 6412 | Contact: Ms. Noor Azurah Hussain Email: noorazurah.hussain@genting.com |  |  | Chemical | Plant | Manganese (Mn) | In-house Method, P3, Based on MS 677:Pt. I-VIII:1980, Part II and Manual of Laboratory Methods of Plant Analysis 1970, Rubber Research Institute of Malaya, Part I | http://www.jsm.gov.my/documents/11396/300433/SAMM0635
[8 empty] | Copper (Cu) | In-house Method, P5, Based on MS 677:Pt. I-VIII:1980, Part II and Manual of Laboratory Methods of Plant Analysis 1970, Rubber Research Institute of Malaya, Part I
[8 empty] | Zinc (Zn) | In-house Method, P6, Based on MS 677: Pt. I-VIII:1980, Part II and Manual of Laboratory Methods of Plant Analysis 1970, Rubber Research Institute of Malaya, Part I
[7 empty] | Compost | Total Copper (as CuO) | In-house Method, C6, Based on MS 677:Pt I-VIII:1980, Part II and Manual of Laboratory Methods of Plant Analysis 1970, Rubber Research Institute of Malaya, Part I
44 | MIRACON (M) SDN. BHD. SAMM 771 | LOT 1776, JALAN KPB 2 KAWASAN PERINDUSTRIAN BALAKONG SERI KEMBANGAN 43300 BALAKONG, SELANGOR MALAYSIA Tel: 603-8941 9918 Fax: 603-8943 6331 | Contact: Ms. Irene Soh Email: sherry@miracon.com.my Website:- |  |  | Mechanical | Epoxy Resin and Polyurethane | Determination of apparent viscosity by single cylinder rotational viscometer | ISO 2555:2018 | http://www.jsm.gov.my/documents/11396/300433/SAMM0771
[8 empty] | Pot life of multicomponent coating systems | ISO 9514:2005(E)
[8 empty] | Standard test method for rubber property – Durometer hardness | ASTM D2240:2015

## MYANMAR
ASEAN Rubber Testing Laboratories (Rubber)
NO | Loboratories | Address/ | Website/Email/ | Owner |  | Rubber-Based Products (please specify) | Testing Items | Method |  | Accredited to ISO/IEC 17025
|  | Telephone/Fax | Contact Person | Government | Private |  |  | International Standard | Others
MYANMAR
1 | Myanmar Natural Rubber Quality Testing Laboratory |  |  | P |  | Technically Specified Rubber | Dirt content | ISO 249:2014 (E) |  | x
[7 empty] | Ash content | ISO 247:2016 (E) |  | x
[7 empty] | Nitrogen | ISO 1656:2014 (E) |  | x
[7 empty] | Volatile matter | ISO 248:2011 (E) |  | x
[7 empty] | Initial plasticity | ISO 2007:2007 (E) |  | x
[7 empty] | Plasticity Retention Index | ISO 2930:2009 (E) |  | x
2 | Rubber Research and Development Centre(TSR Testing Laboratory),Ministry of Agriculture,Livestock and Irrigation | NO.31,Kabaraye Pagoda Road, Manyangone Township, Yangon, Myanmar Tel:+95 9 01660521 Fax:+9501666024 Email: rrdc1234567@gmail.com |  | P |  | Technically Specified Rubber | Dirt content | ISO 249:2016 (E) |  | x
[7 empty] | Ash content | ISO 247-1:2018 (E) |  | x
[7 empty] | Nitrogen | ISO 1656:2014 (E) |  | x
[7 empty] | Volatile matter | ISO 248-1:2011 (E) |  | x
[7 empty] | Initial plasticity | ISO 2007:2018 (E) |  | x
[7 empty] | Plasticity Retention Index | ISO 2930:2014 (E) |  | x
[7 empty] | Mooney Viscosity | ISO 289-1:2015(E) |  | x
[7 empty] | Lovibond Colour index | ISO 4660 :2011(E) |  | x

## PHILIPPINES
ASEAN Rubber Testing Laboratories (Rubber)
No. | Laboratories | Address/ | Website/Email/ | Owner |  | Rubber-Based Products (please specify) | Testing Items | Method |  | Accredited to ISO/IEC 17025
|  | Telephone/Fax | Contact Person | Government | Private |  |  | International Standard | Others
PHILIPPINES
1 | Department of Science and Technology IX - Regional Standards and Testing Laboratories (Rubber Testing Laboratory) | Pettit Barracks, Zamboanga City 7000 Tel. (062) 991-1024 Fax. (062) 992-1114 | https://region9.dost.gov.ph/ | P |  | Raw, Natural Rubber/TSR | Ash | PNS 247:2015 |  | P
[7 empty] | Dirt | PNS ISO 249:2015 |  | P
[7 empty] | Nitrogen | PNS 1656:2007 |  | P
[7 empty] | Volatile Matter | PNS 248-1:2015 |  | P | None
[7 empty] | Plasticity Retention Index | PNS 2930:2015 |  | P
[7 empty] | Mooney Viscosity | PNS ISO 289-1:2015 |  | P
[7 empty] | Color | PNS ISO 4660:2015 |  | P
2 | Philippine Rubber Research Institute - Department of Agriculture IX | Tabanuay Rd, Ipil, Zamboanga Sibugay Tel. (062) 333-2879 | http://prri.da.gov.ph/ | P |  | Raw, Natural Rubber/TSR | Ash |  | SMR Bulletin No.7 Part B.6 | x
[7 empty] | Dirt |  | SMR Bulletin No.7 Part B.4 | x
[7 empty] | Volatile Matter |  | SMR Bulletin No.7 Part B.5 | x
[7 empty] | Mooney Viscosity |  | SMR Bulletin No.7 Part B.9 | x
[7 empty] | Plasticity Retention Index |  | SMR Bulletin No.7 Part B.8 | x
3 | Philippine Rubber Testing Center-University of Southern Mindanao | USM, Kabacan, Cotabato 9407 Tel. (064) 572 2128 | https://www.usm.edu.ph/ | P |  | Raw, Natural Rubber/TSR | Ash | ISO 247 s. 2018 |  | x
[7 empty] | Dirt |  | SMR Bulletin No.7 Part B.4 | x
[7 empty] | Nitrogen | ISO 1656 s. 2014 |  | x
[7 empty] | Volatile Matter | ISO 248 s. 2012 |  | x
[7 empty] | Plasticity Retention Index | ISO 2930 |  | x
[7 empty] | Mooney Viscosity | ISO 289-1 |  | x

## THAILAND
ASEAN Rubber Testing Laboratories (Rubber)
No. | Laboratories | Address/ | Website/Email/ | Owner |  | Rubber-Based Products (please specify) | Testing Items | Method |  | Accredited to ISO/IEC 17025
|  | Telephone/Fax | Contact Person | Government | Private |  |  | International Standard | Others
THAILAND
1 | Rubber Authority of Thailand (RAOT) (Physical Testing) | 50 Phahonyothin Rd., Lat Yao, Chatuchak, Bangkok 10900 Tel: +66 2579 1576 Fax: +66 2561 4744 Email: rri@rubber.mail.go.th | http://www.raot.co.th/raot_en/main.php?filename=index | P |  | Concentrated Latex and Field of Fresh Latex | Total solid content (TSC) | ISO 124 |  | P
[7 empty] | Dry rubber content (DRC) | ISO 126 |  | P
[7 empty] | Alkalinity as ammonia | ISO 125 |  | P
[7 empty] | Volatile fatty acid number (VFA No.) | ISO 506 |  | P
[7 empty] | Potassium hydroxide number (KOH No.) | ISO 127 |  | P
[7 empty] | Determine of pH | ISO 976 |  | P
[7 empty] | Non-rubber solids |  |  | ×
[7 empty] | Mechanical stability time (MST) | ISO 35 |  | ×
[7 empty] | Magnesium content |  | RRIT | ×
[7 empty] | Coagulum content | ISO 706 |  | ×
[7 empty] | Sludge content | ISO 2005 |  | ×
[7 empty] | Viscosity (Brookfield) | ISO 1652 |  | ×
[7 empty] | Specific gravity of concentrated latex at 25C |  |  | ×
[6 empty] | Dry Rubber | Dirt content |  | SMR Bulletin No.7 | ×
[7 empty] | Volatile matter content |  |  | ×
[7 empty] | Ash content |  |  | ×
[7 empty] | Nitrogen content |  |  | ×
[7 empty] | Plasticity retention index (PRI) |  |  | ×
[7 empty] | Mooney viscosity |  |  | ×
[7 empty] | Colour |  |  | ×
[7 empty] | Acetone extract |  |  | ×
[7 empty] | Gel content | ISO 17278 |  | ×
2 | Rubber Technology Research Centre Faculty of Science, Mahidol University | Science Building 3, Phuttamonthon 4 Road, Salaya, Nakhon Pathom 73170 Tel: +66 2441 0511, +668 0771 7098 E-mail: info@mahidolrubber.org | https://science.mahidol.ac.th/rtec/en/index.html | P |  | Natural Rubber Latex | Total solid content (TSC) | ISO 124 |  | ×
[7 empty] | Dry rubber content (DRC) | ISO 126 |  | ×
[7 empty] | Alkalinity as NH3 Content | ISO 125 |  | ×
[7 empty] | Volatile fatty acid number | ISO 506 |  | ×
[7 empty] | Potassium hydroxide number (KOH number) | ISO 127 |  | ×
[7 empty] | Mechanical stability (MST) | ISO 35 |  | ×
[7 empty] | Coagulum content | ISO 706 |  | ×
[7 empty] | pH | ISO 976 |  | ×
[7 empty] | Viscosity | ISO 1652 |  | ×
3 | Office of Scientific Instrument and Testing (OSIT), Prince of Songkla University | Academic and administrative buildings, Hat Yai, Songkhla, 90110 Tel: +667 428 6904-7, +667 428 6910 E-mail: osit@group.psu.ac.th | http://osit.psu.ac.th | P |  | Block rubber | Dirt content | ASTM D1278 |  | ×
[7 empty] | Ash content | ASTM D1278 |  | ×
[7 empty] | Volatile matter content | ASTM D1278 |  | ×
[7 empty] | Plasticity retention index | ASTM D3194 |  | ×
[7 empty] | Mooney viscosity | ASTM D1646 |  | ×
[7 empty] | Nitrogen content | ISO 1656 |  | ×
[6 empty] | Latex | Total solid content | ISO 124 |  | ×
[7 empty] | Dry rubber content | ISO 126 |  | ×
[7 empty] | Mechanicla stabiltiy | ISO 35 |  | ×
[7 empty] | Viscosity | ISO 1652 |  | ×
4 | Rubber and Polymer Testing Laboratory, Center of Rubber Technology for Community, Faculty of Engineering, Thaksin University (Pattalung Campus) | 222 Moo. 2, Baan Prao Sub-District, Papayom District, Phatthalung 93210 | https://engineering.tsu.ac.th/ric/index.php | P |  | Natural rubber | Plasticity retention index (PRI) |  | ASTM D3194 | ×
[7 empty] | Ash |  | ASTM D1278 | ×
[7 empty] | Volatile matter |  | ASTM D1278 | ×

## VIET NAM
ASEAN Rubber Testing Laboratories (Rubber)
Country Name |  | Lab Name | Address | Person | Email | Contact | Fax | Url | Accredation No | Accredation Field | TSR | Latex | Vulcanized Rubber | Consumer Products | Tyre
VIETNAM | 1 | Standard Vietnamese Rubber Testing Laboratory, NRQM Center, RRIV | Lai Hung Commune, Bau Bang District, Binh Duong Province, Viet Nam | Mr. Nguyen Thanh Truc | tt.qlcl@rriv.org.vn | Tel: (84) 28.39326312 | (84) 28.39326314 | http://www.boa.gov.vn/sites/default/files/063tt1218.pdf | VILAS 063 | Chemical, Mechanical | x | x | x
| 2 | Quality Management Department - Dau Tieng Rubber Corporation | Dau Tieng Town, Dau Tieng District, Binh Duong Province, Viet Nam | Ms. Nguyen Thi Thu Huong | qlcl@caosudautieng.com.vn | Tel: (84) 274.3561467 | (84) 274.3521189 | http://www.boa.gov.vn/sites/default/files/267_tt_0816.pdf | VILAS 267 | Chemical, Mechanical | x | x
| 3 | Quality Management Department - Dong Nai Rubber Corporation | Xuan Lap Commune, Long Khanh District, Dong Nai Province, Viet Nam | Ms. Le Thi Le Hang | qlcl@donaruco.vn | Tel: (84) 251.3724606 | (84) 251.3724606 | http://www.boa.gov.vn/sites/default/files/002l1217.pdf | VILAS 002 | Chemical, Mechanical | x | x
| 4 | Quality Management Department - Ba Ria Rubber Company | Binh Ba Commune, Chau Duc District, Ba Ria Vung Tau Province, Viet Nam | Mr. Tran Van Chuong | vanphong@baruco.com.vn | Tel: (84) 254.3885532 | (84) 254.3881169 | http://www.boa.gov.vn/sites/default/files/045l518.pdf | VILAS 045 | Chemical, Mechanical | x
| 5 | Quality Management Department - Phuoc Hoa Rubber Joint Stock Company | Phuoc Hoa Commune, Phu Giao District, Binh Duong Province, Viet Nam | Mr. Tao Manh Cuong | truongtanphuoc79@gmail.com | Tel: (84) 274.3562652 | (84) 2743562652 | http://www.boa.gov.vn/sites/default/files/062l0918.pdf | VILAS 062 | Chemical | x | x
| 6 | Quality Control Section, Industry Department, Dong Phu Rubber Joint Stock Company | Thuan Phu Commune, Dong Phu District, Binh Phuoc Province, Viet Nam | Mr. Dao Duy Tam | duytam1970@gmail.com | Tel (84) 271.3819214 | (84) 271.3819220 | http://www.boa.gov.vn/sites/default/files/064l0217.pdf | VILAS 064 | Chemical, Mechanical | x | x
| 7 | Quality Control Department, Rubber Technical Services Joint Stock Company | Eadrong Village - Cu M’gar District– Dak Lak Province, Viet Nam | Mr. Chu Viet Thai | congtydakrutech@gmail.com | Tel: (84) 262.3536162 | (84) 262.3536162 | http://www.boa.gov.vn/sites/default/files/097l0817.pdf | VILAS 097 | Chemical | x | x
| 8 | The Quality Management Department, Binh Long Rubber Company Limited | Tan Hung Commune, Hon Quan District, Binh Phuoc Province, Viet Nam | Mr. Lam Tuan Anh | qlcl@binhlongrubber,vn | Tel (84) 271.3666253 | (84) 271.3666253 | http://www.boa.gov.vn/sites/default/files/147_l_0816.pdf | VILAS 147 | Chemical | x | x
| 9 | Quality Control Department – Chu Se Rubber Company Limited | 420 Hung Vuong St., Chu Se District, Gia Lai Province, Viet Nam | Mr. Bui Quang Truong Thuan | chuserubber@gmail.com | Tel: (84) 269.3767769 | (84) 269.3851244 | http://www.boa.gov.vn/sites/default/files/281_l_0217.pdf | VILAS 281 | Chemical, Mechanical | x
| 10 | Quality Management Department - Loc Ninh Rubber Company Limited | Ninh Thuan Quarter, Loc Ninh Town, Loc Ninh District, Binh Phuoc Province, Viet Nam | Mr. Vo Cong Thanh | laruco_qlcl@yahoo.com | Tel: (84) 271.3568794 | (84) 271.3568939 | http://www.boa.gov.vn/sites/default/files/382l1118.pdf | VILAS 382 | Chemical, Mechanical | x | x
| 11 | Quality Control Department - Mang Yang Rubber Company Limited | 536 Nguyen Hue St., Dak Doa district, Gia Lai Province, Viet Nam | Mr. Mai Van Trung | myruco@vnn.vn | Tel: (84) 269.3894401 | (84) 269.3831290 | http://www.boa.gov.vn/sites/default/files/484_L_0714_0.pdf | VILAS 484 | Chemical | x
| 12 | Quality Management Department - Phu Rieng Rubber Company Ltd | Phu Rieng Commune, Bu Gia Map District, Binh Phuoc Province, Viet Nam | Ms. Dang Thi Thoa | phongqlclpr@gmail.com | Tel: (84) 271.3777754 | (84) 271.3740629 | http://www.boa.gov.vn/sites/default/files/496l1118.pdf | VILAS 496 | Chemical, Mechanical | x | x
| 13 | Quality Control and Product Development Department, Chu Prong Rubber Company Ltd | Ia Drăng Commune, Chu Prong District, Gia Lai Province, Viet Nam | Ms. Phung Thi Lan | kiemphamchuprong@gmail.com | Tel: (84) 269.3790599 | (84) 269.3790024 | http://www.boa.gov.vn/sites/default/files/526_L_0315PmWpc_0.pdf http://www.boa.gov.vn/sites/default/files/526_mr_0116.pdf | VILAS 526 | Chemical, Mechanical | x | x
| 14 | Quality Management Department - Ea H’leo Rubber Company Ltd | 499 Giai Phong St., Ea Drang Commune, Ea H'leo District, Dak Lak Province, Viet Nam | Ms. Dao Thi Giang | congtycaosueahleo@yahoo.com | Tel: (84) 262.3777286 | (84) 262.3777229 | http://www.boa.gov.vn/sites/default/files/562_L_0715 | VILAS 562 | Chemical | x
| 15 | Laboratory - Mardec Saigon Rubber Co., Ltd | Hamlet 3, Tru Van Tho Commune, Bau Bang District, Binh Duong Province, Viet Nam | Mr. Truong Van Ty |  | Tel: (84) 274.3552492 | (84) 274.3586241 | http://www.boa.gov.vn/sites/default/files/587_L_0416pTUVZ_0.pdf | VILAS 587 | Mechanical, Chemical | x | x
| 16 | Quality Management Department - Song Be Rubber one member Limited Liability Company | Tru Van Tho Commune, Bau Bang District, Binh Duong Province, Viet Nam | Mr. Nguyen The Hung | soruco@caosusongbe.vn | Tel: (84) 274.3667249 | (84) 274.3667260 | http://www.boa.gov.vn/sites/default/files/601_L_0116iZjUy_0.pdf | VILAS 601 | Chemical, Mechanical | x
| 17 | Quality Management Department - Tay Ninh Rubber Joint Stock Company | National road 22B, Hiep Thanh Commune, Go Dau District, Tay Ninh Province, Viet Nam | Mr. Nguyen Van Bac | qlcl.trc@gmail.com | Tel: (84) 276.3853606 | (84) 276.3853608 | http://www.boa.gov.vn/sites/default/files/614_l_0616_0.pdf | VILAS 614 | Mechanical, Chemical | x | x
| 18 | Quality Management Department - Chu Pah Rubber Company one member Ltd | Phu Hoa Town, Chu Pah District, Gia Lai Province , Viet Nam | Ms. Nguyen Thi Kim Hau |  | Tel: (84) 269.3842134 | (84) 269.3845554 | http://www.boa.gov.vn/sites/default/files/647l1016.pdf | VILAS 647 | Chemical | x
| 19 | Quality Management Department -Kumho Tire (Viet Nam) Co., Ltd. – Rubber Plant | Bau Bang Village, Tan Binh Commune, Bau Bang District, Binh Duong Province, Viet Nam | Mr. Bui Van Bien | vanbien@kumhotire.com | Tel: (84) 274.355155 |  | http://www.boa.gov.vn/sites/default/files/904l0319.pdf | VILAS 904 | Mechanical, Chemical (TSR production) | x
| 20 | Quality Management Department - Binh Thuan Rubber One Member Limited Liability Company | Duc Tai Town, Duc Linh District, Binh Thuan Province, Viet Nam | Ms. Huynh Thi Hue | kcsbinhthuan@gmail.com |  | (84) 252.3883447 | http://www.boa.gov.vn/sites/default/files/704_l_0217.pdf | VILAS 704 | Chemical, Mechanical | x
| 21 | Quality Control Department - Krong Buk Rubber One Member Limited Liability Company | Ea Ho Commune, Krong Nang District, Dak Lak Province, Viet Nam | Ms. Pham Thi Hang | caosukrongbuk@dng.vnn.vn | Tel: (84) 262.3675138 | (84) 262.3675251 | http://www.boa.gov.vn/sites/default/files/705l0517.pdf | VILAS 705 | Chemical, Mechanical | x
| 22 | Quality Control Department - 74 Company One member Limited | Iakla Commune, Duc Co District, Gia Lai Province, Viet Nam | Mr. Luc Thanh Tuan | tuanbkt74@gmail.com | Tel: (84) 269.3846047 | (84) 269.3846047 | http://www.boa.gov.vn/sites/default/files/724l1017.pdf | VILAS 724 | Chemical, Mechanical | x
| 23 | Environment Industial Department, Ha Tinh Rubber One Member Company Ltd. | Ha Linh Commune, Huong Khe District, Ha Tinh Province, Viet Nam | Mr. Nguyen Thanh Binh | phongcnmt2014@gmail.com | Tel: (84) 239.3874443 | (84) 239.3874340 | http://www.boa.gov.vn/sites/default/files/776_TT_1114_0.pdf | VILAS 776 | Chemical | x
| 24 | Quality Management Department - Kon Tum Rubber Company Ltd. | Yachim Commune, Kon Tum city, Kon Tum province, Viet Nam | Mr. Cao Chanh Tan | phongqlcl.kt@gmail.com | Tel: (84) 260.3864131 | (84) 260.3864520 | http://www.boa.gov.vn/sites/default/files/800_M_0115%20(2)_0.pdf | VILAS 800 | Chemical | x
| 25 | Quality Management Department - Viet Sing Joint Stock Company | Factor 2, Village 7, Minh Tam Commune, Hon Quan District, Binh Phuoc Province, Viet Nam | Mr. Hong Van Vang | sale@dawucorp.com | Tel: (84) 271.6534222 |  | http://www.boa.gov.vn/sites/default/files/863l1118.pdf | VILAS 863 | Chemical, Mechanical | x
| 26 | Tan Binh Laboratory - Tan Binh Production and Trading Company Ltd. | Factor 5, Tan Nam Village, Tan Binh Commune, Tan Bien District, Tay Ninh Province, Viet Nam | Mr. Le Minh Tri | congtytanbinh@gmail.com | Tel: (84) 276.3872667 | (84) 276.3872665 | http://www.boa.gov.vn/sites/default/files/879l0319.pdf | VILAS 879 | Chemical, Mechanical | x
| 27 | Laboratory of Radial Tire Factory, Da Nang Joint Stock Company | Lot G, Ta Quang Buu St., Lien Chieu Industial Park, Hoa Hiep Bac, Lien Chieu District, Da Nang City, Viet Nam | Mr. Le Hoang Khanh Nhut | thunghiem@drc.com.vn | Tel: (84) 236.3741587 | (84) 236.3736777 | http://www.boa.gov.vn/sites/default/files/882_M_1215Ph4iA_0.pdf | VILAS 882 | Mechanical - Radial Tyre production | x |  | x |  | x
| 28 | Quality Management Department - Tan Bien Rubber Company Ltd. | Tan Hiep Commune, Tan Chau District, Tay Ninh Province, Viet Nam | Ms. Ho Thi Bich Loan | qlcl@tabiruco.vn | Tel: (84) 276.3732113 |  | http://www.boa.gov.vn/sites/default/files/896_M_0116nvGio_0.pdf | VILAS 896 | Chemical, Mechanical | x | x
| 29 | Quality Management Department, Mai Thao Company Limited | Tan Minh Hamlet, Minh Thanh Commune, Dau Tieng District, Binh Duong Province, Viet Nam | Ms. Nguyen Thi Anh Hoa | qlclmt@maithao.com | Tel: (84) 28.35127198 | (84) 28.35106459 | http://www.boa.gov.vn/sites/default/files/1029m0617.pdf | VILAS 1029 | Chemical, Mechanical | x
| 30 | Quality Management Department - Phuoc Thanh Rubber Corporation | Hoa Vinh Hamlet, Thanh Tam Commune, Chon Thanh District, Binh Phuoc Province, Viet Nam | Ms. Nguyen Thi Kim Hau | qlcl@phuocthanhrubber.com | Tel: (84) 271.366 8757 | (84) 271.3668758 | http://www.boa.gov.vn/sites/default/files/987_m_1216_0.pdf | VILAS 987 | Chemical, Mechanical | x
| 31 | Quality Management Department - Thuan Loi Rubber Co., Ltd. | Thuan Hoa Hamlet, Thuan Loi Commune, Dong Phu District, Binh Phuoc Province, Viet Nam | Ms. Ha Thi Minh Tam |  | Tel: (84) 271.3820222 | (84) 271.3820222 | http://www.boa.gov.vn/sites/default/files/921_m_0516.pdf | VILAS 921 | Chemical, Mechanical | x | x
| 32 | Rubber Testing Laboratory of Hung Thinh - Hung Thinh Company, Ltd. | Thanh Xuan Hamlet, Mo Cong Commune, Tan bien District, Tay Ninh Province, Viet Nam | Ms. Nguyen Thi KIm Yen |  | Tel: (84) 276.3870950 | (84) 276.3870951 | http://www.boa.gov.vn/sites/default/files/1032m0717.pdf | VILAS 1032 | Chemical, Mechanical | x | x
| 33 | Quality Assurance Department - Southland International PTE. LTD | Factory No. 1, Lot T3, Long Hau expanded Industrial Park, Hamlet 3, Long Hau Commune, Can Giuoc District, Long An Province, Viet Nam | Ms. Hoang Thi My Hanh | indochina@southland-international.com | Tel: (84) 28.37818956 | (84) 28.37818985 | http://www.boa.gov.vn/sites/default/files/1059m118.pdf | VILAS 1059 | Chemical, Mechanical | x
| 34 | Quality Control Department - Hoa Binh Joint Stock Rubber Company | Hamlet 7, Hoa Binh Commune, Xuyen Moc District, Ba Ria-Vung Tau Province, Viet Nam | Mr. Le van Ha | qlcl.hrc@gmail.com | Tel: (84) 254.3872104 | (84) 254.3873495 | http://www.boa.gov.vn/sites/default/files/1089m0318.pdf | VILAS 1089 | Chemical, Mechanical | x
| 35 | Quality Control Department, Mai Vinh Rubber Trading Services Production Company Limited | Village 6, Tan Long Commune, Phu Giao District, Binh Duong Province, Viet Nam | Mr. Tran Giang Nam | maivinhcompany@gmail.com | Tel: (84) 274.3552909 | (84) 274.3552909 | http://www.boa.gov.vn/sites/default/files/1150m1018.pdf | VILAS 1150 | Chemical, Mechanical | x
| 36 | Quality Management Department - Chu Se Kampong Thom Joint Stock Rubber Company. Viet Nam Rubber Group, Joint Stock Co | NH 6, Totea Village, Trea Commune, Stoung District, Kampong Thom Province, Cambodia | Mr. Le Xuan Khiem | crck2cpc@gmail.com |  |  | http://www.boa.gov.vn/sites/default/files/1179m1218.pdf | VILAS 1179 | Chemical, Mechanical | x