## Spec Form-For Invitations
For Invitations
SPECIFICATION FORM
Quotation for Relocate MCFA Panel
Closing date for Quotation Submission:
No. | Items Description |  | Qty | UoM | Unit Price (IDR) | Total Price (IDR)
To relocate MCFA panel (brand Siemens) and all accessories from MCFA room at Basement to CCTV room at Groundfloor. The scope of work include but not limited to use standard material such as: - Data Cable STP AWG 18 ex Sinar or equivalent - FRC Power 2x1.5mm ex Eterna or equivalent - Power cable NYYhy 3x1.5mm ex Eterna or equivalent - PVC Conduit 20mm & accessories, ex BOSCH
1 | Preliminaries work, material support, civil work and antigen C-19 |  | 1 | lot |  | 0
2 | Installation
| MCFA |  | 1 | unit |  | 0
| Power supply external 24VDC |  | 3 | unit |  | 0
| Master Intercom |  | 1 | unit |  | 0
3 | Labour cost |  | 1 | lot |  | 0
4 | Testing, commisioning and training |  | 1 | lot |  | 0
5 | Mob Demob and Transportation |  | 1 | lot |  | 0
6 | Troubleshooting fix existing announciator at CCTV room and level 3 |  | 1 | lot |  | 0
Total | [5 empty] | 0
Delivery date |  | : completed before end of December 2021
Availability of stock |  | : [vendor to fill in]
Warranty (required/optional/not required) |  | : 1 month
Terms of payment |  | : DP 30%, second payment: 70% after completion
Validity of Quotation |  | : 30 days of the Quotation Date
General guideliens/Ketentuan:
1 | Please put your signature below or company's stamp/
Mohon melampirkan Spec. form ini pada penawaran disertai tanda tangan PIC dan cap perusahaan;
2 | Please state the availability of stocks for the above items/
Mohon cantumkan ketersediaan stock barang-barang diatas;
3 | All items provided shall be genuine. Shall the above items provided are not genuine, we will cancel
the purchase of the above items/
Semua barang yang disediakan wajib barang asli. Apabila setelah pengiriman barang-barang di atas ditemukan tidak asli,
maka kami akan membatalkan Purchase Order yang sudah diterbitkan.
4 | The price in this quotation shall be valid for 30 (thirty) days commencing on the date of submission of quotation
Harga satuan yang tertera pada penawaran wajib berlaku selama 30 (tiga puluh) hari terhitung sejak tanggal penawaran;
5 | Please exclude VAT 10%, as ASEAN Secretariat is NOT subjected to VAT/
Mohon tidak mencantumkan PPn 10% pada harga penawaran karena Sekretariat ASEAN tidak dikenakan PPn;
6 | Vendor required to get full support from Siemens Indonesia as Principle of the product by submitting certificate of letter for Installation Fire Alarm system, especially at ASEAN Secretariat;
Vendor diminta untuk mendapat dukungan penuh dari Siemens Indonesia sebagai Prisinpal produk dengan melampirkan surat dukungan pemasangan Sistem Alarm, terutama di ASEAN Sekretariat
7 | Vendor required have experience and understand the fire alarm system in ASEAN Sekretariat
Vendor diminta untuk memiliki pengalaman dan memahami sistem alarm di ASEAN Sekretariat
[Signature or Company's Stamp]
[Vendor to fill in]
…………………………………..
Contact Person:
Company:
Date/Tanggal: