## BOQ
Annex A
Bill of Quantity
Provision of Air-Conditioning and Exhaust Services for the ASEAN Secretariat (ASEC) Building and SG Residence
Contract Period : 1 January 2022 - 31 December 2023
Central Air Conditioning System, Fan and Exhaust Fan at the ASEAN Secretariat
No | Description | Qty | Unit | Remarks
1 | Chiller and Cooling Tower New Building
| Chiller Water Cooled 250 TR | 2 | Unit | # The Contractor will maintain and provide services for the ASEAN Secretariat's Central Air-Conditioning Unit # The labour cost for any repair or troubleshooting by the Contractor will be free of charge except for the labour cost of repairing water pipe, duct water machine movement / repositioning # Any Repairs, excluding the Trane Chiller, the Contractor shall submit a quotation to the ASEAN Secretariat covering the repair cost as well as the cost of spare parts required to make good the equipment. # The Contractor will maintain and provide services for the ASEAN Secretariat's Central Air-Conditioning Unit including chemical of water treatment and cooling tower # The Contractor will maintain and provide services for the ASEAN Secretariat's Central Air-Conditioning Unit # Any service or repair carried out by the Contractor shall be accompanied with a Work Order duly signed by both parties # Monthly cleaning AHU # Replace air filter AHU minimum 2 times/year (every six month) # Descalling of each chiller 2 times/year
| Chiller Water Cooled 150 TR | 1 | Unit
| Mini Chiller 25 TR | 1 | unit
| Air Handling Unit | 36 | unit
| Condenser Water Pump | 3 | unit
| Chiller water Pump | 3 | unit
| Cooling Tower | 3 | unit
| Chemical of water treatment for chiller and cooling tower | 1 | lot
2 | Chiller and Cooling Tower Heritage Building
| Chiller Water Cooled 250 TR | 3 | Unit | # Warm up minimum 1 times/month and based on request from ASEAN Sekretariat # Cleaning cooling tower minimum 2 times/year
| Air Handling Unit | 9 | Unit
| Condenser Water Pump | 3 | unit
| Chiller water Pump | 3 | unit
| Cooling Tower | 3 | unit
| General Cleaning Cooling Tower | 1 | lot
3 | Split Air Conditioning
Heritage Building
| AC Split 1 PK | 27 | unit | Monthly servicing including putting in freon gas and cleaning filters. Change the filters once a year at the beginning of the tender contract.
| AC Split 1,5 PK | 3 | unit
| AC Split 2 PK | 26 | unit
New Building
| AC Split Duck 2PK | 2 | unit
| AC Split Duck 5PK | 1 | unit
| AC Split Duck 1,5PK | 1 | unit
| AC Precision 7,5 PK | 2 | unit
| FCU | 1 | unit
| AC Split 2 PK | 5 | unit
| AC Split 2,5PK | 8 | unit
| AC Split 1 PK | 2 | unit
Split & Cassette Air Conditioning
SG Residence
| AC Cassette 2,5 PK | 6 | unit | Servicing 4 times a year, inclusive of putting freon gas and cleaning of filters. Change filters at the beginning of contract.
| AC Split 0,5 PK | 2 | unit
| AC Split 1 PK | 2 | unit
| AC Split 1,5PK | 3 | unit
| AC Split 2 PK | 3 | unit
| AC Split 3 PK | 2 | Unit
4 | Exhaust Fans and Fan |  |  | Monthly servicing including cleaning
Heritage Building
| Ground floor kitchen - 500CFM | 2 | unit
| 7th floor kitchen - 500CFM | 2 | unit
| Ground floor - 7th floor restroom - 500CFM | 14 | unit
| Machine room 8th floor - 665CFM | 3 | unit
| Power house - 665CFM | 6 | unit
New Building
| < 1000 cf | 31 | unit
| 1000cfm - 9000 cfm | 30 | Unit
| 10,000 - 19,000 cfm | 14 | Unit
| > 20.000 | 6 | unit
SG Residence
| 1st and 2nd floor - 500CFM | 8 | unit
5 | Personel |  |  | # Daily working hours (8 hours/day) or shift schedule as below: Shift 1: 06.00 - 14.00 Shift 2: 14:00 - 22.00 # Overtime included # Ready to come if there is emergency called from ASEAN Sekretariat # Working hours will follow based on request by ASEAN Sekretariat
| Team Leader | 1 | person
New Building
| Assistant Leader | 2 | person
| Technician | 2 | person
SG Residence
by request visit, minimum 4 times a year