## Spec Form-For Invitations
For Invitations
SPECIFICATION FORM
Quotation for the Provision of Repair Leak of Chiller #1
Closing date for Quotation Submission: as per invitation
No. | Items Description | Qty | UoM | Unit Price (IDR) | Total Price (IDR)
The scope of work below already include any cost of repair work of leak chiller (brand Daikin, 250 TR)
1 | Refrigerant R134a | 8 | can |  | 0
2 | Compressor Oil | 8 | can |  | 0
3 | Compressor Oil Filter | 1 | pcs |  | 0
4 | Filter Tube | 1 | set |  | 0
5 | Filter Drier EK 415 | 1 | pcs |  | 0
6 | Gasket Oil Filter | 1 | pcs |  | 0
7 | Vane Close Switch | 1 | pcs |  | 0
8 | O Ring Kit for Oil Pump | 1 | set |  | 0
9 | O Ring for sight Glass | 1 | set |  | 0
10 | Temperatur Sensor | 2 | pcs |  | 0
11 | Controller service | 1 | unit |  | 0
12 | Descaling Condensor | 1 | unit |  | 0
13 | Supporting Materials (Nitrogen, Oil Vacum, ice, etc) | 1 | unit |  | 0
14 | Labour Cost, Star up & Testing Commissioning | 1 | unit |  | 0
Total |  |  |  |  | 0
| Delivery date | : before end of December 2022
| Availability of stock | : Ready stock
| Warranty (required/optional/not required) | : Required 3 months
| Terms of payment | : DP 10%, 1st Payment 30%, Final Payment 60%
| Validity of Quotation | : 30 days from the Quotation Date
Conditions/Ketentuan:
1 | Please attach this Specifications Form to your quotation with your signature below or company's stamp;
Mohon melampirkan Spec. form ini pada penawaran disertai tanda tangan PIC atau stempel perusahaan;
By signing this Specification Form, you/your company agree to fulfil with all requirements as stated above.
Dengan menandatangani Form Spesifikasi ini, Anda/perusahaan Anda setuju untuk memenuhi semua kriteria tersebut diatas.
2 | Please state the availability of stocks for the above items;
Mohon cantumkan ketersediaan stock barang-barang diatas;
3 | All items provided shall be genuine. Shall the above items provided are not genuine, we will cancel the purchase of the above items;
Semua barang yang disediakan wajib barang asli. Apabila setelah pengiriman barang-barang di atas ditemukan tidak asli,
maka kami akan membatalkan Purchase Order yang sudah diterbitkan.
4 | The price in this quotation shall be valid for 30 (thirty) days commencing on the date of submission of quotation;
Harga satuan yang tertera pada penawaran wajib berlaku selama 30 (tiga puluh) hari terhitung sejak tanggal penawaran;
5 | ASEAN Secretariat is exempt from the imposition of Value Added Tax. However, vendor may use Faktur Pajak 010 to collect VAT.
ASEAN Secretariat dibebaskan dari Pajak Pertambahan Nilai (PPn). Akan tetapi, vendor dapat menggunakan Faktur Pajak 010 untuk memungut PPn.
[Company's Stamp]
[Vendor to fill in]
…………………………………..
Contact Person:
Company:
Date/Tanggal: