TERMS OF REFERENCE

REPLACEMENT WATER DISTRIBUTION PIPE

AT HERITAGE BUILDING

- Background

The Association of Southeast Asian Nations (ASEAN) Secretariat is the nerve center of ASEAN, a regional inter‐governmental organization founded in 1967, to promote peace and stability, sustained economic growth, shared prosperity and socio‐cultural progress. It comprises the ten countries of Southeast Asia. The existing ASEAN Secretariat (ASEC) at Jalan Sisingamangaraja 70A, Jakarta was established and officiated in 1981 by the then President of Indonesia, H.E. Soeharto. In August 2019, Government of Indonesia grant another 16 stories building located adjacent to the old building. New building is designated as ASEC Building while old building with 8 stories is designated as Heritage Building.

The current condition pipe distribution at Heritage Building have corrosion, therefore it needs to replace with new pipe without change any system installed.

- Objectives

- To replace main water distribution from roof top at level 8 (water tank) to each floor (pipe at utility shaft). The work only to replace main water pipe at shaft space.

- To replace water pipe at library room

- Expected Deliverables

To change old pipe with new pipe to prevent corrosion.

- Scope of Works

- Preparation work, providing support tools/equipment. Contractor should rectify any damage during installation work back to existing condition.

- Installation work, providing material needed for installation plumbing work include any connection such as elbow, “T”, socket, gate valve, reducer, etc. The type of pipe is black steel 3” schedule 40 and black steel 2” schedule 40. During replacement pipe, water distribution will keep running.

- Work Schedule

The work shall be finished before of December 2023. Contractor to submit the work schedule in accordance with ASEC procedures, which is:

- Monday to Friday: 17.00 PM till 22.00 PM

- Saturday and Sunday: 07.30 AM till 22.00 PM

- Working hour may be change as instructed by ASEAN Secretariat

- Contractor Requirements and Qualifications

- 5-year experience in plumbing works by submitting evidence of experience

- Contractor highly recommends attending preliminary site visit to check existing condition and to make sure that the proposal submitted will cover all the possible condition. ASEC will not pay additional cost resulted from differing site condition.

- Contractor is required to do all the work items by supplying the manpower within the prescribed time schedule in professional manner in accordance with the standard engineering practice and Indonesian Standard (SNI)

- Quotation Criteria and Term of Payment

The quotation submission price shall be in IDR and term of payment as below:

- 1st payment: 15% downpayment

- 2nd payment 50% after progress 50%

- 3rd payment 100% after completion of work

*****