## Spec Form-For Invitations
For Invitations
SPECIFICATION FORM
Provision of: Network Attach Storage for Audio Visual
Closing date for Quotation Submission: Refer to the invitation and web advertisement (asean.org)
No. | Items Description |  | Qty | UoM | Unit Price (IDR) | Total Price (IDR)
1 | Network Attach Storage for Audio Visual
| Detail Technical Specsification: - TS-h1887XU-RP-E2336-32G 18-Bay Rackmount NAS, - Intel® Xeon® E-2336 6C 12T 2.9GHz, up to 4.8GHz - Support upto 18-Drive Bay Capacity (12 x 3.5-inch SATA + 6 x 2.5-inch SATA) - 32 GB ECC DDR4 (2 x 16 GB), - 2X2,5 GBASE and 2 x 10GBASE-T (10G/5G/2.5G/1G/100M), - 2X 550W PSU (Redundant power supply) |  | 1 | Unit
2 | Original Rack Slide Rail Kit for Model TS-h1887XU-RP-E2336-32G & |  | 1 | Unit
| SEAGATE IRONWOLF + Rescue 8TB SATA 3.5" HDD NAS [ST8000VN004] -Capacity: 8 TB, Interface: SATA 6 Gb/s, Form Factor: 3.5", Cache Size: 256 MB, Disk Speed (RPM): 7200rpm, Laju Transfer: up to 210MB/s |  | 10 | Units
3 | Implementation : Installation Rack Slide Kit, Storage Mounting,Configuration,testing , User Acceptance Test and Documentation. NBD Maintenance support and waranty up to 5 years , remote or onsite sameday in case having technical/part issue,keep storage's firmware uptodate, Parts replacement including Hardisk and regualary preventive maintenance support at least by remote to ensure all parts (hardware and sofware) are working properly. |  | 1 | Package
Total
Delivery date: |  | : 4-8 week after PO
Availability of stock |  | : [Maximum 8 weeks after PO]
Warranty (required) : |  | : [5 year warannty]
Terms of payment: |  | : 50% DP 50% after Delivery
Validity of Quotation: |  | : 45Days
General guideliens/Ketentuan:
1 | Please attach this Specifications Form to your quotation with your signature below or company's stamp;
Mohon melampirkan Spec. form ini pada penawaran disertai tanda tangan PIC atau stempel perusahaan;
By signing this Specification Form, you/your company agree to fulfil with all requirements as stated above.
Dengan menandatangani Form Spesifikasi ini, Anda/perusahaan Anda setuju untuk memenuhi semua kriteria tersebut diatas.
2 | Please state the availability of stocks for the above items;
Mohon cantumkan ketersediaan stock barang-barang diatas;
3 | All items provided shall be genuine. Shall the above items provided are not genuine, we will cancel the purchase of the above items;
Semua barang yang disediakan wajib barang asli. Apabila setelah pengiriman barang-barang di atas ditemukan tidak asli,
maka kami akan membatalkan Purchase Order yang sudah diterbitkan.
4 | The price in this quotation shall be valid for 45 days commencing on the date of submission of quotation;
Harga satuan yang tertera pada penawaran wajib berlaku selama 45 hari terhitung sejak tanggal penawaran;
5 | ASEAN Secretariat is exempt from the imposition of Value Added Tax. However, vendor may use Faktur Pajak 010 to collect VAT.
ASEAN Secretariat dibebaskan dari Pajak Pertambahan Nilai (PPn). Akan tetapi, vendor dapat menggunakan Faktur Pajak 010 untuk memungut PPn.
4 | Vendor is rquired to attach supporting letter document to certify that the vendor is Authorised Business Partner of the goods
Vendor harus melampirkan Surat Dukungan (Surduk) yang menyatakan sebagai Partner bisnis untuk perangkat ini.
5 | Vendor is required to prove their competency and capability to implement the project, by attaching relevant certificate particularly on the storage system.
Vendor harus dapat menunjukan kopentensi dan kemampuan dalam implementasi dengan harus melampirkan sertifikat yang relevan dengan storage system
6 | The company has been in business for at least 2 years and have experience in implementing storage system and have tenclose experience list
Perusahaan setidaknya sudah berdiri 2 tahun dan memiliki pengalaman impelementasi storage system.
Signature and or Company Stamp
…………………………………..
Contact Person:
Company:
Date/Tanggal:
Note on A20: Dien Neylla Furry: mentioned all the detail requirement such as company profile if you want to have the vendor with a certain experiences, etc