## Spec Form-For Invitations
For Invitations
SPECIFICATION FORM
Quotation for Maintenance Fire Alarm
Closing date for Quotation Submission: [Procurement to fill in]
No. | Items Description |  | Qty | UoM | Unit Price (IDR) | Total Price (IDR)
General Requirements : 1. Contractor must have minimum 5 years experiences in fire alarm system especially Siemens product (an evidence is required) 2. Contractor must submit Certificate/Letter from Principle of Siemens Indonesia
1 | General Check of current alarm system at new building (north and south tower) |  | 1 | lot | [vendor to fill in] | [vendor to fill in]
2 | Reparing/troubleshooting of ROR Heat Detector (rewiring) |  | 5 | point | [vendor to fill in] | [vendor to fill in]
3 | Repairing/troubleshooting of Smoke Detector (rewiring) |  | 2 | point | [vendor to fill in] | [vendor to fill in]
4 | Repairing/troubleshooting of back up power battery 12Volt, 7Ah |  | 4 | point | [vendor to fill in] | [vendor to fill in]
5 | Repairing/troubleshooting/rewiring T-Branch to loop wire, (Loop 1 South & Loop 3 South & North), include testing and commisioning |  | 1 | lot | [vendor to fill in] | [vendor to fill in]
6 | Repairing/rewiring & fix up troubleshooting Fire Intercom panel dan Fire telephone handset, include testing and commisioning |  | 1 | lot | [vendor to fill in] | [vendor to fill in]
7 | Repairing/rewiring & fix up troubleshooting Power Supply of Master Contol Fire Alarm Panel, include testing and commisioning |  | 1 | lot | [vendor to fill in] | [vendor to fill in]
8 | Conduct training session to technician incharge in operation alarm system |  | 1 | lot | [vendor to fill in] | [vendor to fill in]
Total | [5 empty] | 0
Delivery date |  | : After PO
Availability of stock |  | : Yes
Warranty (required/optional/not required) |  | : not required
Terms of payment |  | : Downpayment 20%, 80 % After Completion
Validity of Quotation |  | : 60 days of the Quotation Date
General guideliens /Ketentuan:
1 | Please attach this Specifications Form to your quotation with your signature below or company's stamp;
Mohon melampirkan Spec. form ini pada penawaran disertai tanda tangan PIC atau stempel perusahaan;
By signing this Specification Form, you/your company agree to fulfil with all requirements as stated above.
Dengan menandatangani Form Spesifikasi ini, Anda/perusahaan Anda setuju untuk memenuhi semua kriteria tersebut diatas.
2 | Please state the availability of stocks for the above items;
Mohon cantumkan ketersediaan stock barang-barang diatas;
3 | All items provided shall be genuine. Shall the above items provided are not genuine, we will cancel the purchase of the above items;
Semua barang yang disediakan wajib barang asli. Apabila setelah pengiriman barang-barang di atas ditemukan tidak asli,
maka kami akan membatalkan Purchase Order yang sudah diterbitkan.
4 | The price in this quotation shall be valid for 30 days commencing on the date of submission of quotation;
Harga satuan yang tertera pada penawaran wajib berlaku selama 30 hari terhitung sejak tanggal penawaran;
5 | ASEAN Secretariat is exempt from the imposition of Value Added Tax. However, vendor may use Faktur Pajak 010 to collect VAT.
ASEAN Secretariat dibebaskan dari Pajak Pertambahan Nilai (PPn). Akan tetapi, vendor dapat menggunakan Faktur Pajak 010 untuk memungut PPn.
[Signature or Company's Stamp]
[Vendor to fill in]
…………………………………..
Contact Person:
Company:
Date/Tanggal: