TERMS OF REFERENCE

STRUCTURAL EVALUATION ON THE 7TH FLOOR CONNECTING BRIDGE ASEC NEW BUILDING

- BACKGROUND

The ASEAN Secretariat was established in February 1976 by the Foreign Ministers of ASEAN. It was first housed at the Department of Foreign Affairs of Indonesia in Jakarta and moved to the current location at 70A Jalan Sisingamangaraja, Jakarta since 1981.  Currently, the ASEAN Secretariat (ASEC) is housed at two buildings:

- The Heritage Building which established in 1981. The building has 9 stories with approximately 11,000 sqm in total areas.

- The New Building which was inaugurated in 2019. The building consists of two towers, and each has 16 stories with approximately 44,000 Sqm in total area.

Both the Heritage Building and the New Building play a central role in ASEC’s activities, not only as office, but also serving as venues for events and hosting esteemed VVIP delegates. However, in April 2021, an incident occurred during heavy rain and strong winds. Multiple glass frames on the connection bridge, located on the 7th floor, became detached and fell onto the floor below. As a result, the incident caused damage to both the Aluminum Composite Panels (ACP) and the Steel Roof in the main hall of the ASEC New Building.

Given the prevailing climate conditions and the existing design of the ASEC New Building, the ASEAN Secretariat acknowledges the importance of engaging a professional engineering consultant. Their expertise is needed to evaluate the current glass structure thoroughly, with the aim of preventing similar incidents from happening in the future. Furthermore, ASEC is also seeking the consultant's assistance in designing, specifying, and estimating the cost of the required structural support for the cleaning services personnel to clean and maintain the ACP at the 7th Floor Connection Bridge. Currently, there is no structural support at the 7th  Floor Connection Bridge, making the area inaccessible for the cleaning personnel to effectively clean the ACP in that area. ASEC aims to ensure the safety of cleaning personnel and enable proper maintenance of the ACP, enhancing the overall functionality and aesthetic of the bridge area.

- INCIDENT SUMMARY

| Date | 13 April 2021 |
| --- | --- |
| Location | Connection Bridge, 7th Floor ASEC New Building |
| Incident Overview | During heavy rain and strong wind, several glass frames from the 7th Floor were detached and damaging steel roof, ACP cladding and parapet. The incident causes no casualty and injury to any ASEC staff or visitors |
| Impact and Damage | - Damage at the Steel Roof of Nusantara Hall - Damage at the ACP parapet on the 1st & 4th Floor - Damage at several glass frames at the Ground Floor |
| Documentation | 7th Floor Connection Bridge 4th Floor (Steel Roof Nusantara Hall) 1st Floor (Glass roof) Repair Process by PT Pembangunan Perumahan (PT PP) |

- GENERAL INFORMATION

Location of Assessment	: Connection Bridge 7th Floor of the ASEC New Building

Period of Construction	: 2018 – 2019 by PT Pembangunan Perumahan (PT PP), Tbk

Total Area for Assessment	: 36 x 11 meter (± 396 sqm)

- OBJECTIVE

The objectives of this work are as follows:

- The appointed consultant is expected to conduct a thorough assessment and evaluation of the current glass frame structure on the 7th Floor of the ASEC New Building. This evaluation will include an examination of the connection strength between glass frame units. The consultant will also run a structural analysis model to simulate the expected wind load during heavy rain conditions. If it is determined that the current glass structure is unsafe, the consultant will provide recommendations regarding any necessary design modifications for structural improvement and estimate the cost of implementing the recommended changes.

- The appointed consultant is expected to provide the design of structural support at the 7th Floor Connection Bridge ASEC New Building. The consultant shall provide innovative design solutions to address the structural support requirements for the cleaning personnel at the 7th Floor Connection Bridge. Furthermore, the consultant shall also provide information regarding the material specifications, work method and estimated cost in constructing the structural support. The design from the consultant will be used further by ASEC as tender documents and guidance for the construction of structural support at the 7th Floor Connection Bridge.

- SCOPE OF WORKS

The appointed consultant is expected to fulfill the followings:

- Analyze and evaluate the overall glass structures at the 7th Floor Connection Bridge:

- Evaluate the current conditions of glass frames, both in the roof and railing sections. This evaluation will encompass a thorough examination of the safety of joints and connections between the glass frame units to identify any existing weaknesses or potential vulnerabilities in the structure.

- Provide a structural analysis model for the glass structure at the 7th Floor Connection Bridge to simulate the expected wind load during heavy rain conditions. The results of structural analysis model shall provide insights into the performance of the glass structure during heavy rain and strong wind conditions in Jakarta.

- Based on the evaluation and analysis result, the consultant shall provide recommendations and design modifications to enhance the safety and stability of the glass structure, mitigating the risk of any potential failures or incidents (including material specification and estimated cost).

- Provide innovative solutions for structural support at the 7th Floor Connection Bridge:

- Provide design for structural support and proof of calculations / analysis to ensure the safety of cleaning personnel (including allowed number of personnel that can be facilitated by the structural support and other essential information)

- Provide material specifications for the whole structural support system.

- Provide work methods for the installation of structural support systems.

- Provide cost estimation and estimated time of completion to install the structural support.

- Provide presentation to ASEC, explaining the finding results and proposed solutions. The presentation must provide key aspects of the evaluation, emphasizing the identified issues and solutions (Final Report shall be submitted after the presentation and obtain approval from ASEC)

- REQUIREMENTS

The selected consultant must fulfill the following criteria:

- The selected consultant must have a valid company license in the field of engineering design and planning or evaluation of existing structure.

- The selected company must have at least 5 years of experience in engineering design and/or engineering evaluation.

- Personnel requirements:

- 1 (one) team leader, which holds at least a bachelor’s degree in architecture or civil engineering (S1) with 10 years’ experience. Hold a valid Certificate of Expertise Senior Level or “Sertifikat Keahlian Ahli (SKA) Utama” or “Sertifikat Kompetensi Kerja (SKK) Level 9” related to Architecture or Structural Engineering Design or other equal certification.

- 1 (one) structural engineer expert, which holds at least a bachelor’s degree in civil engineering (S1) and 5 years’ experience as structural engineer. Hold a valid Certificate of Expertise Medium Level or “Sertifikat Keahlian Ahli (SKA) Madya” or “Sertifikat Kompetensi Kerja (SKK) Level 8” related to Structural Engineering Design / Material Testing Expert or other equal certification.

- REPORTS AND OUTPUT

The appointed consultant shall submit the following:

- Evaluation Report Toward the Existing Glass Structure at the 7th Floor Connection Bridge. If it is determined that the current glass structure is unsafe, the evaluation report shall provide recommendations for structural improvement (including proof of calculations / analysis, Detailed Engineering Drawings, material specification and cost estimation)

- Design Report for the Structural Support at the 7th Floor Connection Bridge (including proof of calculations / analysis, Detailed Engineering Drawings, material specification and cost estimation)

- Submission of the softcopy for all Structural Analysis, Drawings, Calculations and other documents related to the above-mentioned works.

- DURATION OF SERVICES

The appointed consultant shall be committed to completing the whole work for the duration of 4 (four) weeks starting from the confirmation of Purchase Order (PO).

- CURRENCY AND TERMS OF PAYMENTS

- Vendors submit their quotation by using IDR (for local bidder) or USD (for international bidder) covering all the requirements as elaborated in this TOR (quotation from vendor shall remain valid until 30 November 2023)

- Terms of Payments: 10% Down Payment, 30% First Payment (after submission of draft final report), 60% (after completion and ASEC’s acceptance toward all reports)

- DOCUMENT TO BE SUBMITTED

- ASEC strongly suggest the vendor to attend the preliminary site visit to check the existing conditions and ensure the submitted quotation will cover all the required works. ASEC will not pay any additional cost to perform the required works (labor, materials, and equipment / tools) after PO has been issued.

- Document to be submitted:

- Copy of valid company license in the field of structural design or structural design / evaluation (as required in this TOR chapter VI point 1)

- Proof of company’s experience in structural engineering design or structural design / evaluation, including list of experiences / documentations / references (as required in this TOR chapter VI point 2).

- Proof of personnel qualifications including (as required in this TOR chapter VI point 3):

- Copy of Educational Certificate as required in the personnel requirements:

- For Team Leader: at least a bachelor’s degree in architecture or civil engineering (S1)

- For Structural Engineer Expert: at least a bachelor’s degree in civil engineering (S1)

- Copy of Valid license of expertise as required in the personnel requirements:

- For Team Leader : Copy of Certificate of Expertise Senior Level or “Sertifikat Keahlian Ahli (SKA) Utama” or “Sertifikat Kompetensi Kerja (SKK) Level 9” related to Architecture or Structural Engineering Design or other equal certification

- For Structural Engineer Expert: Copy of Certificate of Expertise Medium Level or “Sertifikat Keahlian Ahli (SKA) Madya” or “Sertifikat Kompetensi Kerja (SKK) Level 8” related to Structural Engineering Design / Material Testing Expert or other equal certification

- CV/portfolio with information regarding duration of professional experience required in the personnel requirements

- Vendor quotation (covering all the requirements as elaborated in this TOR, exclude VAT)