## Spec Form-For Invitations
For Invitations
SPECIFICATION FORM
Replacement of Sling Wire Rope for Cradle Hoist ASEC New Building
Closing date for Quotation Submission: Refer to the invitation and web advertisement (asean.org)
No. | Items Description |  | Qty | UoM | Unit Price (IDR) | Total Price (IDR)
General Qualifications for vendors : - The vendor shall provide valid company certification in mechanical installation for cradle hoist in buildings or other high rise structures - The vendor shall provide proof of company experience in handling service / installation / maintenance of cradle hoist for Buildings & other high rise structures.
1 | Supply and Install Sling Wire Rope for Cradle Hoist (NORTH TOWER). Type & Specification must refer to existing : - KISWIRE IWRC / Diameter 8,3mm / 6x19 - Length : 4 roll x 140 meter (include commissioning test) |  | 560 | meter | Vendor to fill | Vendor to fill
2 | Supply and Install Sling Wire Rope for Cradle Hoist (SOUTH TOWER). Type & Specification must refer to existing : - KISWIRE IWRC / Diameter 8,3mm / 6x19 - Length : 4 roll x 140 meter (include commissioning test) |  | 560 | meter | Vendor to fill | Vendor to fill
Notes : 1) The vendor must provide material, supporting tools, equipment and manpower to complete the work 2) The vendor must comply with safety standards while working and maintain work without any accident or damage to ASEC property (provide safety net, personnel protective equipment, etc). 3) The vendor is required to ensure the working area remains tidy and clean 4) Commissioning Test must be conducted by experienced operators with valid license for working at height (SIO) working time : weekdays : 06.00pm - 10.00pm weekend or national holiday : 08.00am - 10.00pm
Total | [5 empty] | 0
Delivery date |  | : After PO
Availability of stock |  | : Must be completed in 2024
Warranty (required/not required) |  | : 12 month
Terms of payment |  | : 20% Down Payment, 80% after all work has been completed
Validity of Quotation |  | : 30 days
General guideliens/Ketentuan:
1 | Please attach this Specifications Form to your quotation with your signature below or company's stamp;
Mohon melampirkan Spec. form ini pada penawaran disertai tanda tangan PIC atau stempel perusahaan;
By signing this Specification Form, you/your company agree to fulfil with all requirements as stated above.
Dengan menandatangani Form Spesifikasi ini, Anda/perusahaan Anda setuju untuk memenuhi semua kriteria tersebut diatas.
2 | Please state the availability of stocks for the above items;
Mohon cantumkan ketersediaan stock barang-barang diatas;
3 | All items provided shall be genuine. Shall the above items provided are not genuine, we will cancel the purchase of the above items;
Semua barang yang disediakan wajib barang asli. Apabila setelah pengiriman barang-barang di atas ditemukan tidak asli,
maka kami akan membatalkan Purchase Order yang sudah diterbitkan.
4 | The price in this quotation shall be valid for 30 days commencing on the date of submission of quotation;
Harga satuan yang tertera pada penawaran wajib berlaku selama 30 hari terhitung sejak tanggal penawaran;
5 | ASEAN Secretariat is exempt from the imposition of Value Added Tax. However, vendor may use Faktur Pajak 010 to collect VAT.
ASEAN Secretariat dibebaskan dari Pajak Pertambahan Nilai (PPn). Akan tetapi, vendor dapat menggunakan Faktur Pajak 010 untuk memungut PPn.
Signature and or Company Stamp
Contact Person:
Company:
Date/Tanggal: