## Spec Form-For Invitations
For Invitations
SPECIFICATION FORM
Maintenance Generator Set ASEC Heritage Building, ASEC New Building and SG Residence
Closing date for Quotation Submission: Refer to the invitation and web advertisement (asean.org)
No. | Items Description |  | Qty | UoM | Unit Price (IDR) | Total Price (IDR)
General Qualifications for vendors : - The vendor shall provide valid company certification in electrical works or other equal certification related to installation or services for Generator Set (copy of certification must be submitted in quotation) - The vendor must provide at least one personnel with a valid electrical safety certification (K3 Listrik) from Kemnaker, BNSP, or other certification from an equivalent recognized institution (copy of certification must be submitted in quotation)
A. | Conduct maintenance (check and repair) Generator Set at ASEC Heritage Building - DEUTZ TBD 616V6 1000 Kva, which includes, but not limited to the following works:
1 | Supply and Install Oil Filter Deutz |  | 1 | lot | Vendor to fill | Vendor to fill
2 | Supply and Install Diesel Fuel Filter Deutz |  | 1 | lot | Vendor to fill | Vendor to fill
3 | Supply and Install Air Filter |  | 1 | lot | Vendor to fill | Vendor to fill
4 | Supply and Install Engine Oil Diesel Meditran SX SAE 15W40 (refer to existing) |  | 1 | lot | Vendor to fill | Vendor to fill
5 | Supply and Install Water Coolant Radiator 15W40 (refer to existing) |  | 1 | lot | Vendor to fill | Vendor to fill
6 | Supply and Install Fuel Filter Separator Racor 1000FH |  | 1 | lot | Vendor to fill | Vendor to fill
7 | Supply and Install Dry Battery 12V 200AH N200 GS |  | 2 | unit | Vendor to fill | Vendor to fill
B. | Conduct maintenance (check and repair) Generator Set 1 at ASEC New Building - PERKINS 1000KVa, which includes, but not limited to the following works:
1 | Supply and Install Fuel Filter 4759205 PERKINS |  | 1 | lot | Vendor to fill | Vendor to fill
2 | Supply and Install Oil Filter 4324909 PERKINS (3 unit on each generators) |  | 1 | lot | Vendor to fill | Vendor to fill
3 | Supply and Install Fuel Filter Separator Racor 1000 FH |  | 1 | lot | Vendor to fill | Vendor to fill
4 | Supply and Install Air Filter |  | 1 | lot | Vendor to fill | Vendor to fill
5 | Supply and Install Oil Engine Diesel Meditran SX SAE40 |  | 1 | lot | Vendor to fill | Vendor to fill
6 | Supply and Install Water Coolant Radiator |  | 1 | lot | Vendor to fill | Vendor to fill
7 | Supply and Install Dry Battery 12V 200AH N200 GS |  | 2 | unit | Vendor to fill | Vendor to fill
C. | Conduct maintenance (check and repair) Generator Set 2 at ASEC New Building - PERKINS 1000KVa, which includes, but not limited to the following works:
1 | Supply and Install Fuel Filter 4759205 PERKINS |  | 1 | lot | Vendor to fill | Vendor to fill
2 | Supply and Install Oil Filter 4324909 PERKINS (3 unit on each generators) |  | 1 | lot | Vendor to fill | Vendor to fill
3 | Supply and Install Fuel Filter Separator Racor 1000 FH |  | 1 | lot | Vendor to fill | Vendor to fill
4 | Supply and Install Air Filter |  | 1 | lot | Vendor to fill | Vendor to fill
5 | Supply and Install Oil Engine Diesel Meditran SX SAE40 |  | 1 | lot | Vendor to fill | Vendor to fill
6 | Supply and Install Water Coolant Radiator |  | 1 | lot | Vendor to fill | Vendor to fill
7 | Supply and Install Dry Battery 12V 200AH N200 GS |  | 2 | unit | Vendor to fill | Vendor to fill
D. | Conduct maintenance (check and repair) Generator Set at SG Residence - PERKINS 60KVa (Model : Engine Family 1103A - 33T), which includes, but not limited to the following works:
1 | Supply and Install Fuel Filter 461490 PERKINS |  | 1 | lot | Vendor to fill | Vendor to fill
2 | Supply and Install Oil Filter 2654403 PERKINS |  | 1 | lot | Vendor to fill | Vendor to fill
3 | Supply and Install Air Filter |  | 1 | lot | Vendor to fill | Vendor to fill
4 | Supply and Install Oil Engine Diesel Meditran SX SAE40 |  | 1 | lot | Vendor to fill | Vendor to fill
5 | Supply and Install Water Coolant Radiator |  | 1 | lot | Vendor to fill | Vendor to fill
6 | Supply and Install Dry Battery 12V 80AH GS |  | 1 | unit | Vendor to fill | Vendor to fill
7 | Cleaning of Genset Fuel Tank and Supply Diesel Fuel until the fuel tank maximum capacity (100liter). Types of diesel fuel : CN53 (Pertamina Dex or equal). Include disposal of old fuel and other materials |  | 1 | lot | Vendor to fill | Vendor to fill
Notes : 1) The vendor must provide material, supporting tools, equipment and manpower to complete the work 2) The vendor must comply with safety standards while working and maintain work without any accident or damage to ASEC property (provide safety net, personnel protective equipment, etc). 3) The vendor is required to ensure the working area remains tidy and clean 4) Must include commissioning test and thorough inspection. Commissioning Test must be conducted by experienced operators with valid license for electrical works. 5) The vendor must provide final report before submitting final invoices working time : weekdays : 06.00pm - 10.00pm weekend or national holiday : 08.00am - 10.00pm
Total | [5 empty] | 0
Delivery date |  | : After PO
Availability of stock |  | : Must be completed in 2024
Warranty (required/not required) |  | : 3 month
Terms of payment |  | : 20% Down Payment, 80% after all work has been completed
Validity of Quotation |  | : 30 days
General guideliens/Ketentuan:
1 | Please attach this Specifications Form to your quotation with your signature below or company's stamp;
Mohon melampirkan Spec. form ini pada penawaran disertai tanda tangan PIC atau stempel perusahaan;
By signing this Specification Form, you/your company agree to fulfil with all requirements as stated above.
Dengan menandatangani Form Spesifikasi ini, Anda/perusahaan Anda setuju untuk memenuhi semua kriteria tersebut diatas.
2 | Please state the availability of stocks for the above items;
Mohon cantumkan ketersediaan stock barang-barang diatas;
3 | All items provided shall be genuine. Shall the above items provided are not genuine, we will cancel the purchase of the above items;
Semua barang yang disediakan wajib barang asli. Apabila setelah pengiriman barang-barang di atas ditemukan tidak asli,
maka kami akan membatalkan Purchase Order yang sudah diterbitkan.
4 | The price in this quotation shall be valid for 30 days commencing on the date of submission of quotation;
Harga satuan yang tertera pada penawaran wajib berlaku selama 30 hari terhitung sejak tanggal penawaran;
5 | ASEAN Secretariat is exempt from the imposition of Value Added Tax. However, vendor may use Faktur Pajak 010 to collect VAT.
ASEAN Secretariat dibebaskan dari Pajak Pertambahan Nilai (PPn). Akan tetapi, vendor dapat menggunakan Faktur Pajak 010 untuk memungut PPn.
Signature and or Company Stamp
Contact Person:
Company:
Date/Tanggal: