## Spec Form-For Invitations
For Invitations
SPECIFICATION FORM
Purchase Deskphone for ASEC New Building
Closing date for Quotation Submission: Refer to the invitation and web advertisement (asean.org)
No. | Items Description |  | Qty | UoM | Unit Price (IDR) | Total Price (IDR)
1 | Supply and Install Deskphone Unit : - Deskphone X301 IP Phone - Supporting 2 SIP Lines & 6 way audio conference - 2.3 inch with 132x64 pixel dot-matrix display - HD audio, dual 10/100 Mbps network ports - Must include adapter/power supply - Support audio codec G722 and Opus, HD audio on speaker phone and handset Notes: - Include the configuration and setup of each desk phone unit until fully operational. The desk phone models must be compatible with the ASEC PABX system and ASEC network settings, including Virtual LAN (VLAN) configurations. - Include providing training to ASEC maintenance technicians on phone configuration and troubleshooting procedures |  | 100 | unit | Vendor to fill | Vendor to fill
ADDITIONAL INFORMATION Current PABX System at ASEAN Secretariat: PABX Alcatel type OMNIPCX Enterprise SIP Trunk : 1 digital extension : 400 desk console : 2 IP phone 600unit busyness system application single CPU & Switching General Notes : 1) The vendor must provide material, supporting tools, equipment and manpower to complete the work 2) The vendor must comply with safety standards while working and maintain work without any accident or damage to ASEC property 3) The vendor is required to ensure the working area remains tidy and clean 4) The vendor must assign qualified technicians to configure the desk phone units with the ASEC PABX system and network settings 5) The vendor must provide a sample unit for testing prior to the delivery of all desk phone units. The tested unit must be compatible with the current PABX system and network settings at ASEC 6) If there is any malfunctioned unit, the vendor must provide replacement unit within 24hour during the warranty period
Total | [5 empty] | 0
Delivery date |  | : After PO, completed in September 2024
Availability of stock |  | : Ready Stock, ASAP
Warranty (required/not required) |  | : 12 month
Terms of payment |  | : 100% after all work has been completed
Validity of Quotation |  | : 30 days
General guideliens/Ketentuan:
1 | Please attach this Specifications Form to your quotation with your signature below or company's stamp;
Mohon melampirkan Spec. form ini pada penawaran disertai tanda tangan PIC atau stempel perusahaan;
By signing this Specification Form, you/your company agree to fulfil with all requirements as stated above.
Dengan menandatangani Form Spesifikasi ini, Anda/perusahaan Anda setuju untuk memenuhi semua kriteria tersebut diatas.
2 | Please state the availability of stocks for the above items;
Mohon cantumkan ketersediaan stock barang-barang diatas;
3 | All items provided shall be genuine. Shall the above items provided are not genuine, we will cancel the purchase of the above items;
Semua barang yang disediakan wajib barang asli. Apabila setelah pengiriman barang-barang di atas ditemukan tidak asli,
maka kami akan membatalkan Purchase Order yang sudah diterbitkan.
4 | The price in this quotation shall be valid for 30 days commencing on the date of submission of quotation;
Harga satuan yang tertera pada penawaran wajib berlaku selama __________________________ hari terhitung sejak tanggal penawaran;
5 | ASEAN Secretariat is exempt from the imposition of Value Added Tax. However, vendor may use Faktur Pajak 010 to collect VAT.
ASEAN Secretariat dibebaskan dari Pajak Pertambahan Nilai (PPn). Akan tetapi, vendor dapat menggunakan Faktur Pajak 010 untuk memungut PPn.
Signature and or Company Stamp
Contact Person:
Company:
Date/Tanggal: