## Spec Form-CT
For Invitations
SPECIFICATION FORM
Quotation for the Provision of Replacement Structure Cooling Tower at Heritage Building
Closing date for Quotation Submission: as per invitation
No. | Items Description | Qty | UoM | Unit Price (IDR) | Total Price (IDR)
General Requirements: Replacement Structure Cooling Tower at Heritage Building 1) Vendor shall assign certified, trained, and licensed operators / technicians (i.e. welder, HSE, etc.). (Copy of certification must be submitted in quotation) 2) The vendor must submit material approvals and work methods. (Must be submitted in quotation) 3) The vendor must provide material, supporting tools, equipment and manpower to complete the work 4) The vendor must comply with safety standards while working and maintain work without any accident or damage to ASEC property (provide safety net, personnel protective equipment, etc). 5) The vendor is required to ensure the working area remains tidy and clean 6) The vendor must provide final report before submitting final invoices working time : weekdays : 06.00pm - 10.00pm weekend or national holiday : 08.00am - 10.00pm
1 | Repair and replace the support structures for Cooling Tower 1, using temporary supports during the replacement process. All support fittings and accessories for the cooling towers must be constructed from galvanized materials, in accordance with existing specifications. Use chemical anchors or other anchorage methods that are compatible with the current conditions. Repainting of the cooling tower with grey iron paint and patching fiber of the cooling tower basin. | 1 | lot | [vendor to fill in] | [vendor to fill in]
2 | Repair and replace the support structures for Cooling Tower 2, using temporary supports during the replacement process. All support fittings and accessories for the cooling towers must be constructed from galvanized materials, in accordance with existing specifications. Use chemical anchors or other anchorage methods that are compatible with the current conditions. Repainting of the cooling tower with grey iron paint and patching fiber of the cooling tower basin. | 1 | lot | [vendor to fill in] | [vendor to fill in]
3 | Repair and replace the support structures for Cooling Tower 3, using temporary supports during the replacement process. All support fittings and accessories for the cooling towers must be constructed from galvanized materials, in accordance with existing specifications. Use chemical anchors or other anchorage methods that are compatible with the current conditions. Repainting of the cooling tower with grey iron paint and patching fiber of the cooling tower basin. | 1 | lot | [vendor to fill in] | [vendor to fill in]
4 | Repair and replace the support pipes for the cooling tower, using clamps for the existing pipe support and using black steel UNP 100x50, schedule 40. The dimensions of these materials must conform to the existing specifications. The cooling tower pipes, should be finished with Syncromate and green iron paint. Use chemical anchors or other anchorage methods compatible with the current conditions. The concrete foundation must be completed with elastomeric waterproofing. | 1 | lot | [vendor to fill in] | [vendor to fill in]
Total |  |  |  |  | 0
| Delivery date | : After PO, Must be completed in 2024
| Warranty (required/not required) | : 1 year
| Terms of payment | : Down Payment 40% ; 60% after completion
| Validity of Quotation | : 60 days from the Quotation Date
Conditions/Ketentuan:
1 | Please attach this Specifications Form to your quotation with your signature below or company's stamp;
Mohon melampirkan Spec. form ini pada penawaran disertai tanda tangan PIC atau stempel perusahaan;
By signing this Specification Form, you/your company agree to fulfil with all requirements as stated above.
Dengan menandatangani Form Spesifikasi ini, Anda/perusahaan Anda setuju untuk memenuhi semua kriteria tersebut diatas.
2 | Please state the availability of stocks for the above items;
Mohon cantumkan ketersediaan stock barang-barang diatas;
3 | All items provided shall be genuine. Shall the above items provided are not genuine, we will cancel the purchase of the above items;
Semua barang yang disediakan wajib barang asli. Apabila setelah pengiriman barang-barang di atas ditemukan tidak asli,
maka kami akan membatalkan Purchase Order yang sudah diterbitkan.
4 | The price in this quotation shall be valid for 60 (sixty) days commencing on the date of submission of quotation;
Harga satuan yang tertera pada penawaran wajib berlaku selama 60 (enam puluh) hari terhitung sejak tanggal penawaran;
5 | ASEAN Secretariat is exempt from the imposition of Value Added Tax. However, vendor may use Faktur Pajak 010 to collect VAT.
ASEAN Secretariat dibebaskan dari Pajak Pertambahan Nilai (PPn). Akan tetapi, vendor dapat menggunakan Faktur Pajak 010 untuk memungut PPn.
[Company's Stamp]
[Vendor to fill in]
…………………………………..
Contact Person:
Company:
Date/Tanggal:

## Additional Information
No. | Photos | Descriptions
1 |  | Clamp support CT requires replacement
2 |  | The header pipe support requires replacement, and the header pipe needs to be repaint
3 |  | The cooling tower requires repainting