## Spec Form-For Invitations
For Invitations
SPECIFICATION FORM
Purchase Emergency Lights and Battery DC 6V 4.5Ah
Closing date for Quotation Submission: Refer to the invitation and web advertisement (asean.org)
No. | Items Description |  | Qty | UoM | Unit Price (IDR) | Total Price (IDR)
1 | Supply and Install Emergency Lights : - New Unit Emergency Lamp Twin Spot 5038R - Double Lamp (LED 12x0.1W) - Input Voltage 220V/50Hz - Battery Type : Rechargeable sealed Lead Acid Battery - Charging Time : 20 - 24 hour - Running hour : 32 hours/single, 16 hours/double - Include installation of LED unit at the emergency stairs area at ASEC New Building (including cabling works, installation of cable protector with bolt, and other related accessories) - include commissioning test |  | 200 | unit | Vendor to fill | Vendor to fill
2 | Supply and Install Battery DC 6V 4.5Ah: - Replace old Battery at the existing emergency lights at the ASEC Heritage Building Emergency Stairs area with Battery DC 6V 4.5Ah (refer to existing) - include commissioning test |  | 20 | unit | Vendor to fill | Vendor to fill
General Notes : 1) The vendor must provide material, supporting tools, equipment and manpower to complete the work 2) The vendor must comply with safety standards while working and maintain work without any accident or damage to ASEC property 3) The vendor is required to ensure the working area remains tidy and clean 4) The vendor must provide a sample unit prior to the delivery of all emergency light units for approval process
Total | [5 empty] | 0
Delivery date |  | : After PO, completed in December 2024
Availability of stock |  | : Ready Stock, ASAP
Warranty (required/not required) |  | : N/A
Terms of payment |  | : 20% Down Payment and 80% Payment after all work has been completed
Validity of Quotation |  | : 60 days
General guideliens/Ketentuan:
1 | Please attach this Specifications Form to your quotation with your signature below or company's stamp;
Mohon melampirkan Spec. form ini pada penawaran disertai tanda tangan PIC atau stempel perusahaan;
By signing this Specification Form, you/your company agree to fulfil with all requirements as stated above.
Dengan menandatangani Form Spesifikasi ini, Anda/perusahaan Anda setuju untuk memenuhi semua kriteria tersebut diatas.
2 | Please state the availability of stocks for the above items;
Mohon cantumkan ketersediaan stock barang-barang diatas;
3 | All items provided shall be genuine. Shall the above items provided are not genuine, we will cancel the purchase of the above items;
Semua barang yang disediakan wajib barang asli. Apabila setelah pengiriman barang-barang di atas ditemukan tidak asli,
maka kami akan membatalkan Purchase Order yang sudah diterbitkan.
4 | The price in this quotation shall be valid for 30 days commencing on the date of submission of quotation;
Harga satuan yang tertera pada penawaran wajib berlaku selama __________________________ hari terhitung sejak tanggal penawaran;
5 | ASEAN Secretariat is exempt from the imposition of Value Added Tax. However, vendor may use Faktur Pajak 010 to collect VAT.
ASEAN Secretariat dibebaskan dari Pajak Pertambahan Nilai (PPn). Akan tetapi, vendor dapat menggunakan Faktur Pajak 010 untuk memungut PPn.
Signature and or Company Stamp
Contact Person:
Company:
Date/Tanggal: