ASEAN – ROK Programme Management Team (2019-2031)

Terms of Reference for AKPMT Phase II Office Space Interior Renovation

Background

The ASEAN Secretariat and the Republic of Korea (ROK) government through the AKPMT, invite the applications from contractors registered in the Jabodetabek (Jakarta, Bogor, Depok, Tangerang and Bekasi) for the renovation of AKPMT’s office at the Heritage Building of ASEAN Secretariat, Jakarta.

For this purpose, the AKPMT plans to undertake a renovation of the office space of 107m2. The office renovation includes the supply and install interior works. This project covers redesigning the drawing, renovation and providing the requested interior below:

Description of Work:

- To redesign the current working space of AKPMT to include additional working space for three staff members.

- To renovate the current working space according to the agreed design and carry out necessary supporting works required to support the main construction works such as but not limited to the removal and return of existing furniture handling and protection, termite treatment, cleaning and garbage removal, security and material approval.

Expected Deliverables:

- Drawing documents consist of but not limited to: design drawing proposal for approval; Final and approved drawing for construction; As built drawing. The drawing shall includes interior, architectural and MEP drawings

- Material samples/brochure/specification for approval

- Completed physical works in accordance to the approved design drawings and specifications. Contractor is required to do all the works items by supplying the experienced human resources and building materials, within the prescribed time schedule in professional manner in accordance with the standard engineering practice and Indonesian Standard (SNI).

- The final installation shall follow the actual layout and include the Mechanical, Electricity system location for future reference for future system maintenance.

- Warranty certificate for the works and equipment installed in this project.

Further detail of the work is attached in and illustrations and pictures of existing condition are included as Annex 1. AKPMT invites bidders to submit a quotation for the above work. The quotation should be in the following format:

- Bidder information sheet (Annex 2) completed;

- Prices should be quoted as per the scope of works listed in Annex 1. Any additional item of work should be justified clearly;

- Prices should be quoted in Indonesian Rupiah.

- The quotation should be written in English

Site Visit:

Date:	30 October 2024

Time:	10.00-11.00

Venue:	AKPMT Office, 4th Floor of ASEC Heritage Building

ASEAN Secretariat

Jl. Sisingamangaraja No. 70A

Kebayoran Baru, Jakarta 12110

Participants’ confirmation of the pre-bid meeting and questions can be shared via email to procurement@asean.org beforehand.

By submitting a quotation, the bidder agrees to the terms and conditions described in Annex 1 of this terms of reference.

Annex 1 – Details of the Project

Terms and conditions:

- Rate/Price

  - The quoted rate shall be in unit rate in IDR and shall remain firm without a price variation clause. The bidders should not claim for any price variation/escalation.

  - Any bid submitted with a price variation/escalation clause will be treated as non-conforming and rejected.

  - Bids/rates quoted by the bidder shall remain valid for 90 days from the date of opening of tenders for the purpose of acceptance and award of work; validity beyond 90 days from the date of opening shall be mutual consent. No price variation / cost escalation is accepted.

  - The rates quoted by the bidder should be inclusive of all applicable taxes and charges including income tax, levies, excise duties, transit, insurance and freight and any other statutory levies etc. as an intergovernmental organization, ASEAN shall not be responsible for any tax(es), levy, tax claim or any tax liability which may be imposed by any law in relation to any amount payable by the ASEAN Secretariat.

  - The bidders shall offer the price for the current furniture and quote it in the financial proposal. The price quoted by the bidder shall remain firm during the entire period of contract and shall not be subjected to variation on any account.

  - The bidder should quote the rate as specified in the scope of work. Any bids submitted other than in the specified scope of work at Annex 1 shall be summarily rejected.

- Execution of work:

  - Time period of completion: the successful bidder shall execute and complete the work as per specifications/Scope of work mentioned in Annex 1 to the satisfaction of the AKPMT within a period of 40 days from the date of award to work (provide time schedule). The workers will only be allowed to work from 17.00-22.00 on weekdays and 06.00-22.00 on weekend or holiday. ASEC reserves the right to temporarily stop the construction when there is a special event or visit.

  - The successful bidder to whom the work is awarded shall have to execute the work as per the work order and the terms and conditions of this tender document.

  - The ASEAN Secretariat and AKPMT is not responsible for any damage of any goods or part of building during the transit. In that case, it is the responsibility of the firm/contractor to whom the work has been awarded.

  - No extra cost shall be given for transportation, cost of labors, insurance, etc. as the rates quoted is all inclusive price.

  - The contractor shall have to bring all the supporting materials for carrying out the above work.

  - The contractor shall execute the work in accordance to the applicable safety regulations.

- Variation in quantity/scope of work: the quantity mentioned in the scope of work is approximate. The ASEAN Secretariat or AKPMT reserves the right at the time of award/execution of the contract to vary the quantity specified in the scope of the work without any change in the unit rate. However, the payment will be made as per the actuals as agreed by the bidders and the user. Any such variation will be at the sole discretion of AKPMT.

- Extension of work completion time: ordinarily no time extension shall be granted.

- Payment term will be agreed through the agreed term by the contractor and ASEAN Secretariat.

- Warranty Period: Guarantee period should be 12 months from the date of completion of the works against poor workmanship, poor performance, and in case of deficiencies are found during guarantee period, the same shall be rectified free of cost by the Contractor at their own cost and risk.

- Quality Assurance: The successful contractor should ensure the quality of the material as per the requirement/discretion of the AKPMT.

Scope of Work

Current Layout:

The dimension of the room is the number based on the latest blueprint drawing. To ensure accuracy, bidders are encouraged to re-measure the actual condition of the working space.

The contractor shall execute the project in compliance with the directions contained in the TOR including the design drawings and specifications:

Detailed Works                                                                                                                     C

A				B

Office Space Re-design:

- To redesign the current working space of AKPMT. The re-design should include a working space that fits into 10 cubicles, a dry pantry, and extra storage cabinets on the wall. The current working space design is as follows:

- Area A

Redesign is encouraged to reuse the current furniture and partitions of numbers 1-6. To provide additional partition (higher) in cubicles 1 &2. Modification in the size of the working space and partitions are allowed for this area.

- Area B

Numbers 7-10 should undergo a complete re-design and do not use a permanent partition for the design.

- Existing partitions or furniture may be removed if the quality has deteriorated and replaced with new matching material.

Meeting and Common Room:

- This area refers to area C in the current layout.

- The TV cabinet should be replaced with a standing bracket, a bigger meeting room table, and chairs to accommodate 10 people.

- To design and install a storage cabinet on the wall by installing a wall panel.

- To change the entrance door, office signage of AKPMT Office and sandblast stickers of the entrance door and meeting room according to our new logo as below:

Current situation:

- Entrance door and sandblast:

- Office signage:

- To replace the double glass door at the entrance of the AKPMT’s office.

- The vendor should provide the design in the drawing and 3D design, which should include the points above for approval prior to the execution of the work.

Office Space Renovation:

- To submit two design proposals and material selection for approval. Based on the approved design and consultation with the AKPMT, contractor shall develop construction drawing and later as built drawing when the work completed.

- To renovate the current working space, including removal/reuse of the current partitions following the agreed design.

- To supply and install the interior of the working space following the agreed design drawings provided.

  - To check, repair or replace existing cable (if necessary) according to the approved design. The electrical cables/outlet should be placed in a way to accommodate the electricity of the new office space. All materials used for electrical works must at minimum meet the SNI.

  - To modify or add cabling for telephone to match with the new design.

  - To repaint the whole wall of the office space, which includes (the meeting room, common area and working space).

Annex 2 – Bidder Information Sheet

| Bidder’s Information Informasi Perusahaan |  |
| --- | --- |
| Bidder’s legal Name Provide the copy of legal certification (Nama Perusahaan sesuai akte - lampirkan salinan akte perusahaan) |  |
| Bidder’s year of constitution (Tahun berdirinya perusahaan) |  |
| Bidder’s legal address (Alamat perusahaan sesuai akte) |  |
| Bidder’s authorized representative – name, address, telephone numbers, e-mail (Perwakilan resmi perusahaan – nama, alamat, nomor telpon, alamat surel) |  |
| Relevant Experience; including the information of: duration of project, client’s name and location; description of work (Pengalaman kerja terkait; termasuk informasi mengenai: lama pengerjaan proyek, nama klien dan lokasi; deskripsi pekerjaan) |  |

Annex 3– Bidder’s qualifications

At minimum, the bidder shall meet the following criteria:

- Experienced contractor and submit the previous project of renovation especially on office or working space projects.

- Demonstrate the required work in the TOR within the time schedule proven by submitting project schedule with detailed work items. The submitted schedule will be later enclosed to the contract.

- Supported by sufficient human resources proven by submitting the list of project organizational structure complete with names for key persons and her/his CV.

- Experience in handling the projects with institution is preferred.

- Be registered in the Jabodetabek (Jakarta, Bogor, Depok, Tangerang and Bekasi)-Please provide evidence.

- Proof of healthy financial condition proven by submitting latest bank statement.