TERMS OF REFERENCE

MAINTENANCE CCTV SYSTEM AT ASEAN SECRETARIAT

(Period: 1 January 2025 - 31 December 2025)

- BACKGROUND

The ASEAN Secretariat was established in February 1976 by the Foreign Ministers of ASEAN. It was first housed at the Department of Foreign Affairs of Indonesia in Jakarta and moved to the current location at 70A Jalan Sisingamangaraja, Jakarta since 1981.  Currently, the ASEAN Secretariat (ASEC) is housed at two buildings:

- The Heritage Building which established in 1981. The building has 9 stories with approximately 11,000 sqm in total areas.

- The New Building which was established in 2019. The building consists of two towers, and each has 16 stories with approximately 44,000 Sqm in total area. It is located adjacent to the Heritage Building.

- The SG Residence, located at Jalan Imam Bonjol No.49, Central Jakarta, as the residence for ASEAN Secretary General

To provide record of evidence and real time surveillance to the above properties, ASEC is currently seeking professional vendor with relevant experience in CCTV maintenance to ensure the operation of CCTV record at all ASEC premises. The appointed vendor shall provide their service continuously for 1 year period (1 January 2025 – 31 December 2025).

- OBJECTIVE

The objective of this project is to carry out routine maintenance for all units of CCTV system at the ASEC Buildings & SG Residence by conducting periodical check, repair, cleaning camera, reconfiguration of CCTV system, and all necessary repair and troubleshooting action to ensure the optimal function and coverage of the CCTV unit and its related equipment.

- EXPECTED DELIVERABLES

The appointed vendor is expected to fulfill the followings:

- Properly maintained CCTV systems at ASEC Buildings & SG Residence in accordance with safety guidelines by local government rules, technical standards, and regulations with no downtime.

- Provide Monthly Maintenance report that record maintenance activities on each visit, including information regarding spare parts replacement and status condition of the CCTV system and its supporting instruments.

- SCOPE OF WORKS

The vendor shall provide all labor, supervision, transportation, tools, materials, and supplies necessary to perform maintenance services for the CCTV systems, ensuring compliance with applicable local government laws, rules, and regulations. Services shall be provided for the following units:

| No. | Device | Quantity |
| --- | --- | --- |
| A. | Display Monitor |  |
| 1. | Display Monitor New Building | 4 unit |
| 2. | Display Monitor Heritage Building | 5 unit |
| 3. | Display Monitor SG Residence | 1 unit |
| B. | Digital Video Recorder (DVR) |  |
| 1. | DVR Hikvision - DS 7216HQHI (Heritage Bld) | 4 unit |
| 2. | DVR Hikvision – DS 7204HQHI (Heritage Bld) | 1 unit |
| C. | Network Video Recorder (NVR) |  |
| 1. | NVR Hikvision – DS 7108NI (SG Residence) | 1 unit |
| 2. | NVR Wisenet – XRN 6410 (New Building) | 1 unit |
| 3. | NVR Wisenet – XRN 6410 (New Building) | 1 unit |
| D. | CCTV |  |
|  | All CCTV camera at ASEC Premises and SG Residence (analog and IP camera) | 195 unit |

The Scope of Works for the Maintenance of CCTV at ASEC Premises and SG Residence are as follows:

- The Maintenance of CCTV will be conducted at ASEAN Secretariat (Heritage Building and New Building), Jl. Sisingamangaraja No. 70A, Kebayoran Baru, South Jakarta and The Secretary-General’s Residence (SG’s Residence), Jl. Imam Bonjol, No 49, Menteng, Central Jakarta.

- Preventive Maintenance:

- Conduct monthly regular checks for all CCTV unit, including adjustment of CCTV equipment: cameras, adaptor, cable line and other instruments to ensure continuity of CCTV operation (including readjustment/reposition of CCTV angles, quality, date and time settings, lens cleaning caused by rain, dust, etc)

- Conduct monthly checks for video storage systems to ensure all storage are functioning for backup purposes

- Ensure software updates for NVRs, DVRs, and other equipment as needed to maintain continuous CCTV system operation (includes update in time and date update in each display monitor)

- Check the duration of recording storage capacity check (hard disk) for backup record according to the storage capacity

- Check connection and IP settings for each CCTV unit to ensure continuous daily operation

- Corrective Maintenance: Provide quick response service for any malfunctioning equipment, network or software. The appointed vendor shall provide a response within 24 hours after notification from ASEC.

- Enforce strict confidentiality protocols in handling all footage and system data as allowed by ASEC

- Selected vendor shall provide monthly services report after conducting servicing. The report shall be signed by both the technician and the person in charge from ASEC.

- GENERAL REQUIREMENTS

- The vendor must have minimum 3 years’ experience in maintenance of CCTV security system and technology in Office Buildings, Commercial Areas or other similar facilities (evidence of experience must be submitted in quotation) and submitted list of current or past client(s).

- Bidders are strongly encouraged to attend the preliminary site visit to assess the existing conditions. This will help ensure that their proposals account for all potential factors and accurately reflect the project's requirements

- Contractor is required to do all the work items by supplying the work in professional manner in accordance with the standard engineering practice and Indonesian Standard (SNI)

- DURATION OF SERVICES

The successful vendor shall be committed to performing the services for the duration of one (1) year starting from 1 January 2025 to 31 December 2025.

- TERMS OF PAYMENT

The terms of payment for the service in this TOR will be based on monthly basis payment, after receiving monthly invoice from vendor and issuance of written approval by ASEC toward the satisfactory of monthly report and the functionality of all units.