ASEAN SECRETARIAT

Request for Proposal

REPLACEMENT OF MAIN CONTROL FIRE ALARM (MCFA) AT ASEC HERITAGE BUILDING

PROPOSAL MUST BE RECEIVED BY

17 March 2025

DELIVER/MAIL PROPOSAL TO:

ASEAN Secretariat

Jl. Sisingamangaraja 70A

Jakarta 12110

Indonesia

Prepared by: 	AGAD

Date:  		12 February 2025

# Executive Summary

The ASEAN Secretariat (ASEC) was established in February 1976 by the Foreign Ministers of ASEAN. It was first housed at the Department of Foreign Affairs of Indonesia in Jakarta and moved to the current location at 70A Jalan Sisingamangaraja, Jakarta since 1981.   Currently, the ASEAN Secretariat is housed at two buildings:

- The Heritage Building since 1981. The building has 9 stories with approximately 11,000 sqm in total areas.

- The New Building which was inaugurated in 2019. The building consists of two towers, and each has 16 stories with approximately 44.000 sqm in total area. The building is located adjacent to the ASEC Heritage Building.

Since its establishment, the ASEAN Secretariat Heritage Building has served as a central hub for ASEAN's operations and initiatives. The building is not only a symbol of ASEAN's unity but also an essential workspace for the Secretariat's activities. In 2014, the Main Control Fire Alarm (MCFA) system in the ASEAN Secretariat Heritage Building was upgraded to ensure safety and compliance with standards. However, despite this upgrade, the system remains based on conventional technology and during annual inspection by Fire Brigade, it was found that the MCFA was facing troubles & had become obsolete and it raising to significant safety concerns.

The proposed upgrade involves replacing the current system with a fully addressable MCFA system, which will improve reliability, accuracy, and response time during emergencies. This upgrade is necessary to maintain the building's safety and meet current fire safety standards by local authority.

The ASEAN Secretariat seeks professional vendors with the expertise to implement this critical upgrade, ensuring the continued protection of the ASEAN Secretariat Heritage Building and its occupants.

# Background and current status

In 2014, the Main Control Fire Alarm (MCFA) system in the ASEAN Secretariat Heritage Building was upgraded to ensure safety and compliance with standards. However, despite this upgrade, the system remains based on conventional technology and during annual inspection by Fire Brigade, it was found that the MCFA was facing troubles & had become obsolete and it raising to significant safety concerns.

The proposed upgrade involves replacing the current system with a fully addressable MCFA system, which will improve reliability, accuracy, and response time during emergencies. This upgrade is necessary to maintain the building's safety and meet current fire safety standards by local authority.

The ASEAN Secretariat seeks professional vendors with the expertise to implement this critical upgrade, ensuring the continued protection of the ASEAN Secretariat Heritage Building and its occupants.

# Scope of work AND REQUIREMENTS

## SCOPE OF WORK

The Scope of Work for this project consists of the following but not limited to:

- Preparation of works by providing manpower, tools, materials, safety equipment and necessary protection to prevent damage of other building items during the working process (safety barrier).

- The contractor is responsible for carefully removing the existing MCFA system components (e.g., control panels, detectors, strobes, and other accessories) that are in the way.

- The contractor shall install the new fully addressable MCFA system, including all control panels, detectors, manual call points, alarms, and necessary wiring. The installation must consider the following:

- The Main Control Fire Alarm (MCFA) and detectors must be listed by Underwriters Laboratories (UL) and approved by Factory Mutual (FM).

- The system must be connected seamlessly with the ASEC New Building’s fire protection infrastructure and meet all required fire safety regulations.

- Each component must be securely mounted, with proper anchorage, wiring, and electrical connections, in compliance with SNI standards.

- The contractor is responsible for ensuring that all components are installed with care to avoid damage during installation. Any damage caused during the installation process must be repaired or replaced by the contractor at no extra cost to ASEC.

- System Configuration, Calibration, and Testing:

- After installation, the contractor must configure and calibrate the system to ensure it operates correctly, including adjusting sensitivity, alarm volume, response settings, and time/date synchronization for each display monitor.

- The contractor must conduct thorough testing to ensure the full functionality of the system, including all control panels, detectors, alarms, and backup power systems.

- The contractor must conduct training on the proper repair, maintenance, and troubleshooting procedures for the new MCFA system.

- The contractor must include a 1-year free maintenance & warranty period as part of the project. During this period, the contractor will provide regular checks, troubleshooting, and any necessary corrective maintenance for the MCFA system at no additional cost to ASEC.

## Project requirements

- The contractor is recommended to attend the preliminary site visit to check existing condition to ensure that the proposal submitted will cover all the possible condition. ASEC will not be responsible for covering additional costs due to differing site conditions.

- The contractor must ensure that the newly installed MCFA system (Panels, control devices, wiring, and other accessories) meets all required safety standards, local best practices (SNI), and fire safety regulations, with proper testing and calibration to prevent accidents, and safeguarding ASEC property from any potential damage during installation and testing.

- The contractor shall maintain a high standard of cleanliness and tidiness in the work area during and after installation, ensuring that all equipment, tools, and waste materials are properly managed and disposed of.

- The contractor must ensure all work is carried out with minimal disruption to ASEC’s daily operations and ensure safety protocols are strictly followed during the installation process. Proof must be attached in the submitted document.

- The contractor is responsible for ensuring that the ceiling and surrounding civil works remain in good condition during the installation process. If any part of the ceiling or civil structure is damaged during the installation, the contractor must rectify and restore it to its original condition at no additional cost. Any damage caused by the contractor must be repaired to ASEC’s satisfaction.

- The contractor must provide comprehensive documentation for ASEC’s approval and training to ASEC personnel on the operation and maintenance of the new MCFA system, ensuring that the building staff is fully equipped to manage and troubleshoot the system post-installation.

## CONTRACTOR QUALIFICATIONS

- The Contractor must provide the following documents in their submitted documents:

- Have at least 5 years’ experience in the installation, maintenance and upgrading of fire alarm systems, particularly in office building, commercial areas, or similar facilities. A list of relevant projects must be attached in the submitted document.

- Have at least 3 successful similar projects, proven by minimum 3 reference letter. Reference letter must be attached in the submitted document.

- Have a valid business license (SIUP/NIB) or an equivalent government document related to fire alarms and/or electronics and electrical installations. Licenses must be attached in the submitted document. Submission of additional licenses related to this works will be considered as an added advantage.

- Have an authorized certification or a similar letter from the principal manufacturer, confirming their authorization to install, maintain, and service the specified MCFA system brand. Submission of additional certifications related to this works will be considered as an added advantage.

- Have a good knowledge about the project, proven by submitting work method that complies with Engineering Standards and Safety Regulations.

- Have sufficient manpower by submitting manpower information and organizational structure to complete the project & schedule of completion for the project, schedule must comply with work schedule in ASEC premises (refer to chapter IX).

- Have a valid certification and submit at least 1 (one) personnel Health and Safety License (K3 Umum) or Electrician Technician (Teknisi K3 Listrik). Copy of valid license must be attached in the submitted document.

# RFP requirements Process

## PROPOSAL SUBMISSION iNSTRUCTION

a. 	All proposals must be submitted in English.

b. 	Vendors should not include any financial/cost data in the Technical Proposal, but only in the separate envelope titled Financial Proposal. Failure to adhere to this will lead to disqualification.

c. 	The proposal should be concisely presented and structured, and should explain in detail the Vendor’s availability, experience and resources to provide the requested services.

d. 	Proposals must be submitted by the Closing Date and Time, as indicated in the RFP.

e. 	Proposals that are incomplete or do not address the required criteria may not be considered in the review process.

f. 	All communications with regard to this RFP shall be in writing and send to:

Procurement Unit

Administration and General Affairs Division

ASEAN Secretariat

Email : procurement@asean.org

4.2. Closing date and time of Submission of Proposals

All proposals must be submitted not later than 17 March 2025 by following options:

### HARDCOPY

The Technical and Finance Proposals must be submitted separately in two different envelopes, in two sets i.e. original and a copy, to the following address:

Chairman of Sub-Committee on Tender

Administration and General Affairs Division

The ASEAN Secretariat

Jl Sisingamangaraja No.70A

Kebayoran Baru

Jakarta 12110

Indonesia

Compliance

In conformance to the ASEAN Secretariat’s Financial Rules and Procedures (AFRP), the vendor shall submit Tender Bids in two sealed envelopes as follows:

- First Envelope (Technical Proposal):

- Technical Proposals (original and copy)

First Set, which shall consist, among others, of the technical specifications of the services to be procured; delivery schedule; manpower requirements; printed hardcopies of the duly filled Appendix 1 and 1a ‐ Company General Information and Customer Reference; Appendix 2 – Technical Requirement and completed Compliance Checklist as per Appendix 4;

- Second Set, which shall consist, among others, the company profile; business name registration issued by appropriate government agency; authority of signatory; valid business permit and other appropriate licenses; taxpayer identification number; latest audited financial statements;

- Second Envelope (Financial Proposal):

Financial Proposal (original and copy) which shall consist of among others the bid amount; payments schedule; etc; duly filled Appendix 3 – Price

Any notices with respect to this RFP should also be mailed to the above contact and address.

All documents not submitted in English shall not be considered and quoted price in the hardcopy submission shall be in IDR for local bidders and US Dollar for international bidders.

The ASEAN Secretariat may, after the closing date, request additional information or clarification of tenders in writing.

### SOFTCOPY

The Technical and Financial proposals shall be sent separately to the following email address:

Chairman of Sub-Committee on Tender

Administration and General Affairs Division

Email: procurement@asean.org

Subject of the Email:

- Technical Proposal_Title of Tender_Name of Vendor

- Financial Proposal_Title of Tender_Name of Vendor

Compliance

The softcopy of Technical and Financial proposals must be sent separately protected by a different password for each proposal in encrypted format at PDF/ZIP file.

- Technical Proposals;

a. First set; which shall consist, among others, of the technical specifications of the services to be procured; delivery schedule; manpower requirements; printed hardcopies of the duly filled Appendix 1 and 1a ‐ Company General Information and Customer Reference; Appendix 2 – Technical Requirement and completed Compliance Checklist as per Appendix 4;

b. Second Set; which shall consist, among others, the company profile; business name registration issued by appropriate government agency; authority of signatory; valid business permit and other appropriate licenses; taxpayer identification number; latest audited financial statements;

- Financial Proposal:

Financial Proposal which shall consist of among others the bid amount;payments schedule; etc; duly filled Appendix 3 – Price

All documents not submitted in English shall not be considered and quoted price in the softcopy submission shall be in IDR for local bidders and US Dollar for international bidders.

- Do not mention the password in body email.

- Inform the password only when the Procurement staff contact you to request it.

## RFP terms & conditions

### Bid Expiration Date

Received tender proposals shall be valid until (31 May 2025)

### Implementation/Delivery Schedule

For e.g. ‘as stated in Annex A – Term of Reference’

4.3.3     Require to attend Pre-Bid Meeting

Date 		: 6 March 2025

Time 		: 10.30 AM

Venue              : ASEAN Secretariat, Jl. SIsingamangaraja 70A, Kebayoran Baru, South Jakarta, 12870

Participant’s confirmation to the pre-bid meeting and questions can be share via email to: procurement@asean.org beforehand.

The ASEAN Secretariat may, after the closing date, request additional information or clarification

of tenders in writing.

Appendix 1

Company General Information

To be submitted together in the Technical Proposal

| Company LEGAL Name: |  |  |  |
| --- | --- | --- | --- |
| Division or Subsidiary (if applicable): |  |  |  |
| Company Address: |  |  |  |
| City: |  |  |  |
| Province / State: |  |  |  |
| Country: |  |  |  |
| Postal Code: |  |  |  |
| Telephone: |  |  |  |
| Business Name Registration: |  |  |  |
| Tax Registration Number: |  |  |  |
| Valid Business Permit: |  |  |  |
| Company Contact: |  | Telephone no.: |  |
| Title / Position: |  | Fax no.: |  |
| E‐Mail: |  |  |  |
| Indicate number of years involved in similar business |  |  |  |
| Are you a subsidiary of a financial institution? *If Yes, Please indicate your Holding Company |  |  |  |

Appendix 1a.

Customer Reference

To be submitted together in the Technical Proposal

| Customer Details |  |
| --- | --- |
| Company name |  |
| Company address |  |
| Telephone number |  |
| Fax number |  |
| Contact name |  |
| Email address |  |
| Project title |  |

| Customer Details |  |
| --- | --- |
| Company name |  |
| Company address |  |
| Telephone number |  |
| Fax number |  |
| Contact bame |  |
| Email address |  |
| Project title |  |

| Customer Details |  |
| --- | --- |
| Company name |  |
| Company address |  |
| Telephone number |  |
| Fax number |  |
| Contact name |  |
| Email address |  |
| Project Title |  |

APPENDIX 2

Technical Requirements

To be submitted in the Technical Proposal

| No | Description | ASEC Requirements | remarks |
| --- | --- | --- | --- |
| 1 | The contractor must have experienced the installation, maintenance and upgrading of fire alarm systems for buildings | - minimum 5 years’ experience (provide proof of experience) | Vendor to comply (Proof must be attached in the submitted document) |
| 2 | Provide Technical Documents | - Have at least 3 successful similar projects, proven by minimum 3 reference letter. Reference letter must be attached in the submitted document. - Have a valid business license (SIUP/NIB) or an equivalent government document related to fire alarms and/or electronics and electrical installations. Licenses must be attached in the submitted document. Submission of additional licenses related to this works will be considered as an added advantage. - Have an authorized certification or a similar letter from the principal manufacturer, confirming their authorization to install, maintain, and service the specified MCFA system brand. Submission of additional certifications related to this works will be considered as an added advantage. - Have a good knowledge about the project, proven by submitting work method that complies with Engineering Standards and Safety Regulations. - Have sufficient manpower by submitting manpower information and organizational structure to complete the project & schedule of completion for the project, schedule must comply with work schedule in ASEC premises (refer to chapter IX). - Have a valid certification and submit at least 1 (one) personnel Health and Safety License (K3 Umum) or Electrician Technician (Teknisi K3 Listrik). Copy of valid license must be attached in the submitted document. | Vendor to comply (Proof must be attached in the submitted document) |

APPENDIX 3

Price

To be submitted in the Financial Proposal

| No. | Description | Unit | Price |
| --- | --- | --- | --- |
| 1 | REPLACEMENT OF MAIN CONTROL FIRE ALARM (MCFA) AT ASEC HERITAGE BUILDING | Lump sum |  |

APPENDIX 4

Checklist for the Completeness of Documents Submitted

The checklist must be used to ensure that you have provided all documentations for the tender. The checklist must be signed and included in both envelopes of your proposals.

- General Requirements

| No. | Description | Checklist |
| --- | --- | --- |
| 1 | Proposals shall be prepared in English |  |
| 2 | Proposals are submitted in two different envelopes |  |
| 3 | The envelope must be sealed and labeled accordingly. - Technical Proposal - Financial Proposal |  |
| 4 | Title of the tender shall be put on each envelopes |  |

- Technical Proposal

| No. | Description | Checklist |
| --- | --- | --- |
| 1 | Technical Specifications of the service refer to the proposal |  |
| 2 | All required information have been addressed accordingly |  |
| 3 | Schedule of delivery |  |
| 4 | Manpower/consultant requirement |  |
| 5 | List of vendor’s equipment (if any) |  |
| 6 | Customer Reference Customer testimonials on the similar project |  |
| 7 | Company profile |  |
| 8 | Copy Company Legal Documents, i.e. - Business Name Registration - Valid Business Permit - Tax Identification Number |  |
| 9 | One original signed copy |  |
| 10 | One copy of technical proposal duplicate |  |
| 11. | Latest audited financial statement |  |

- Financial Proposal

| No. | Description | Checklist |
| --- | --- | --- |
| 1 | Offering is formulated in English |  |
| 2 | Bid amount |  |
| 3 | Payment schedule |  |
| 4 | Authority of signatory |  |
| 5 | One original signed copy |  |
| 6 | One copy of Financial Proposal Duplicate |  |

APPENDIX 5

Template for the Proposal Envelope

First Envelope – Technical Proposal

_________________________________________________________________________________________

Company Name & Address

Technical Proposal - Title of the Tender

Chairman of Sub-Committee on Tender

Administration and General Affairs Division

The ASEAN Secretariat

Jl. Sisingamangaraja 70A

Jakarta 12110

Indonesia

_________________________________________________________________________________________

Second Envelope – Financial Proposal

_________________________________________________________________________________________

Company Name & Address

Financial Proposal - Title of the Tender

Chairman of Sub-Committee on Tender

Administration and General Affairs Division

The ASEAN Secretariat

Jl. Sisingamangaraja 70A

Jakarta 12110

Indonesia

_________________________________________________________________________________________