## Spec Form-For Invitations - 1
For Invitations
SPECIFICATION FORM
Supply and Install Booster Pump at Heritage Building
Closing date for Quotation Submission: Refer to the invitation and web advertisement (asean.org)
No. | Items Description |  | Qty | UoM | Unit Price (IDR) | Total Price (IDR)
1 | Supply and Install Booster Pump CR 45-4 A-F-A-E-HQQE Resulting Head of Pump : 84.13 meter maximum Operating Pressure : 16 bar Rated Power - P2 : 15kW Power (P2) required by pump: 15kW (Include installation and accessories) |  | 1 | unit | Vendor to fill | Vendor to fill
2 | Supply and Install Panel Control Soft Starter 2x18.5 kW (include installation, cable termination and other accessories) |  | 1 | unit | Vendor to fill | Vendor to fill
3 | Installation and accessories to complete the pump system : - Check Valve (refer to existing) - Foot Valve with strainer (refer to existing) - Flexible Joint (refer to existing) - Gate Valve (refer to existing) - Pressure Gauge (refer to existing) - Galvanized Pipe (refer to existing) - Include support fix mounting - other required materials must include purchase of materials, modification, installation and its accessories. |  | 1 | lot | Vendor to fill | Vendor to fill
Notes : 1) The vendor must provide sample of material and/or brochure of products before delivering the items to ASEC 2) The vendor must provide material, supporting tools, equipment and manpower to complete the work 3) The vendor must comply with safety standards while working and maintain work without any accident or damage to ASEC property 4) The vendor is required to ensure the working area remains tidy and clean working time : weekdays : 06.00pm - 10.00pm weekend or national holiday : 08.00am - 10.00pm
Total | [5 empty] | 0
Delivery date |  | : After PO, ASAP
Availability of stock |  | : Ready Stock
Warranty (required/not required) |  | : 1 year
Terms of payment |  | : - 15% Down Payment
- Payment 1 = 35% (upon completion of 50% progress)
- Payment 2 = 50% (after completion and successful commissioning test)
Validity of Quotation |  | : 60 days
General guideliens/Ketentuan:
1 | Please attach this Specifications Form to your quotation with your signature below or company's stamp;
Mohon melampirkan Spec. form ini pada penawaran disertai tanda tangan PIC atau stempel perusahaan;
By signing this Specification Form, you/your company agree to fulfil with all requirements as stated above.
Dengan menandatangani Form Spesifikasi ini, Anda/perusahaan Anda setuju untuk memenuhi semua kriteria tersebut diatas.
2 | Please state the availability of stocks for the above items;
Mohon cantumkan ketersediaan stock barang-barang diatas;
3 | All items provided shall be genuine. Shall the above items provided are not genuine, we will cancel the purchase of the above items;
Semua barang yang disediakan wajib barang asli. Apabila setelah pengiriman barang-barang di atas ditemukan tidak asli,
maka kami akan membatalkan Purchase Order yang sudah diterbitkan.
4 | The price in this quotation shall be valid for 60 (sixty) days commencing on the date of submission of quotation;
Harga satuan yang tertera pada penawaran wajib berlaku selama 60 (enam puluh) hari terhitung sejak tanggal penawaran;
5 | Vendor may use Faktur Pajak 010 to collect VAT by inserting this NPWP: 15 digits No.: 22.464.697.6-053.000 / 16 digits No.: 0224 6469 7605 3000
Vendor dapat menggunakan Faktur Pajak 010 untuk memungut PPn dengan NPWP berikut: 15 digits No.: 22.464.697.6-053.000 / 16 digits No.: 0224 6469 7605 3000
Signature and or Company Stamp
Contact Person:
Company:
Date/Tanggal: