## Spec Form-For Invitations
For Invitations
SPECIFICATION FORM
Supply & Install Hard Disk for NVR New Building
Closing date for Quotation Submission: Refer to the invitation and web advertisement (asean.org)
No. | Items Description |  | Qty | UoM | Unit Price (IDR) | Total Price (IDR)
1 | Supply & Install Hard Disk for NVR New Building : - Skyhawk ST12000HKAI000 (12TB) - Height: 26.11 mm (1.028 in) - Width: 101.85 mm (4.01 in) - Depth: 146.99 mm (5.787 in) - Weight: 670 g (1.477 lb) - Standby current (12V): 2 A - Average operating power: 8 W - Idle power: 5.3 W - Standby / sleep mode power: 1.3 W / 1.3 W - 5V voltage tolerance: ±5% - 12V voltage tolerance: ±10% - Include settings & configuration of NVR at the Server Room New Building - Include other accessories |  | 4 | unit | Vendor to fill | Vendor to fill
Notes : 1) The vendor must provide material, supporting tools, equipment and manpower to complete the work 2) The vendor must comply with safety standards while working and maintain work without any accident or damage to ASEC property 3) The vendor is required to ensure the working area remains tidy and clean working time : weekdays : 06.00pm - 10.00pm weekend or national holiday : 08.00am - 10.00pm
Total | [5 empty] | 0
Delivery date |  | : After PO
Availability of stock |  | : Completion of work by the end of August 2026
Warranty (required/not required) |  | : 12 month
Terms of payment |  | : 10% DP ; 90% after all work has been completed
Validity of Quotation |  | : 90 days
General guideliens/Ketentuan:
1 | Please attach this Specifications Form to your quotation with your signature below or company's stamp;
Mohon melampirkan Spec. form ini pada penawaran disertai tanda tangan PIC atau stempel perusahaan;
By signing this Specification Form, you/your company agree to fulfil with all requirements as stated above.
Dengan menandatangani Form Spesifikasi ini, Anda/perusahaan Anda setuju untuk memenuhi semua kriteria tersebut diatas.
2 | Please state the availability of stocks for the above items;
Mohon cantumkan ketersediaan stock barang-barang diatas;
3 | All items provided shall be genuine. Shall the above items provided are not genuine, we will cancel the purchase of the above items;
Semua barang yang disediakan wajib barang asli. Apabila barang-barang di atas ditemukan tidak asli,
maka kami akan membatalkan Purchase Order yang sudah diterbitkan.
4 | The price in this quotation shall be valid for 90 (ninety) days commencing on the date of submission of quotation;
Harga satuan yang tertera pada penawaran wajib berlaku selama 90 (sembilan puluh) hari terhitung sejak tanggal penawaran;
5 | Vendor may use Faktur Pajak 040 to collect VAT by inserting this NPWP: 0224 6469 7605 3000
Vendor dapat menggunakan Faktur Pajak 040 untuk memungut PPn dengan NPWP berikut: 0224 6469 7605 3000
6 | The ASEAN Secretariat reserves the rights to take all or only selected goods/works/services.
ASEAN Secretariat berhak untuk mengambil semua atau hanya barang/pekerjaan/jasa tertentu.
Signature and or Company Stamp
Contact Person:
Company:
Date/Tanggal: