TERMS OF REFERENCE (TOR)

THE ACTS CENTRAL SERVICE (CS) Extended Service

Prepared by

Central Management Team (CMT)of the ASEAN Customs Transit System

The ASEAN Secretariat

Table of Contents

1.	INTRODUCTION	1

2.	HOSTING SERVICE REQUIREMENTS	1

2.1	TECHNICAL EXPERIENCE AND QUALIFICATIONS REQUIREMENTS	1

2.2	TECHNICAL SCOPE OF WORK	2

2.2.1	SCOPE OF WORK FOR ACTS CS Extended Service	2

2.3	SERVICE ARCHITECTURE AND QUANTITY	4

2.4	SERVICE LEVEL AGREEMENT (SLA)	6

3.	SCHEDULE	7

4.	TERMS OF PAYMENT	8

ANNEX I	9

DATA CENTER SPECIFICATION	9

ANNEX 2	12

ISO/IEC 27002 (Information Security)	12

## INTRODUCTION

ACTS Central Services (ACTS CS) were operated by ASEAN Secretariat’s Central Management Team (CMT) whose main objective is to ensure uninterrupted operations ACTS CS and support long term sustainability of the ACTS as a whole. Their responsibilities include:

- Managing the roll-out of ACTS to the north-south and east-west corridors;

- Hosting and Managing Central Services: Reference Data System and Management Information System;

- Hosting and Managing Information Portal;

- Hosting and Managing Central Helpdesk;

- Managing ACTS solutions of the AMS.

To fully cover the needs of the ACTS operations and to support CMT’s main objective and their responsibilities, the following additional environments are required for:

- Training ACTS CS and AMS environments to enable CMT to support roll-out of ACTS in east-west corridors (Cambodia, Lao PDR, Myanmar, and Viet Nam) and in any other country interested in joining ACTS in the future and to increase and maintain CMT’s capacity and knowledge by having dedicated training environments for AMS, CMT’s existing staff and future staff of CMT; and

- Testing, Reference and Staging ACTS CS and AMS environments to support deployment testing, User Acceptance Testing (UAT) and Conformance Testing (CT) of ACTS’s new software releases before they are approved for live operations and to support CMT’s Central Helpdesk duties.

## HOSTING SERVICE REQUIREMENTS

The following section will explain the requirements of the hosting service that must be fulfilled by service provider.

- TECHNICAL EXPERIENCE AND QUALIFICATIONS REQUIREMENTS

Technical experience and qualifications requirements explain about the requirements regarding technical experience of the service provider including their engineer capability to deliver the ACTS CS Extended Service. Some documents must be provided by service provider as stated in the following table.

Table 1. Technical Experience and Qualifications Requirements

| No. | Requirement details | Status | Notes |
| --- | --- | --- | --- |
| Technical Experience |  |  |  |
| 1 | The Service Provider shall have: - At least five (5) years of experience in hosting and managing virtual servers in private cloud or cloud environments, including: - Provisioning and installing the virtual servers - Configuration of the virtual servers - Data backup for the virtual servers - Migration of virtual servers, applications, system configurations, and data between hosting environments or service providers - Demonstrated experience in installing, configuring, and maintaining Linux and Windows operating systems, including: - Cron job scripting and Task Scheduler configuration; - Linux OS module installation and configuration; - Windows OS tuning and configuration; - OS and OS module patching; and - Installation, configuration, and maintenance of Nginx, OpenJDK, JBoss WildFly, JBoss Keycloak, Apache Cassandra, OpenDJ, ArtemisMQ, and PostgreSQL | Mandatory | List of projects experience, including server migration experience, with the brief description must be provided (at least 3 projects) |
| Qualifications |  |  |  |
| 2 | Service provider must have qualified engineers to deliver the service. Engineers must be certified for the following systems: - Linux OS - Windows OS - Networking e.g. CCNA |  | List of certified engineers as well as the relevant certifications must be provided. |

- TECHNICAL SCOPE OF WORK

  - SCOPE OF WORK FOR ACTS CS Extended Service

Technical scope of work explains about the scope of work for ACTS CS hosting service. Service provider must provide the items stated in the scope of works.

Table 2. Technical Scope of Work for ACTS CS Hosting Service

| No. | Requirement details | Notes |
| --- | --- | --- |
|  | General |  |
| 1 | Provide IT infrastructure components with guaranteed computing power and capacity in virtual environments OR cloud. The following infrastructure components must be provided: - computing/virtual server components - network and connection components - security components - storage components - backup components | Detail requirements appear in Chapter 2.3 |
| 2 | In case of virtual server setup hosted in a private data center, IT infrastructure components must hosted in the TIA 942 certified data center at least Tier III specification. Service provider must also inform the compliance of the data center international certification standard if the virtual server hosted in the public data center (cloud). | Certificate of Standard Conformity must be provided (Specification appears in ANNEX 1) |
| 3 | Dedicated internet international connection with minimum bandwidth 1 Mbps Downstream and 1 Mbps Upstream. Service provider must provide IP Public for each virtual server based on the application requirement. | Service provider must provide the burst bandwidth policy |
| 4 | IT governance and security compliance (e.g.: ISO 27000 series) | Certificate of Standard Conformity must be provided (Specification appears in ANNEX 2) |
| 5 | In the event that the selected Service Provider is different from the incumbent provider, the Service Provider must be capable of migrating the existing ACTS CS Extended Service to the new hosting environment, including the relevant virtual servers, applications, data, configurations, and security settings, in coordination with the ASEAN Secretariat and incumbent provider, with minimal disruption to the service. | Migration plan and methodology must be provided. |
|  | Operating System Managed Service |  |
| 6 | Provide Operating System (OS) as required by software platforms and ACTS applications | Detail requirements appear in Chapter 2.3 |
|  | Network and Security Managed Service |  |
| 7 | Provide network and security as required by systems. The following network and security components must be provided: - Network zoning - VLAN creation and management - Firewall connection management | Detail requirements appear in Chapter 2.3 |
|  | Data and Backup Managed Service |  |
| 8 | Capacity management of data and storage | Detail requirements appear in Chapter 2.3 |
|  | Monitoring and Administration |  |
| 9 | Accessibility of the IT infrastructure components through internet connection. |  |
|  | Service Level Agreement (SLA) |  |
| 10 | Provide the service based on required SLA for availability, incident and problem resolution | Detail requirements appear in Chapter 2.4 |

- SERVICE ARCHITECTURE AND QUANTITY

The Central Services (CS) Extended Service comprises the total of 27 Virtual Machines and implemented in 3 Environments, as following:

- Training environment.

- Testing environment.

- Staging environment.

Each environment would consist of 3 Sites of function, as follows:

- Central Service Servers Site; consist of 3 Virtual Machines

- AMS1 Servers Site; consist of 3 Virtual Machines

- AMS2 Servers Site; consist of 3 Virtual Machines

All the applications and subsystems will operate on CentOS 7 64 bit operating system. Each environment would have a simple architecture as follows:

Computing/server requirements on the following clusters:

- Training environment

| Site Name | TrainingCS |
| --- | --- |
| Total Virtual Machine (VM) | 3 |
| Each VM Specification |  |
| Operating System | CentOS 7 64bit |
| CPU | 4cores |
| RAM | 8GB |
| Hard disk | 300 GB |

| Site Name | TrainingAMS1 |
| --- | --- |
| Total Virtual Machine (VM) | 3 |
| Each VM Specification |  |
| Operating System | CentOS 7 64bit |
| CPU | 4 cores |
| RAM | 8 GB |
| Hard disk | 300 GB |

| Site Name | TrainingAMS2 |
| --- | --- |
| Total Virtual Machine (VM) | 3 |
| Each VM Specification |  |
| Operating System | CentOS 7 64bit |
| CPU | 4 cores |
| RAM | 8 GB |
| Hard disk | 300 GB |

- Testing environment

| Site Name | TestCS |
| --- | --- |
| Total Virtual Machine (VM) | 3 |
| Each VM Specification |  |
| Operating System | CentOS 7 64bit |
| CPU | 4 cores |
| RAM | 8 GB |
| Hard disk | 300 GB |

| Site Name | TestAMS1 |
| --- | --- |
| Total Virtual Machine (VM) | 3 |
| Each VM Specification |  |
| Operating System | CentOS 7 64bit |
| CPU | 4 cores |
| RAM | 8 GB |
| Hard disk | 300 GB |

| Site Name | TestAMS2 |
| --- | --- |
| Total Virtual Machine (VM) | 3 |
| Each VM Specification |  |
| Operating System | CentOS 7 64bit |
| CPU | 4 cores |
| RAM | 8 GB |
| Hard disk | 300 GB |

- Staging environment

| Site Name | StageCS |
| --- | --- |
| Total Virtual Machine (VM) | 3 |
| Each VM Specification |  |
| Operating System | CentOS 7 64bit |
| CPU | 4 cores |
| RAM | 8 GB |
| Hard disk | 300 GB |

| Site Name | StageAMS1 |
| --- | --- |
| Total Virtual Machine (VM) | 3 |
| Each VM Specification |  |
| Operating System | CentOS 7 64bit |
| CPU | 4 cores |
| RAM | 8 GB |
| Hard disk | 300 GB |

| Site Name | StageAMS2 |
| --- | --- |
| Total Virtual Machine (VM) | 3 |
| Each VM Specification |  |
| Operating System | CentOS 7 64bit |
| CPU | 4 cores |
| RAM | 8 GB |
| Hard disk | 300 GB |

Specifically, for the Central Services Extended Environment the following hardware performance requirements have to be met:

- MINIMUM recommended IOPS for the servers storage should be, on local disks ~800 IOPS, on SAN/NAS disks ~1800 IOPS.

- MAXIMUM recommended Latency for the servers storage should be, on local disks ~3 ms, on SAN/NAS disks ~2 ms.

- MAXIMUM recommended Seek Time for the servers storage should be, on local disks ~0.2 ms, on SAN/NAS disks ~0.1 ms.

- SERVICE LEVEL AGREEMENT (SLA)

The ACTS CS hosting service must deliver under following Service Level Agreement:

| SLA Criteria | Description | SLA Target |
| --- | --- | --- |
| Service availability | Availability of the CS hosting service | Minimum 95 % |
| Operational | Operational time of the helpdesk | ASEAN normal working time operations, with 24/7 critical issues hotline |
| Call response time | Time to acknowledge a Call | Maximum 2 working hour (1 hours critical call) |
| “Critical” problem resolution time | Time to resolve (repair) the problem and continue operation | Maximum 8 hours |
| “Critical” problem resolution update time | Time to give regular update on the “critical” problem | Every 1 hour until resolve |
| “Normal‟ problem resolution time | Time to resolve (repair) the problem | Maximum 4 working days |
| “Normal” problem resolution update time | Time to give regular update on the “normal” problem | Every 1 working day until resolve |
| “Low‟ problem resolution time | Time to resolve (repair) the problem | Maximum 14 working days |
| “Low” problem resolution update time | Time to give regular update on the “low” problem | Every 4 working days until resolve |

Definition:

- Critical problem, faults that seriously impair or halt performance of the system, with concerns on the following conditions:

  - System, server or critical application down

  - The system is running, but with repeated interruptions

  - The user cannot make use of a ‘must-have’ business-essential function in the production system

  - The problem cannot be solved by a restart or a bypass or a workaround

- Normal problem, faults that affect productivity or development of the system, with concerns on the following conditions:

  - Problems which do not have a significant impact on current productivity

  - The production system is running, but with limitations

  - A function in the production system is failing, but there is a bypass available

- Low problem, minor faults which do not affect the use of the system and issues with low priority

## SCHEDULE

The following tentative schedule for delivery of the ACTS CS Hosting Service:

| No. | Activities | Duration |
| --- | --- | --- |
| 1 | Send TOR to vendors and proposal submission | 14 days |
| 2 | Awarding | 7 days |
| 3 | Purchase Order | 1 day |
| 4 | Kick-off meeting | 1 day |
| 5 | Installing and configuring the virtual servers of the ACTS CS | 4 days |
| 6 | Migration, testing and validation of the existing ACTS CS Extended Service to the new hosting environment, where applicable | 2 days |
| 7 | Delivery of the ACTS CS Extended Service Hosting service | Based on contract period |

## TERMS OF PAYMENT

- First payment of the Services Fee with an amount 50% of the agreed price of the service shall be paid by ASEAN to the Contractor within fourteen (14) working days upon the confirmation from ASEAN of receipt of the duly signed of the Purchase Order (PO) of the service by the Contractor;

- Second payment of the Services Fee with an amount of 30% of the agreed price of the service shall be paid by ASEAN to the Contractor after completion of the third month of the Services; and

- Final payment of the Services Fee with an amount of 20% of the agreed price of the service shall be paid by ASEAN to the Contractor within fourteen (14) working days after issuance of written approval from ASEAN on the performance and evaluation report upon completion of the Services

## ANNEX I

## DATA CENTER SPECIFICATION

A data center is a centralized repository, either physical or virtual, for the storage, management, and dissemination of data and information organized around a particular body of knowledge or pertaining to a particular business. It secures the installed servers and components in use, protects them from external dangers, and provides the infrastructure required for continued reliable operation. The physical structure provides protection against unauthorized access, fire and natural disasters. The necessary power supply and climate control ensure reliability.

Accurate planning as well as sustainable operation of a modern data center are steps companies need to take to meet the network security standards requirements. The enormous infrastructural requirements involved lead many companies to opt for an external supplier and outsource their data center needs.

In April 2005, the TIA responded with the TIA-942 Telecommunications Infrastructure Standards for Data Centers, the first standard to specifically address data center infrastructure. Intended for use by data center designers early in the building development process, TIA-942 encompasses site space and layout, cabling infrastructure, tiered reliability, and environmental considerations.

- Tier-I: Basic Data Center Site Infrastructure

A Tier-I site is a basic data center, with non-redundant capacity components (e.g. generator, UPS, or chiller) and a non-redundant electrical distribution path serving the computer equipment. A Tier-I site is also required to have a minimum of twelve hours of fuel storage for onsite generation in the event of utility loss. A Tier-I data center is a significant step up from a server room or IT closet, which may not have generators, UPS, or other common data center equipment.

- Tier-II: Redundant Data Center Site Infrastructure Capacity Components

A Tier-II site builds upon the requirements of a Tier-I site and adds redundancy to capacity components, such as adding an additional UPS (either an extra UPS in a module-redundant configuration or an extra UPS in a UPS-redundant configuration), or by including redundant CRACs beyond what is required to cool the load. These redundant capacity components will avoid some outages and speed service restoration in other outages compared to a Tier-I site.

A Tier II data center has redundant capacity components (N+1) and single non-redundant distribution path for power and cooling distribution and 30 % raised floors are required.

- Tier-III: Concurrently Maintainable Data Center Site Infrastructure

A Tier-III site builds upon the requirements of a Tier-II site and adds multiple independent electrical and cooling distribution paths serving the computer equipment. All computer equipment must have multiple power sources, either through multiple power supplies or front-ended by a static switch connected to different UPSs. The key requirement for a Tier-III site is that each and every capacity component and element in the distribution paths can be removed for service on a planned basis without impacting any of the computer equipment (servers housing inside the data center). This is critical because no computer equipment outage is required to perform infrastructure maintenance.

- Tier-IV: Fault Tolerant Data Center Site Infrastructure

A Tier-IV site builds upon Tier-III and in addition requires that multiple distribution paths must be active at all times, the distribution paths must be physically isolated from one another (compartmentalization), and that cooling must always be available - even in a the event of a loss of utility or other failure. The key added value from a Tier-IV site is that a single failure of any capacity system, capacity component, or distribution element will not impact the computer equipment, and that the system is automated to respond to a failure in the system.

TIA-942 is the comprehensive Data Centre standard that has been developed by the Telecom Industry Association, USA, and is the most widely recognized Data Centre standard in the world.

The American standard is currently the most comprehensive body of standards for data centers. Not only is cabling described, but also the entire data center among other things, the datacenter is divided up into so-called “tiers”, or different classes of availability. The data center must satisfy specific requirements for each class in order to guarantee availability.

TIA-942 Requirements

| Tier requirements | Tier-I | Tier-II | Tier-III | Tier-IV |
| --- | --- | --- | --- | --- |
| Distribution paths power and cooling | 1 | 1 | 1 active / 1 alternate | 2 active |
| Redundancy active Components | N | N+1 | N+1 | 2N+1 |
| Support space to raised floor ration | 20 % | 30% | 80-90% | 100% |
| Raised floors | 12 inches | 18 inches | 30-36 inches | 30-36 inches |
| Floor Loading | 85 | 100 | 150 | 150+ |
| Initial build out per Cabinet | <1 kW | 1-2 kW | 1-2 kW | 1-3 kW |
| Ultimate kW / Cabinet (typical) | <1 kW | 1-2 kW | >3 kW | >4kW |
| Utility Voltage | 208, 480 | 208, 480 | 12-15kV | 12-15kV |
| Annual site down time | 28.8 hours | 22 hours | 1.6 hours | 0.4 hours |
| Concurrently Maintainable | No | No | Yes | Yes |
| SPOF (Single Points Of Failures) | Many + Human errors | Many + Human errors | Some + Human errors | Fire, EPO + Human errors |
| Staffing shifts Staff / shift | None None | 1 shift | 1+shift 1-2 / shift | 24 by forever 2+ / shift |
| Availability | 99.671% | 99.749% | 99.982% | 99.995% |

TIA-942 Standards

In terms of space needed to meet TIA-942 standards:

- Entrance Room (ER): the location for access provider equipment and demarcation points, as well as the interface with campus cabling and carrier entrance facilities

- Main Distribution Area (MDA): the location of main cross-connect (MC)

- Horizontal Distribution Area (HDA): the location of horizontal cross-connect (HC)

- Zone Distribution Area (ZDA): the location of zone outlet (ZO) or consolidation point (CP)

- Equipment Distribution Area (EDA): the location of equipment cabinets and racks

Ideally, separate rooms for each point listed above should be available for use, but this is not realistic and is often consolidated to defined areas. Careful planning is needed to upgrade the existing ASEC server room to TIER-III. For example, since the system is already setup and running, the service cannot be interrupted and the space is limited.

TIA-942 Average Space Layout

| Data center type | Server cabinet | Server room | Small data center | Mid-size data center | Large data center |
| --- | --- | --- | --- | --- | --- |
| # of servers | 4.8 | 19 | 150 | 600 | 6000 |
| Total power | 1.9 kW | 11 kW | 105 kW | 550 kW | 5,700 kW |
| Floor size | 5 m2 | 20 m2 | 150 m2 | 600 m2 | 6,000 m2 |

## ANNEX 2

## ISO/IEC 27002 (Information Security)

The majority of errors are due to human error – avoiding this requires implementation of IT governance in line with international recognized operational procedures such as ISO/IEC 27002.

The ISO/IEC 27002 catalog includes:

- Framework

- Acceptable Use of Information Technology Resources

- Information Security Definition & Terms

- Risk assessment

- Security policy – management direction

- Organization of information security – governance of information security

- Asset management – inventory and classification of information assets

- Human resources security – security aspects for employees joining, moving and leaving an organization

- Physical and environmental security – protection of the computer facilities

- Communications and operations management – management of technical security controls in systems and networks

- Access control – restriction of access rights to networks, systems, applications, functions and data

- Information systems acquisition, development and maintenance – building security into applications

- Information security incident management – anticipating and responding appropriately to information security breaches

- Business continuity management – protecting, maintaining and recovering business-critical processes and systems

- Compliance – ensuring conformance with information security policies, standards, laws and regulations

The information security controls clearly defined within ISO/IEC 27002 are generally regarded as the best practice means of operational procedures. Some typical examples found in the catalog are as follows:

- Physical and Environmental security

- Physical access to premises and support infrastructure (communications, power, air conditioning etc.) must be monitored and restricted to prevent, detect and minimize the effects of unauthorized and inappropriate access, tampering, vandalism, criminal damage, theft etc.

- The list of people authorized to access secure areas must be reviewed and approved periodically (at least once a year) by Administration or Physical Security Department, and crosschecked by their departmental managers.

- Photography or video recording is forbidden inside Restricted Areas without prior permission from the designated authority.

- Suitable video surveillance cameras must be located at all entrances and exits to the premises and other strategic points such as Restricted Areas, recorded and stored for at least one month, and monitored around the clock by trained personnel.

- Access cards permitting time-limited access to general and/or specific areas may be provided to trainees, vendors, consultants, third parties and other personnel who have been identified, authenticated, and authorized to access those areas.

- Other than in public areas such as the reception foyer, and private areas such as rest rooms, visitors should be escorted at all times by an employee while on the premises.

- The date and time of entry and departure of visitors along with the purpose of visits must be recorded in a register maintained and controlled by Site Security or Reception.

- Everyone on site (employees and visitors) must wear and display their valid, issued pass at all times, and must present their pass for inspection on request by a manager, security guard or concerned employee.

- Access control systems must themselves be adequately secured against unauthorized/inappropriate access and other compromises.

- Fire/evacuation drills must be conducted periodically (at least once a year).

- Human Resource security

- All employees must be screened prior to employment, including identity verification using a passport or similar photo ID and at least two satisfactory professional references. Additional checks are required for employees taking up trusted positions.

- All employees must formally accept a binding confidentiality or non-disclosure agreement concerning personal and proprietary information provided to or generated by them in the course of employment.

- Human Resources department must inform Administration, Finance and Operations when an employee is taken on, transferred, resigns, is suspended or released on long-term leave, or their employment is terminated.

- Upon receiving notification from HR that an employee's status has changed, Administration must update their physical access rights and IT Security Administration must update their logical access rights accordingly.

- An employee's manager must ensure that all access cards, keys, IT equipment, storage media and other valuable corporate assets are returned by the employee on or before their last day of employment

- Access control

- Users of corporate IT systems, networks, applications and information must be individually identified and authenticated.

- User access to corporate IT systems, networks, applications and information must be controlled in accordance with access requirements specified by the relevant Information Asset Owners, normally according to the user's role.

- Generic or test IDs must not be created or enabled on production systems unless specifically authorized by the relevant Information Asset Owners.

- After a predefined number of unsuccessful logon attempts, security log entries and (where appropriate) security alerts must be generated and user accounts must be locked out as required by the relevant Information Asset Owners.

- Passwords or pass phrases must be lengthy and complex, consisting of a mix of letters, numerals and special characters that would be difficult to guess.

- Passwords or pass phrases must not be written down or stored in readable format.

- Authentication information such as passwords, security logs, security configurations and so forth must be adequately secured against unauthorized or inappropriate access, modification, corruption or loss.

- Privileged access rights typically required to administer, configure, manage, secure and monitor IT systems must be reviewed periodically (at least twice a year) by Information Security and cross-checked by the appropriate departmental managers.

- Users must either log off or password-lock their sessions before leaving them unattended.

- Password-protected screensavers with an inactivity timeout of no more than 10 minutes must be enabled on all workstations/PCs.

- Write access to removable media (USB drives, CD/DVD writers etc.) must be disabled on all desktops unless specifically authorized for legitimate business reasons.

Note: these examples are merely an illustration.